## Untitled (root)
Root Name | Title | Author | Date/Time | Groups | Description | End_time | Start_time
Untitled | SCAN data |  |  | 6 | PTR-MS Control 2.7 | 2020-09-25 09:39 | 2020-09-25 09:30
Group | Channels | Description
Time / Cycle | 3
Raw signal intensities | 160
Concentration | 160
Misc | 4
Instrument | 14
Reaction conditions | 9
Time / Cycle
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Cycle number | DT_LONG | cycle | 7 | 1 | 7
Absolute Time | DT_DATE | Date/Time | 7 | 2020-09-25 09:31 | 2020-09-25 09:39
Relative Time | DT_DOUBLE | s | 7 | 80.073 | 560.513
Raw signal intensities
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 7 | 60679.6602 | 63687.6953 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 22.0 | DT_DOUBLE | cps | 7 | 40 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 23.0 | DT_DOUBLE | cps | 7 | 16 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 24.0 | DT_DOUBLE | cps | 7 | 16 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 25.0 | DT_DOUBLE | cps | 7 | 24 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 26.0 | DT_DOUBLE | cps | 7 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 27.0 | DT_DOUBLE | cps | 7 | 16 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 28.0 | DT_DOUBLE | cps | 7 | 127.9998 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 29.0 | DT_DOUBLE | cps | 7 | 12327.9385 | 13211.9277 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 30.0 | DT_DOUBLE | cps | 7 | 241470 | 247590.0312 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 31.0 | DT_DOUBLE | cps | 7 | 1699.9861 | 1875.9832 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 32.0 | DT_DOUBLE | cps | 7 | 1509085 | 1528336.25 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 33.0 | DT_DOUBLE | cps | 7 | 7383.9526 | 7999.9502 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 34.0 | DT_DOUBLE | cps | 7 | 7187.9492 | 7779.9497 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 35.0 | DT_DOUBLE | cps | 7 | 48 | 123.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 36.0 | DT_DOUBLE | cps | 7 | 259.9994 | 335.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 37.0 | DT_DOUBLE | cps | 7 | 2312807.75 | 2455750.25 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 38.0 | DT_DOUBLE | cps | 7 | 3995.9658 | 4283.9653 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 39.0 | DT_DOUBLE | cps | 7 | 11307.9346 | 12651.9316 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 40.0 | DT_DOUBLE | cps | 7 | 60 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 41.0 | DT_DOUBLE | cps | 7 | 1459.9883 | 1651.9862 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 42.0 | DT_DOUBLE | cps | 7 | 299.9991 | 407.9985 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 43.0 | DT_DOUBLE | cps | 7 | 10415.9414 | 13803.9326 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.35208
m/z 44.0 | DT_DOUBLE | cps | 7 | 395.9986 | 595.9973 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.35488
m/z 45.0 | DT_DOUBLE | cps | 7 | 2947.9727 | 3283.9705 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.35929
m/z 46.0 | DT_DOUBLE | cps | 7 | 8055.9517 | 8383.9561 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.3651
m/z 47.0 | DT_DOUBLE | cps | 7 | 3627.9685 | 4235.9663 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.37211
m/z 48.0 | DT_DOUBLE | cps | 7 | 419.9985 | 615.9971 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.38012
m/z 49.0 | DT_DOUBLE | cps | 7 | 48 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.3889
m/z 50.0 | DT_DOUBLE | cps | 7 | 723.9957 | 807.9955 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.39826
m/z 51.0 | DT_DOUBLE | cps | 7 | 139.9998 | 223.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.40798
m/z 52.0 | DT_DOUBLE | cps | 7 | 2279.9778 | 2619.9763 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.41787
m/z 53.0 | DT_DOUBLE | cps | 7 | 267.9994 | 419.9985 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.4277
m/z 54.0 | DT_DOUBLE | cps | 7 | 587.997 | 723.9958 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.43728
m/z 55.0 | DT_DOUBLE | cps | 7 | 6799.9531 | 7339.9443 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.4464
m/z 56.0 | DT_DOUBLE | cps | 7 | 9063.9482 | 9523.9414 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.45485
m/z 57.0 | DT_DOUBLE | cps | 7 | 3171.9695 | 3619.969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.46242
m/z 58.0 | DT_DOUBLE | cps | 7 | 691.9958 | 839.9951 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.46891
m/z 59.0 | DT_DOUBLE | cps | 7 | 4659.9634 | 4911.9624 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 0.4741
m/z 60.0 | DT_DOUBLE | cps | 7 | 527.9979 | 623.9967 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.47811
m/z 61.0 | DT_DOUBLE | cps | 7 | 17835.9355 | 22471.9141 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.48133
m/z 62.0 | DT_DOUBLE | cps | 7 | 531.998 | 799.9952 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.48401
m/z 63.0 | DT_DOUBLE | cps | 7 | 259.9994 | 307.999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.48639
m/z 64.0 | DT_DOUBLE | cps | 7 | 60 | 127.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.48872
m/z 65.0 | DT_DOUBLE | cps | 7 | 107.9999 | 175.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.49123
m/z 66.0 | DT_DOUBLE | cps | 7 | 32 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.49417
m/z 67.0 | DT_DOUBLE | cps | 7 | 60 | 135.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.49779
m/z 68.0 | DT_DOUBLE | cps | 7 | 40 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.50232
m/z 69.0 | DT_DOUBLE | cps | 7 | 483.9981 | 591.9972 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.508
m/z 70.0 | DT_DOUBLE | cps | 7 | 68 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.52691
m/z 71.0 | DT_DOUBLE | cps | 7 | 451.9983 | 615.9969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.56729
m/z 72.0 | DT_DOUBLE | cps | 7 | 91.9999 | 159.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.6236
m/z 73.0 | DT_DOUBLE | cps | 7 | 731.996 | 931.9941 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.69032
m/z 74.0 | DT_DOUBLE | cps | 7 | 315.9991 | 435.9984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.76193
m/z 75.0 | DT_DOUBLE | cps | 7 | 671.9963 | 799.9951 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.83291
m/z 76.0 | DT_DOUBLE | cps | 7 | 131.9998 | 263.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.89772
m/z 77.0 | DT_DOUBLE | cps | 7 | 115.9999 | 163.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.95086
m/z 78.0 | DT_DOUBLE | cps | 7 | 91.9999 | 143.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.98679
m/z 79.0 | DT_DOUBLE | cps | 7 | 387.9987 | 651.9965 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 80.0 | DT_DOUBLE | cps | 7 | 52 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.99744
m/z 81.0 | DT_DOUBLE | cps | 7 | 219.9995 | 355.9988 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.99013
m/z 82.0 | DT_DOUBLE | cps | 7 | 32 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.97856
m/z 83.0 | DT_DOUBLE | cps | 7 | 411.9985 | 459.9982 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.96328
m/z 84.0 | DT_DOUBLE | cps | 7 | 83.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.94481
m/z 85.0 | DT_DOUBLE | cps | 7 | 231.9995 | 343.999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.92365
m/z 86.0 | DT_DOUBLE | cps | 7 | 95.9999 | 199.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.90034
m/z 87.0 | DT_DOUBLE | cps | 7 | 539.9977 | 699.9959 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.8754
m/z 88.0 | DT_DOUBLE | cps | 7 | 91.9999 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.84935
m/z 89.0 | DT_DOUBLE | cps | 7 | 471.998 | 571.9971 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.82271
m/z 90.0 | DT_DOUBLE | cps | 7 | 123.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.796
m/z 91.0 | DT_DOUBLE | cps | 7 | 3939.9673 | 4103.9683 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.76975
m/z 92.0 | DT_DOUBLE | cps | 7 | 155.9998 | 247.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.74448
m/z 93.0 | DT_DOUBLE | cps | 7 | 815.9949 | 955.994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.7207
m/z 94.0 | DT_DOUBLE | cps | 7 | 527.9978 | 763.9952 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.69669
m/z 95.0 | DT_DOUBLE | cps | 7 | 479.9981 | 571.9974 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.67063
m/z 96.0 | DT_DOUBLE | cps | 7 | 247.9995 | 299.9992 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.64293
m/z 97.0 | DT_DOUBLE | cps | 7 | 267.9994 | 351.9988 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.614
m/z 98.0 | DT_DOUBLE | cps | 7 | 64 | 127.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.58424
m/z 99.0 | DT_DOUBLE | cps | 7 | 207.9996 | 339.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.55406
m/z 100.0 | DT_DOUBLE | cps | 7 | 64 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.52386
m/z 101.0 | DT_DOUBLE | cps | 7 | 287.9993 | 343.999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.49406
m/z 102.0 | DT_DOUBLE | cps | 7 | 111.9999 | 215.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.46506
m/z 103.0 | DT_DOUBLE | cps | 7 | 219.9996 | 307.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.43727
m/z 104.0 | DT_DOUBLE | cps | 7 | 491.9981 | 559.9977 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.41109
m/z 105.0 | DT_DOUBLE | cps | 7 | 111.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.38693
m/z 106.0 | DT_DOUBLE | cps | 7 | 1919.984 | 2131.981 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.3652
m/z 107.0 | DT_DOUBLE | cps | 7 | 795.9955 | 975.9939 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.3463
m/z 108.0 | DT_DOUBLE | cps | 7 | 811.9949 | 975.9936 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.32938
m/z 109.0 | DT_DOUBLE | cps | 7 | 1955.9838 | 2123.9814 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.31327
m/z 110.0 | DT_DOUBLE | cps | 7 | 75.9999 | 107.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.29792
m/z 111.0 | DT_DOUBLE | cps | 7 | 87.9999 | 175.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.2833
m/z 112.0 | DT_DOUBLE | cps | 7 | 56 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.26935
m/z 113.0 | DT_DOUBLE | cps | 7 | 119.9999 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.25603
m/z 114.0 | DT_DOUBLE | cps | 7 | 56 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.2433
m/z 115.0 | DT_DOUBLE | cps | 7 | 127.9998 | 191.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.2311
m/z 116.0 | DT_DOUBLE | cps | 7 | 79.9999 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.21939
m/z 117.0 | DT_DOUBLE | cps | 7 | 99.9999 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.20813
m/z 118.0 | DT_DOUBLE | cps | 7 | 95.9999 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.19726
m/z 119.0 | DT_DOUBLE | cps | 7 | 631.9968 | 855.9948 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.18675
m/z 120.0 | DT_DOUBLE | cps | 7 | 723.996 | 903.9943 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.17655
m/z 121.0 | DT_DOUBLE | cps | 7 | 371.9988 | 467.9983 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.1666
m/z 122.0 | DT_DOUBLE | cps | 7 | 283.9992 | 387.9987 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.15687
m/z 123.0 | DT_DOUBLE | cps | 7 | 111.9999 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.14733
m/z 124.0 | DT_DOUBLE | cps | 7 | 2083.9822 | 2363.9773 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.13802
m/z 125.0 | DT_DOUBLE | cps | 7 | 123.9998 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.12895
m/z 126.0 | DT_DOUBLE | cps | 7 | 683.9965 | 815.9949 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.12013
m/z 127.0 | DT_DOUBLE | cps | 7 | 99.9999 | 159.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.11158
m/z 128.0 | DT_DOUBLE | cps | 7 | 40 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.10332
m/z 129.0 | DT_DOUBLE | cps | 7 | 135.9998 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.095373
m/z 130.0 | DT_DOUBLE | cps | 7 | 32 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.087747
m/z 131.0 | DT_DOUBLE | cps | 7 | 56 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.080464
m/z 132.0 | DT_DOUBLE | cps | 7 | 64 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.07354
m/z 133.0 | DT_DOUBLE | cps | 7 | 28 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.066993
m/z 134.0 | DT_DOUBLE | cps | 7 | 28 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.06084
m/z 135.0 | DT_DOUBLE | cps | 7 | 103.9999 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 136.0 | DT_DOUBLE | cps | 7 | 48 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 137.0 | DT_DOUBLE | cps | 7 | 103.9999 | 159.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 138.0 | DT_DOUBLE | cps | 7 | 44 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 139.0 | DT_DOUBLE | cps | 7 | 36 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 140.0 | DT_DOUBLE | cps | 7 | 32 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 141.0 | DT_DOUBLE | cps | 7 | 36 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 142.0 | DT_DOUBLE | cps | 7 | 32 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 143.0 | DT_DOUBLE | cps | 7 | 52 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 144.0 | DT_DOUBLE | cps | 7 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 145.0 | DT_DOUBLE | cps | 7 | 48 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 146.0 | DT_DOUBLE | cps | 7 | 28 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 147.0 | DT_DOUBLE | cps | 7 | 28 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 148.0 | DT_DOUBLE | cps | 7 | 60 | 107.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 149.0 | DT_DOUBLE | cps | 7 | 60 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 150.0 | DT_DOUBLE | cps | 7 | 24 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 151.0 | DT_DOUBLE | cps | 7 | 40 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 152.0 | DT_DOUBLE | cps | 7 | 16 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 153.0 | DT_DOUBLE | cps | 7 | 44 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 154.0 | DT_DOUBLE | cps | 7 | 28 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 155.0 | DT_DOUBLE | cps | 7 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 156.0 | DT_DOUBLE | cps | 7 | 32 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 157.0 | DT_DOUBLE | cps | 7 | 24 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 158.0 | DT_DOUBLE | cps | 7 | 16 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 159.0 | DT_DOUBLE | cps | 7 | 28 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 160.0 | DT_DOUBLE | cps | 7 | 28 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 161.0 | DT_DOUBLE | cps | 7 | 48 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 162.0 | DT_DOUBLE | cps | 7 | 32 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 163.0 | DT_DOUBLE | cps | 7 | 40 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 164.0 | DT_DOUBLE | cps | 7 | 28 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 165.0 | DT_DOUBLE | cps | 7 | 32 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 166.0 | DT_DOUBLE | cps | 7 | 24 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 167.0 | DT_DOUBLE | cps | 7 | 28 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 168.0 | DT_DOUBLE | cps | 7 | 28 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 169.0 | DT_DOUBLE | cps | 7 | 32 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 170.0 | DT_DOUBLE | cps | 7 | 28 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 171.0 | DT_DOUBLE | cps | 7 | 28 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 172.0 | DT_DOUBLE | cps | 7 | 28 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 173.0 | DT_DOUBLE | cps | 7 | 32 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 174.0 | DT_DOUBLE | cps | 7 | 36 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 175.0 | DT_DOUBLE | cps | 7 | 32 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 176.0 | DT_DOUBLE | cps | 7 | 40 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 177.0 | DT_DOUBLE | cps | 7 | 24 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 178.0 | DT_DOUBLE | cps | 7 | 40 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 179.0 | DT_DOUBLE | cps | 7 | 28 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 180.0 | DT_DOUBLE | cps | 7 | 28 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.0551
Concentration
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 22.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 23.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 24.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 25.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 26.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 27.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 28.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 29.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 30.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 30
m/z 31.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 32.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 32
m/z 33.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 34.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 35.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 36.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 37.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 37
m/z 38.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 39.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 40.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 41.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 42.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 43.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.35208
m/z 44.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.35488
m/z 45.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.35929
m/z 46.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.3651
m/z 47.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.37211
m/z 48.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.38012
m/z 49.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.3889
m/z 50.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.39826
m/z 51.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.40798
m/z 52.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.41787
m/z 53.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.4277
m/z 54.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.43728
m/z 55.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.4464
m/z 56.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.45485
m/z 57.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.46242
m/z 58.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.46891
m/z 59.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 0.4741
m/z 60.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.47811
m/z 61.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.48133
m/z 62.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.48401
m/z 63.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.48639
m/z 64.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.48872
m/z 65.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.49123
m/z 66.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.49417
m/z 67.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.49779
m/z 68.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.50232
m/z 69.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.508
m/z 70.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.52691
m/z 71.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.56729
m/z 72.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.6236
m/z 73.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.69032
m/z 74.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.76193
m/z 75.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.83291
m/z 76.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.89772
m/z 77.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.95086
m/z 78.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.98679
m/z 79.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 80.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.99744
m/z 81.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.99013
m/z 82.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.97856
m/z 83.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.96328
m/z 84.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.94481
m/z 85.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.92365
m/z 86.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.90034
m/z 87.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.8754
m/z 88.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.84935
m/z 89.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.82271
m/z 90.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.796
m/z 91.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.76975
m/z 92.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.74448
m/z 93.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.7207
m/z 94.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.69669
m/z 95.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.67063
m/z 96.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.64293
m/z 97.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.614
m/z 98.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.58424
m/z 99.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.55406
m/z 100.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.52386
m/z 101.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.49406
m/z 102.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.46506
m/z 103.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.43727
m/z 104.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.41109
m/z 105.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.38693
m/z 106.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.3652
m/z 107.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.3463
m/z 108.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.32938
m/z 109.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.31327
m/z 110.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.29792
m/z 111.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.2833
m/z 112.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.26935
m/z 113.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.25603
m/z 114.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.2433
m/z 115.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.2311
m/z 116.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.21939
m/z 117.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.20813
m/z 118.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.19726
m/z 119.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.18675
m/z 120.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.17655
m/z 121.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.1666
m/z 122.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.15687
m/z 123.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.14733
m/z 124.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.13802
m/z 125.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.12895
m/z 126.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.12013
m/z 127.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.11158
m/z 128.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.10332
m/z 129.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.095373
m/z 130.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.087747
m/z 131.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.080464
m/z 132.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.07354
m/z 133.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.066993
m/z 134.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.06084
m/z 135.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 136.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 137.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 138.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 139.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 140.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 141.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 142.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 143.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 144.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 145.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 146.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 147.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 148.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 149.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 150.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 151.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 152.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 153.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 154.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 155.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 156.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 157.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 158.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 159.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 160.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 161.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 162.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 163.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 164.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 165.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 166.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 167.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 168.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 169.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 170.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 171.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 172.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 173.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 174.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 175.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 176.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 177.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 178.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 179.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.0551
m/z 180.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.0551
Misc
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 30.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 32.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.3511
m/z 37.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.3511
Instrument
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Press controller | DT_DOUBLE | mbar | 7 | 373 | 374
Flow controller | DT_DOUBLE | sccm | 7 | 6.3867 | 6.3867
USO | DT_DOUBLE | V | 7 | 0 | 0
US | DT_DOUBLE | V | 7 | 0 | 0
UQL | DT_DOUBLE | V | 7 | 0 | 0
UNC | DT_DOUBLE | V | 7 | 0 | 0
Source current | DT_DOUBLE | mA | 7 | 0 | 0
Source state | DT_STRING | on/off | 7
Inlet temperature | DT_DOUBLE | °C | 7 | 0 | 0
Detection pressure | DT_DOUBLE | mbar | 7 | 1.2245e-05 | 1.2482e-05
SEM Voltage | DT_LONG | V | 7 | 2966 | 2966
FC add1 | DT_DOUBLE | sccm | 7 | 0 | 0
FC add2 | DT_DOUBLE | sccm | 7 | 0 | 0
Source Valve | DT_DOUBLE | % | 7 | 0 | 0
Reaction conditions
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Udrift | DT_DOUBLE | V | 7 | 591.4062 | 591.7969
pdrift | DT_DOUBLE | mbar | 7 | 2.175 | 2.175
Tdrift | DT_DOUBLE | °C | 7 | 60 | 60
Switch 1 | DT_SHORT | on/off | 7 | 0 | 0
Switch 2 | DT_SHORT | on/off | 7 | 0 | 0
Switch 3 | DT_SHORT | on/off | 7 | 0 | 0
Switch 4 | DT_SHORT | on/off | 7 | 0 | 0
Switch 5 | DT_SHORT | on/off | 7 | 0 | 0
Switch 6 | DT_SHORT | on/off | 7 | 0 | 0

## Time Cycle
Cycle number | Absolute Time | Relative Time
1 | 2020-09-25 09:31 | 80.073
2 | 2020-09-25 09:32 | 160.146
3 | 2020-09-25 09:34 | 240.219
4 | 2020-09-25 09:35 | 320.293
5 | 2020-09-25 09:36 | 400.366
6 | 2020-09-25 09:38 | 480.44
7 | 2020-09-25 09:39 | 560.513

## Raw signal intensities
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0
60679.6602 | 60 | 16 | 44 | 32 | 32 | 28 | 127.9998 | 12471.9268 | 241470 | 1711.9858 | 1509085 | 7383.9526 | 7319.9458 | 48 | 267.9993 | 2312807.75 | 4147.9678 | 11307.9346 | 103.9999 | 1503.9872 | 343.9988 | 10415.9414 | 395.9986 | 3035.9719 | 8055.9517 | 3627.9685 | 491.9981 | 119.9999 | 787.9954 | 159.9998 | 2399.9773 | 267.9994 | 647.9966 | 6875.9531 | 9367.9463 | 3499.9688 | 839.9951 | 4759.957 | 547.9973 | 17835.9355 | 551.9977 | 259.9994 | 115.9999 | 143.9998 | 60 | 60 | 40 | 503.9979 | 68 | 487.9981 | 143.9998 | 879.9944 | 319.9992 | 727.9955 | 211.9995 | 127.9998 | 123.9999 | 387.9987 | 115.9999 | 259.9994 | 75.9999 | 415.9984 | 135.9998 | 271.9993 | 159.9998 | 659.9966 | 135.9998 | 527.998 | 167.9997 | 4103.9663 | 187.9996 | 855.9948 | 619.9966 | 523.9979 | 247.9995 | 267.9994 | 103.9999 | 291.9992 | 79.9999 | 339.9989 | 179.9996 | 251.9994 | 559.9976 | 159.9997 | 1919.984 | 827.9946 | 943.9938 | 2035.983 | 79.9999 | 159.9997 | 56 | 119.9999 | 79.9999 | 163.9997 | 87.9999 | 99.9999 | 95.9999 | 739.9956 | 831.9951 | 431.9984 | 283.9992 | 115.9999 | 2083.9822 | 143.9998 | 683.9965 | 99.9999 | 44 | 163.9997 | 60 | 99.9999 | 75.9999 | 48 | 68 | 111.9999 | 83.9999 | 107.9999 | 56 | 36 | 32 | 40 | 44 | 91.9999 | 60 | 48 | 56 | 44 | 75.9999 | 72 | 40 | 60 | 52 | 60 | 36 | 56 | 32 | 60 | 52 | 68 | 68 | 48 | 36 | 40 | 87.9999 | 64 | 44 | 44 | 28 | 36 | 28 | 44 | 36 | 40 | 36 | 64 | 40 | 44 | 56 | 48 | 36
62931.6953 | 60 | 40 | 24 | 24 | 48 | 16 | 143.9998 | 12903.9346 | 246066.0625 | 1875.9832 | 1528336.25 | 7951.9546 | 7247.957 | 99.9999 | 287.9992 | 2358927 | 4115.9668 | 11535.9277 | 68 | 1487.9877 | 399.9984 | 11931.9268 | 455.9983 | 3103.9712 | 8115.9507 | 4235.9663 | 583.9974 | 48 | 755.9955 | 187.9996 | 2279.9778 | 355.9988 | 587.997 | 6799.9531 | 9267.9414 | 3171.9695 | 763.9955 | 4659.9634 | 547.9976 | 19383.9297 | 663.9964 | 275.9993 | 79.9999 | 163.9997 | 44 | 103.9999 | 75.9999 | 555.9975 | 87.9999 | 535.9977 | 159.9997 | 731.996 | 315.9991 | 687.9958 | 211.9996 | 139.9998 | 119.9999 | 531.9977 | 52 | 295.9991 | 79.9999 | 411.9985 | 167.9997 | 255.9994 | 159.9997 | 699.9959 | 107.9999 | 567.9976 | 123.9999 | 4091.9685 | 203.9996 | 843.9948 | 763.9952 | 479.9981 | 299.9992 | 331.999 | 127.9998 | 211.9995 | 75.9999 | 315.999 | 111.9999 | 219.9996 | 491.9981 | 151.9998 | 1999.9836 | 795.9955 | 975.9936 | 2035.9833 | 107.9999 | 87.9999 | 64 | 123.9999 | 79.9999 | 151.9998 | 91.9999 | 143.9998 | 163.9997 | 699.996 | 831.9949 | 371.9988 | 303.9992 | 127.9999 | 2171.9805 | 195.9996 | 763.9954 | 159.9998 | 40 | 135.9998 | 64 | 60 | 72 | 52 | 75.9999 | 163.9997 | 60 | 123.9999 | 48 | 56 | 40 | 60 | 44 | 52 | 68 | 72 | 28 | 28 | 68 | 83.9999 | 44 | 48 | 71.9999 | 56 | 36 | 56 | 56 | 48 | 52 | 28 | 28 | 83.9999 | 64 | 52 | 64 | 56 | 40 | 52 | 68 | 79.9999 | 40 | 28 | 28 | 36 | 44 | 44 | 48 | 24 | 87.9999 | 40 | 68
63687.6953 | 79.9999 | 40 | 56 | 52 | 60 | 52 | 175.9997 | 12327.9385 | 246038.0781 | 1699.9861 | 1522864.375 | 7839.9531 | 7187.9492 | 123.9998 | 259.9994 | 2400750.5 | 4007.9666 | 11807.9297 | 83.9999 | 1475.9878 | 335.999 | 12927.9326 | 531.9978 | 2947.9727 | 8175.9517 | 4155.9648 | 419.9985 | 68 | 807.9955 | 139.9998 | 2503.9773 | 295.9991 | 723.9958 | 7043.9546 | 9351.9482 | 3479.969 | 695.9957 | 4687.9624 | 619.9968 | 20635.9375 | 699.9959 | 295.9991 | 87.9999 | 115.9999 | 64 | 103.9999 | 68 | 591.9972 | 131.9998 | 463.9982 | 147.9998 | 931.9941 | 331.9988 | 799.9951 | 239.9995 | 119.9999 | 143.9998 | 451.9983 | 95.9999 | 259.9994 | 56 | 443.9983 | 127.9998 | 287.9993 | 199.9996 | 647.9965 | 91.9999 | 471.9983 | 123.9999 | 3939.9673 | 247.9994 | 935.9943 | 647.9966 | 543.9976 | 279.9993 | 267.9994 | 99.9999 | 207.9996 | 71.9999 | 343.999 | 215.9995 | 275.9993 | 539.9977 | 127.9998 | 2047.9816 | 887.9942 | 859.9943 | 1955.9838 | 99.9999 | 159.9997 | 64 | 155.9998 | 64 | 151.9998 | 87.9999 | 195.9996 | 131.9998 | 647.9963 | 767.9954 | 411.9984 | 291.9992 | 111.9999 | 2363.9773 | 171.9997 | 747.9957 | 107.9999 | 56 | 143.9998 | 83.9999 | 68 | 64 | 28 | 48 | 115.9999 | 60 | 103.9999 | 75.9999 | 79.9999 | 52 | 36 | 32 | 91.9999 | 44 | 48 | 36 | 87.9999 | 72 | 64 | 68 | 40 | 60 | 44 | 56 | 52 | 40 | 44 | 16 | 36 | 36 | 60 | 64 | 48 | 32 | 52 | 44 | 28 | 60 | 32 | 36 | 48 | 44 | 32 | 60 | 64 | 56 | 40 | 40 | 28 | 28
63399.6992 | 79.9999 | 48 | 44 | 36 | 68 | 64 | 195.9996 | 12707.9346 | 247590.0312 | 1815.9845 | 1515000.625 | 7999.9502 | 7247.9497 | 99.9999 | 323.999 | 2412138.75 | 4047.968 | 12363.9346 | 60 | 1471.9866 | 355.9988 | 12739.9297 | 479.9981 | 3283.9705 | 8251.9492 | 3995.9666 | 603.9971 | 79.9999 | 795.995 | 211.9996 | 2459.9775 | 383.9986 | 695.996 | 6863.9565 | 9523.9414 | 3619.969 | 779.9952 | 4735.9609 | 527.9979 | 21643.9258 | 711.9962 | 259.9994 | 127.9998 | 143.9998 | 32 | 115.9999 | 60 | 555.9976 | 107.9999 | 539.9977 | 131.9998 | 923.9944 | 435.9984 | 683.9962 | 247.9994 | 115.9999 | 139.9998 | 595.9973 | 91.9999 | 355.9988 | 60 | 427.9984 | 83.9999 | 231.9995 | 151.9998 | 663.9969 | 163.9997 | 571.9971 | 147.9998 | 4007.9673 | 211.9996 | 955.994 | 619.9968 | 571.9974 | 263.9994 | 351.9988 | 107.9999 | 227.9995 | 68 | 287.9993 | 187.9996 | 307.9991 | 535.9976 | 167.9997 | 2131.981 | 823.9951 | 943.9935 | 2063.9822 | 107.9999 | 99.9999 | 99.9999 | 163.9997 | 87.9999 | 191.9997 | 91.9999 | 175.9997 | 119.9999 | 855.9948 | 723.996 | 467.9983 | 387.9987 | 111.9999 | 2211.9807 | 167.9997 | 775.9957 | 131.9998 | 68 | 167.9997 | 52 | 56 | 83.9999 | 71.9999 | 52 | 131.9998 | 75.9999 | 131.9998 | 71.9999 | 83.9999 | 56 | 56 | 56 | 64 | 32 | 52 | 56 | 48 | 91.9999 | 60 | 68 | 48 | 56 | 48 | 28 | 64 | 56 | 48 | 28 | 52 | 28 | 60 | 40 | 87.9999 | 60 | 56 | 24 | 40 | 52 | 48 | 48 | 52 | 36 | 44 | 36 | 52 | 48 | 72 | 44 | 44 | 52
63039.6758 | 79.9999 | 32 | 40 | 40 | 60 | 48 | 139.9998 | 12807.9326 | 246150.1406 | 1775.9847 | 1527529 | 7947.9541 | 7779.9497 | 75.9999 | 335.9989 | 2455750.25 | 4283.9653 | 12651.9316 | 91.9999 | 1459.9883 | 383.9986 | 13103.9277 | 591.9974 | 3143.9712 | 8163.9521 | 4107.9688 | 587.9971 | 99.9999 | 807.995 | 223.9995 | 2427.9778 | 395.9985 | 707.9958 | 7339.9443 | 9255.9404 | 3279.9697 | 691.9958 | 4675.9604 | 571.9976 | 22447.9121 | 799.9952 | 303.9991 | 119.9999 | 175.9997 | 52 | 135.9998 | 72 | 559.9973 | 127.9999 | 615.9969 | 127.9999 | 907.994 | 423.9984 | 671.9963 | 263.9994 | 131.9998 | 119.9999 | 507.9981 | 115.9999 | 219.9995 | 32 | 459.9982 | 155.9998 | 291.9992 | 95.9999 | 635.9966 | 147.9998 | 495.998 | 139.9998 | 4007.9685 | 211.9996 | 943.9948 | 675.996 | 535.9976 | 295.9992 | 307.9991 | 64 | 227.9995 | 111.9999 | 327.999 | 171.9997 | 299.9991 | 555.9977 | 123.9999 | 2039.9829 | 907.9941 | 927.9941 | 1999.9843 | 107.9999 | 143.9998 | 60 | 127.9999 | 95.9999 | 179.9996 | 87.9999 | 127.9998 | 139.9998 | 671.9964 | 811.9951 | 411.9984 | 375.9988 | 131.9998 | 2363.9763 | 155.9998 | 751.9955 | 107.9999 | 75.9999 | 163.9997 | 32 | 79.9999 | 115.9999 | 48 | 64 | 103.9999 | 48 | 135.9998 | 75.9999 | 64 | 48 | 71.9999 | 60 | 56 | 64 | 68 | 60 | 40 | 79.9999 | 75.9999 | 24 | 68 | 16 | 48 | 40 | 32 | 56 | 64 | 24 | 60 | 56 | 71.9999 | 32 | 79.9999 | 28 | 40 | 36 | 60 | 44 | 44 | 60 | 36 | 36 | 40 | 52 | 32 | 44 | 56 | 48 | 64 | 72
63203.6758 | 40 | 60 | 52 | 36 | 52 | 28 | 163.9997 | 12559.9287 | 246538.125 | 1851.9851 | 1520261.125 | 7811.9497 | 7679.9492 | 71.9999 | 279.9992 | 2437558 | 4131.9653 | 12231.9336 | 72 | 1583.9861 | 407.9985 | 13567.9229 | 595.9973 | 3219.9705 | 8383.9561 | 4055.9661 | 575.9974 | 87.9999 | 723.9957 | 163.9997 | 2519.9761 | 343.9989 | 667.9966 | 7211.9521 | 9139.9434 | 3291.9709 | 771.9952 | 4911.9624 | 555.9976 | 22471.9141 | 783.9954 | 307.999 | 60 | 143.9998 | 64 | 115.9999 | 52 | 483.9981 | 95.9999 | 451.9983 | 131.9998 | 819.9948 | 315.9991 | 763.9955 | 131.9998 | 163.9998 | 91.9999 | 651.9965 | 68 | 295.9992 | 72 | 435.9983 | 83.9999 | 247.9994 | 155.9998 | 539.9977 | 155.9997 | 531.9977 | 147.9998 | 4103.9683 | 203.9996 | 815.9949 | 739.9955 | 563.9975 | 255.9994 | 315.9991 | 107.9999 | 231.9995 | 64 | 319.9991 | 167.9997 | 263.9994 | 547.9976 | 111.9999 | 2015.9833 | 975.9939 | 939.9942 | 2123.9814 | 103.9999 | 167.9997 | 60 | 195.9996 | 79.9999 | 151.9998 | 99.9999 | 187.9996 | 127.9998 | 631.9968 | 767.9956 | 443.9984 | 323.999 | 111.9999 | 2163.9822 | 171.9997 | 791.9951 | 119.9999 | 95.9999 | 167.9997 | 52 | 83.9999 | 79.9999 | 48 | 52 | 147.9998 | 68 | 123.9999 | 71.9999 | 52 | 40 | 83.9999 | 72 | 103.9999 | 64 | 99.9999 | 44 | 28 | 60 | 75.9999 | 48 | 52 | 68 | 44 | 32 | 68 | 60 | 71.9999 | 28 | 48 | 48 | 64 | 44 | 52 | 44 | 48 | 52 | 52 | 56 | 48 | 56 | 40 | 40 | 52 | 68 | 44 | 64 | 32 | 48 | 36 | 52
62695.6523 | 75.9999 | 44 | 16 | 36 | 60 | 60 | 127.9998 | 13211.9277 | 247010.125 | 1811.984 | 1515196.25 | 7787.9531 | 7335.9551 | 68 | 303.9991 | 2433511 | 3995.9658 | 11999.9297 | 83.9999 | 1651.9862 | 299.9991 | 13803.9326 | 523.9979 | 3067.9692 | 8127.9546 | 4123.9663 | 615.9971 | 107.9999 | 739.9958 | 187.9996 | 2619.9763 | 419.9985 | 627.9966 | 6807.9507 | 9063.9482 | 3551.9692 | 811.9952 | 4903.96 | 623.9967 | 22191.9297 | 531.998 | 283.9993 | 95.9999 | 107.9999 | 79.9999 | 107.9999 | 87.9999 | 575.9975 | 83.9999 | 487.9981 | 91.9999 | 851.9951 | 351.9988 | 691.9962 | 227.9995 | 143.9998 | 123.9999 | 511.9979 | 75.9999 | 263.9994 | 52 | 419.9985 | 103.9999 | 343.999 | 135.9998 | 595.9973 | 127.9999 | 471.998 | 163.9997 | 3967.9673 | 155.9998 | 855.9949 | 527.9978 | 499.9981 | 275.9994 | 299.9992 | 119.9999 | 339.9989 | 115.9999 | 319.999 | 175.9997 | 295.9992 | 559.9977 | 127.9998 | 2011.9838 | 927.994 | 811.9949 | 2095.9836 | 75.9999 | 175.9997 | 56 | 179.9996 | 56 | 127.9998 | 79.9999 | 191.9996 | 111.9999 | 831.9949 | 903.9943 | 439.9985 | 303.9991 | 127.9999 | 2319.9792 | 123.9998 | 815.9949 | 131.9998 | 64 | 155.9997 | 79.9999 | 64 | 75.9999 | 103.9999 | 28 | 119.9999 | 99.9999 | 159.9998 | 44 | 68 | 44 | 83.9999 | 95.9999 | 68 | 64 | 64 | 28 | 68 | 107.9999 | 83.9999 | 44 | 48 | 24 | 68 | 52 | 44 | 40 | 24 | 60 | 64 | 56 | 52 | 32 | 71.9999 | 32 | 32 | 68 | 68 | 32 | 56 | 52 | 28 | 36 | 64 | 48 | 52 | 44 | 60 | 48 | 44 | 40

## Concentration
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0

## Misc
m/z 21.0 | m/z 30.0 | m/z 32.0 | m/z 37.0

## Instrument
Press controller | Flow controller | USO | US | UQL | UNC | Source current | Source state | Inlet temperature | Detection pressure | SEM Voltage | FC add1 | FC add2 | Source Valve
373 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2482e-05 | 2966 | 0 | 0 | 0
374 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2482e-05 | 2966 | 0 | 0 | 0
374 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2482e-05 | 2966 | 0 | 0 | 0
373 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2482e-05 | 2966 | 0 | 0 | 0
374 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2482e-05 | 2966 | 0 | 0 | 0
373 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2482e-05 | 2966 | 0 | 0 | 0
374 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2245e-05 | 2966 | 0 | 0 | 0

## Reaction conditions
Udrift | pdrift | Tdrift | Switch 1 | Switch 2 | Switch 3 | Switch 4 | Switch 5 | Switch 6
591.4062 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.7969 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.4062 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.7969 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.4062 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.7969 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.4062 | 2.175 | 60 | 0 | 0 | 0 | 0 | 0 | 0