## Untitled (root)
Root Name | Title | Author | Date/Time | Groups | Description | End_time | Start_time
Untitled | SCAN data |  |  | 6 | PTR-MS Control 2.7 | 2021-02-23 16:45 | 2021-02-23 16:32
Group | Channels | Description
Time / Cycle | 3
Raw signal intensities | 160
Concentration | 160
Misc | 4
Instrument | 14
Reaction conditions | 9
Time / Cycle
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Cycle number | DT_LONG | cycle | 10 | 1 | 10
Absolute Time | DT_DATE | Date/Time | 10 | 2021-02-23 16:33 | 2021-02-23 16:45
Relative Time | DT_DOUBLE | s | 10 | 80.073 | 800.733
Raw signal intensities
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 10 | 17131.9316 | 20371.9238 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | cps | 10 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | cps | 10 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | cps | 10 | 8 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | cps | 10 | 107.9999 | 359.9988 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | cps | 10 | 44 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | cps | 10 | 5267.9565 | 5787.9575 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | cps | 10 | 6047.9536 | 6547.9517 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 31.0 | DT_DOUBLE | cps | 10 | 243.9995 | 823.9947 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | cps | 10 | 166999.9062 | 181143.5781 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 33.0 | DT_DOUBLE | cps | 10 | 18795.9355 | 72059.875 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | cps | 10 | 1447.9879 | 2115.9812 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | cps | 10 | 52 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | cps | 10 | 179.9996 | 239.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | cps | 10 | 427757.0312 | 456616.1562 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
m/z 38.0 | DT_DOUBLE | cps | 10 | 591.9972 | 771.9955 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | cps | 10 | 8599.9473 | 32031.8652 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | cps | 10 | 255.9995 | 1007.9933 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | cps | 10 | 19167.9375 | 68831.7656 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | cps | 10 | 2379.9775 | 10115.9316 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | cps | 10 | 12511.9346 | 82319.9219 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | cps | 10 | 727.9958 | 2443.9775 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | cps | 10 | 1555.9872 | 3491.9678 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | cps | 10 | 863.9949 | 1091.9926 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | cps | 10 | 779.9952 | 935.9942 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | cps | 10 | 28 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | cps | 10 | 48 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | cps | 10 | 119.9999 | 607.997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | cps | 10 | 48 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | cps | 10 | 56 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | cps | 10 | 56 | 251.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | cps | 10 | 867.9946 | 1271.9895 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | cps | 10 | 671.9966 | 1235.9902 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | cps | 10 | 24787.8691 | 65787.7188 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | cps | 10 | 1267.9899 | 2759.9753 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | cps | 10 | 270279.1875 | 803483.125 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | cps | 10 | 8659.9482 | 51887.7266 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | cps | 10 | 3007.9724 | 16315.9404 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | cps | 10 | 127.9998 | 443.9983 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | cps | 10 | 1347.9888 | 1595.9867 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | cps | 10 | 28 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | cps | 10 | 28 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | cps | 10 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | cps | 10 | 24 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | cps | 10 | 24 | 151.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | cps | 10 | 395.9986 | 1099.9927 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | cps | 10 | 175.9997 | 451.9982 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | cps | 10 | 159.9997 | 259.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | cps | 10 | 24 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | cps | 10 | 779.9954 | 2771.9746 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | cps | 10 | 111.9999 | 171.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | cps | 10 | 1499.9882 | 3403.9697 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | cps | 10 | 87.9999 | 219.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | cps | 10 | 52 | 503.998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | cps | 10 | 20 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | cps | 10 | 95.9999 | 275.9993 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | cps | 10 | 16 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | cps | 10 | 60 | 139.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | cps | 10 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | cps | 10 | 91.9999 | 203.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | cps | 10 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | cps | 10 | 515.9978 | 1279.9901 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | cps | 10 | 60 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | cps | 10 | 447.9984 | 903.9943 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | cps | 10 | 107.9999 | 203.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | cps | 10 | 547.9978 | 867.9946 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | cps | 10 | 475.9982 | 615.9972 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | cps | 10 | 1939.984 | 2547.9768 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | cps | 10 | 207.9996 | 263.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | cps | 10 | 243.9995 | 491.998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | cps | 10 | 111.9999 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | cps | 10 | 115.9999 | 179.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | cps | 10 | 103.9999 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | cps | 10 | 64 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | cps | 10 | 24 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | cps | 10 | 56 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | cps | 10 | 16 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | cps | 10 | 135.9998 | 203.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | cps | 10 | 56 | 111.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | cps | 10 | 295.9991 | 487.9981 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | cps | 10 | 71.9999 | 123.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | cps | 10 | 159.9997 | 283.9993 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | cps | 10 | 799.9951 | 991.9939 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | cps | 10 | 1959.9825 | 2199.9805 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | cps | 10 | 3355.9717 | 4075.9683 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | cps | 10 | 475.9982 | 603.9969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | cps | 10 | 79.9999 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | cps | 10 | 395.9985 | 1967.9834 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | cps | 10 | 52 | 219.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | cps | 10 | 56 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | cps | 10 | 36 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | cps | 10 | 107.9999 | 607.9969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | cps | 10 | 48 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | cps | 10 | 87.9999 | 347.9988 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | cps | 10 | 44 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | cps | 10 | 60 | 127.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | cps | 10 | 535.9977 | 699.9958 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | cps | 10 | 79.9999 | 163.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | cps | 10 | 48 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | cps | 10 | 71.9999 | 147.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | cps | 10 | 347.9988 | 491.9979 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | cps | 10 | 843.9951 | 1059.9929 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | cps | 10 | 1383.989 | 1715.9856 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | cps | 10 | 131.9998 | 323.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | cps | 10 | 24 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | cps | 10 | 155.9997 | 659.9969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | cps | 10 | 32 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | cps | 10 | 223.9995 | 795.9953 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | cps | 10 | 40 | 127.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | cps | 10 | 24 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | cps | 10 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | cps | 10 | 24 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | cps | 10 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | cps | 10 | 8 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | cps | 10 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | cps | 10 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | cps | 10 | 16 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | cps | 10 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | cps | 10 | 48 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | cps | 10 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | cps | 10 | 20 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | cps | 10 | 28 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | cps | 10 | 12 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | cps | 10 | 24 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | cps | 10 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | cps | 10 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | cps | 10 | 12 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | cps | 10 | 8 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | cps | 10 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | cps | 10 | 4 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | cps | 10 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | cps | 10 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | cps | 10 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | cps | 10 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | cps | 10 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | cps | 10 | 8 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | cps | 10 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | cps | 10 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | cps | 10 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | cps | 10 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | cps | 10 | 8 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | cps | 10 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | cps | 10 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | cps | 10 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | cps | 10 | 8 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | cps | 10 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | cps | 10 | 0 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | cps | 10 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Concentration
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 30
m/z 31.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 32
m/z 33.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 37
m/z 38.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Misc
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 30.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 32.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 37.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
Instrument
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Press controller | DT_DOUBLE | mbar | 10 | 412 | 413
Flow controller | DT_DOUBLE | sccm | 10 | 6.3867 | 6.4014
USO | DT_DOUBLE | V | 10 | 0 | 0
US | DT_DOUBLE | V | 10 | 0 | 0
UQL | DT_DOUBLE | V | 10 | 0 | 0
UNC | DT_DOUBLE | V | 10 | 0 | 0
Source current | DT_DOUBLE | mA | 10 | 0 | 0
Source state | DT_STRING | on/off | 10
Inlet temperature | DT_DOUBLE | °C | 10 | 0 | 0
Detection pressure | DT_DOUBLE | mbar | 10 | 1.0913e-05 | 1.0913e-05
SEM Voltage | DT_LONG | V | 10 | 2360 | 2360
FC add1 | DT_DOUBLE | sccm | 10 | 0 | 0
FC add2 | DT_DOUBLE | sccm | 10 | 0 | 0
Source Valve | DT_DOUBLE | % | 10 | 0 | 0
Reaction conditions
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Udrift | DT_DOUBLE | V | 10 | 590.625 | 591.0156
pdrift | DT_DOUBLE | mbar | 10 | 2.1562 | 2.1625
Tdrift | DT_DOUBLE | °C | 10 | 60 | 60
Switch 1 | DT_SHORT | on/off | 10 | 0 | 0
Switch 2 | DT_SHORT | on/off | 10 | 0 | 0
Switch 3 | DT_SHORT | on/off | 10 | 0 | 0
Switch 4 | DT_SHORT | on/off | 10 | 0 | 0
Switch 5 | DT_SHORT | on/off | 10 | 0 | 0
Switch 6 | DT_SHORT | on/off | 10 | 0 | 0

## Time Cycle
Cycle number | Absolute Time | Relative Time
1 | 2021-02-23 16:33 | 80.073
2 | 2021-02-23 16:34 | 160.146
3 | 2021-02-23 16:36 | 240.219
4 | 2021-02-23 16:37 | 320.293
5 | 2021-02-23 16:38 | 400.366
6 | 2021-02-23 16:40 | 480.44
7 | 2021-02-23 16:41 | 560.513
8 | 2021-02-23 16:42 | 640.586
9 | 2021-02-23 16:44 | 720.66
10 | 2021-02-23 16:45 | 800.733

## Raw signal intensities
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0
17131.9316 | 28 | 16 | 16 | 20 | 16 | 359.9988 | 60 | 5459.9565 | 6047.9536 | 823.9947 | 166999.9062 | 72059.875 | 2115.9812 | 107.9999 | 239.9995 | 430385.0625 | 675.9962 | 32031.8652 | 727.9959 | 50791.7891 | 8187.9468 | 41575.9297 | 1623.9856 | 2059.9829 | 1047.9934 | 823.995 | 40 | 28 | 72 | 415.9985 | 79.9999 | 83.9999 | 251.9994 | 1271.9895 | 1235.9902 | 36347.8867 | 1479.9879 | 803483.125 | 51887.7266 | 16315.9404 | 443.9983 | 1495.9872 | 56 | 28 | 28 | 36 | 147.9998 | 395.9986 | 451.9982 | 171.9997 | 56 | 1639.9852 | 171.9997 | 3091.9707 | 207.9996 | 167.9997 | 40 | 215.9995 | 44 | 95.9999 | 12 | 91.9999 | 20 | 539.9977 | 83.9999 | 639.9969 | 111.9999 | 547.9978 | 531.9977 | 2547.9768 | 255.9995 | 467.9982 | 195.9996 | 143.9998 | 103.9999 | 111.9999 | 24 | 111.9999 | 44 | 199.9996 | 68 | 487.9981 | 107.9999 | 259.9994 | 915.9941 | 2071.9824 | 3355.9717 | 599.9973 | 79.9999 | 395.9985 | 52 | 79.9999 | 44 | 607.9969 | 48 | 347.9988 | 75.9999 | 60 | 595.997 | 131.9998 | 83.9999 | 79.9999 | 491.9979 | 955.9938 | 1539.9872 | 131.9998 | 44 | 155.9997 | 68 | 607.9969 | 75.9999 | 36 | 20 | 48 | 36 | 32 | 24 | 48 | 24 | 28 | 16 | 48 | 12 | 32 | 44 | 79.9999 | 83.9999 | 24 | 44 | 32 | 24 | 16 | 20 | 24 | 4 | 24 | 12 | 20 | 24 | 16 | 4 | 24 | 28 | 16 | 44 | 32 | 12 | 16 | 28 | 16 | 8 | 16 | 24 | 12 | 20 | 8 | 16 | 36 | 20
18339.9375 | 20 | 16 | 20 | 24 | 8 | 155.9998 | 48 | 5515.957 | 6135.9497 | 587.9973 | 170103.8281 | 39543.9023 | 1671.9847 | 103.9999 | 211.9996 | 430104.9688 | 651.9963 | 27167.8691 | 1007.9933 | 68831.7656 | 10115.9316 | 35639.8633 | 995.9941 | 2127.9819 | 975.9936 | 871.9947 | 44 | 20 | 95.9999 | 415.9984 | 71.9999 | 56 | 159.9997 | 1151.9921 | 1167.9915 | 39239.9102 | 1707.9847 | 639567.25 | 22371.9102 | 7459.9541 | 287.9993 | 1595.9867 | 32 | 52 | 20 | 32 | 79.9999 | 443.9984 | 343.9988 | 207.9996 | 48 | 1383.9889 | 147.9998 | 3067.9714 | 211.9995 | 179.9996 | 56 | 123.9999 | 56 | 131.9998 | 24 | 139.9998 | 24 | 851.9948 | 115.9999 | 903.9943 | 155.9998 | 627.9966 | 615.9972 | 1939.984 | 247.9995 | 379.9987 | 155.9998 | 119.9999 | 135.9998 | 91.9999 | 44 | 68 | 52 | 203.9996 | 99.9999 | 459.9983 | 123.9999 | 263.9994 | 799.9951 | 2011.9823 | 3767.9712 | 499.9979 | 83.9999 | 703.9964 | 103.9999 | 91.9999 | 52 | 235.9995 | 64 | 123.9999 | 72 | 68 | 535.9977 | 147.9998 | 48 | 143.9998 | 411.9984 | 999.9938 | 1595.9856 | 155.9998 | 24 | 215.9995 | 32 | 447.9983 | 79.9999 | 60 | 32 | 44 | 28 | 52 | 28 | 28 | 48 | 16 | 32 | 75.9999 | 40 | 48 | 64 | 75.9999 | 72 | 12 | 16 | 20 | 12 | 56 | 16 | 20 | 12 | 12 | 8 | 20 | 24 | 28 | 4 | 52 | 8 | 28 | 48 | 8 | 16 | 8 | 16 | 12 | 24 | 12 | 28 | 24 | 12 | 16 | 0 | 12 | 20
19991.9238 | 48 | 36 | 24 | 24 | 12 | 227.9995 | 68 | 5387.9556 | 6347.9517 | 379.9985 | 172099.8125 | 44999.8945 | 1659.9855 | 75.9999 | 191.9996 | 427757.0312 | 591.9972 | 15147.9424 | 523.9979 | 36363.9297 | 5455.9565 | 60291.668 | 2443.9775 | 3175.9719 | 1091.9926 | 847.9949 | 44 | 32 | 71.9999 | 219.9996 | 64 | 68 | 95.9999 | 911.9946 | 1055.993 | 46203.8828 | 2759.9753 | 687402.8125 | 18035.9355 | 5179.9565 | 183.9996 | 1399.9878 | 60 | 48 | 36 | 24 | 151.9998 | 587.9973 | 307.9992 | 223.9995 | 56 | 1439.9879 | 131.9998 | 2147.9812 | 115.9999 | 115.9999 | 44 | 155.9998 | 36 | 103.9999 | 24 | 127.9998 | 32 | 687.9958 | 87.9999 | 531.9977 | 107.9999 | 627.9969 | 523.9978 | 2211.9797 | 227.9995 | 407.9984 | 111.9999 | 115.9999 | 143.9998 | 75.9999 | 36 | 91.9999 | 36 | 139.9998 | 91.9999 | 391.9985 | 103.9999 | 215.9996 | 911.9943 | 2039.9823 | 3423.9714 | 591.9972 | 79.9999 | 1075.9932 | 179.9996 | 75.9999 | 52 | 327.9989 | 79.9999 | 159.9997 | 79.9999 | 87.9999 | 547.9976 | 103.9999 | 75.9999 | 147.9998 | 407.9987 | 1027.9937 | 1419.9886 | 203.9996 | 56 | 299.9991 | 36 | 795.9953 | 127.9998 | 52 | 20 | 24 | 24 | 12 | 24 | 16 | 12 | 28 | 8 | 64 | 20 | 20 | 28 | 12 | 56 | 8 | 28 | 24 | 12 | 20 | 12 | 24 | 20 | 20 | 24 | 28 | 32 | 16 | 16 | 24 | 24 | 12 | 36 | 16 | 36 | 12 | 24 | 32 | 20 | 16 | 8 | 20 | 16 | 48 | 12 | 8 | 40
20347.9219 | 12 | 16 | 16 | 4 | 36 | 299.9991 | 68 | 5375.9575 | 6291.9507 | 471.9983 | 176655.7344 | 33367.8789 | 1579.9868 | 83.9999 | 191.9996 | 433517.0625 | 727.9958 | 23167.9102 | 767.9955 | 51551.7695 | 5707.9551 | 43647.9062 | 1439.9873 | 2215.9807 | 1071.9932 | 799.9951 | 28 | 16 | 64 | 187.9996 | 48 | 56 | 91.9999 | 903.9944 | 883.9942 | 29143.8594 | 1507.9877 | 467416.0625 | 15699.9336 | 6943.9531 | 387.9986 | 1567.9879 | 48 | 44 | 12 | 44 | 131.9998 | 755.9952 | 283.9992 | 191.9996 | 40 | 2771.9746 | 147.9998 | 3403.9697 | 211.9996 | 503.998 | 71.9999 | 275.9993 | 48 | 103.9999 | 24 | 203.9996 | 36 | 1279.9901 | 115.9999 | 883.9946 | 151.9998 | 839.9952 | 563.9974 | 2319.9795 | 263.9994 | 439.9983 | 131.9998 | 147.9998 | 131.9998 | 83.9999 | 44 | 99.9999 | 16 | 135.9998 | 99.9999 | 455.9983 | 111.9999 | 259.9994 | 899.9948 | 2143.9824 | 3859.9661 | 567.9975 | 99.9999 | 1083.9932 | 95.9999 | 83.9999 | 60 | 335.9989 | 60 | 111.9999 | 52 | 95.9999 | 643.9969 | 163.9998 | 95.9999 | 115.9999 | 471.9981 | 947.9945 | 1383.989 | 199.9996 | 56 | 363.9987 | 52 | 227.9995 | 56 | 36 | 8 | 52 | 12 | 12 | 16 | 40 | 32 | 28 | 12 | 60 | 16 | 28 | 48 | 44 | 40 | 28 | 20 | 40 | 20 | 24 | 32 | 32 | 28 | 12 | 20 | 12 | 12 | 20 | 12 | 12 | 24 | 20 | 40 | 28 | 24 | 36 | 32 | 44 | 28 | 24 | 32 | 24 | 8 | 12 | 32 | 16 | 20
19623.9297 | 16 | 20 | 16 | 16 | 8 | 247.9994 | 44 | 5787.9575 | 6547.9517 | 243.9995 | 177503.6094 | 38571.9219 | 1879.9838 | 155.9998 | 179.9996 | 447036.7812 | 651.9964 | 12523.9229 | 307.9991 | 40231.8945 | 8783.9541 | 82319.9219 | 2183.9817 | 3239.9707 | 967.9938 | 879.9946 | 72 | 20 | 87.9999 | 287.9993 | 91.9999 | 83.9999 | 91.9999 | 983.994 | 1155.9926 | 65787.7188 | 2439.9766 | 337775.8438 | 8659.9482 | 3319.97 | 183.9997 | 1535.9874 | 60 | 56 | 20 | 56 | 83.9999 | 619.9968 | 323.999 | 215.9995 | 75.9999 | 1255.9905 | 119.9999 | 2039.9835 | 167.9997 | 147.9998 | 28 | 159.9998 | 44 | 75.9999 | 44 | 187.9997 | 40 | 879.9945 | 95.9999 | 659.9967 | 155.9998 | 747.9958 | 579.9973 | 2247.9807 | 255.9994 | 443.9985 | 135.9998 | 155.9998 | 147.9998 | 119.9999 | 32 | 95.9999 | 44 | 159.9997 | 79.9999 | 375.9986 | 87.9999 | 251.9994 | 907.994 | 2003.983 | 3615.9712 | 567.9974 | 131.9998 | 1475.9873 | 143.9998 | 60 | 48 | 419.9985 | 64 | 207.9996 | 68 | 127.9999 | 579.9976 | 135.9998 | 48 | 103.9999 | 431.9984 | 963.9933 | 1463.9878 | 171.9997 | 52 | 535.9979 | 64 | 331.999 | 56 | 32 | 36 | 60 | 20 | 48 | 8 | 16 | 8 | 20 | 28 | 52 | 44 | 68 | 44 | 28 | 32 | 32 | 16 | 12 | 24 | 8 | 40 | 4 | 24 | 20 | 20 | 16 | 12 | 16 | 28 | 20 | 44 | 20 | 12 | 16 | 16 | 20 | 36 | 20 | 16 | 16 | 16 | 20 | 16 | 24 | 16 | 24 | 12
20371.9238 | 12 | 16 | 20 | 16 | 24 | 307.9991 | 52 | 5267.9565 | 6075.9512 | 291.9992 | 178863.5938 | 36779.9258 | 1527.9867 | 52 | 227.9995 | 434696.6875 | 611.9971 | 21667.9082 | 575.9973 | 21547.9102 | 2811.9722 | 18759.9336 | 727.9958 | 1615.9868 | 895.9945 | 779.9952 | 52 | 28 | 64 | 467.998 | 48 | 56 | 83.9999 | 1027.9933 | 759.9953 | 30355.8691 | 1267.9899 | 270279.1875 | 9779.9414 | 4255.9673 | 159.9998 | 1571.9871 | 40 | 71.9999 | 36 | 56 | 24 | 715.9957 | 227.9995 | 259.9995 | 60 | 895.9943 | 119.9999 | 1799.985 | 119.9999 | 52 | 28 | 127.9999 | 32 | 127.9998 | 28 | 139.9998 | 48 | 591.997 | 79.9999 | 479.9983 | 203.9996 | 827.9949 | 475.9982 | 2083.9829 | 215.9995 | 491.998 | 123.9998 | 179.9997 | 151.9998 | 111.9999 | 48 | 56 | 28 | 143.9998 | 79.9999 | 295.9991 | 72 | 279.9993 | 819.9947 | 2091.9824 | 3643.9688 | 479.998 | 107.9999 | 1351.9899 | 107.9999 | 87.9999 | 40 | 111.9999 | 60 | 91.9999 | 44 | 71.9999 | 663.9963 | 139.9998 | 48 | 107.9999 | 439.9983 | 843.9951 | 1615.986 | 179.9996 | 72 | 447.9984 | 56 | 243.9995 | 48 | 28 | 24 | 56 | 24 | 16 | 16 | 36 | 28 | 20 | 20 | 56 | 24 | 64 | 56 | 36 | 24 | 20 | 48 | 28 | 16 | 32 | 4 | 16 | 28 | 24 | 20 | 20 | 16 | 32 | 12 | 16 | 16 | 8 | 24 | 20 | 20 | 36 | 8 | 12 | 20 | 20 | 4 | 24 | 12 | 8 | 16 | 24 | 20
19947.9277 | 16 | 20 | 4 | 8 | 24 | 107.9999 | 56 | 5519.9521 | 6267.9521 | 591.9971 | 173815.7031 | 40047.9258 | 1539.9865 | 95.9999 | 187.9996 | 437428.625 | 611.9973 | 9811.9355 | 343.9989 | 35043.8945 | 2667.9719 | 12511.9346 | 1951.9851 | 3491.9678 | 935.9941 | 867.9948 | 64 | 12 | 60 | 251.9994 | 52 | 72 | 83.9999 | 999.9934 | 719.9962 | 28787.8516 | 1511.9868 | 720213.0625 | 31907.8574 | 6059.9458 | 131.9998 | 1483.9879 | 28 | 40 | 36 | 32 | 52 | 739.9957 | 175.9997 | 175.9997 | 24 | 779.9954 | 127.9999 | 1851.9847 | 87.9999 | 99.9999 | 24 | 147.9998 | 40 | 95.9999 | 24 | 155.9998 | 28 | 515.9978 | 72 | 483.998 | 143.9998 | 723.9959 | 531.9978 | 2035.9838 | 219.9995 | 379.9987 | 115.9999 | 119.9999 | 155.9998 | 155.9998 | 52 | 99.9999 | 40 | 183.9996 | 111.9999 | 327.9989 | 119.9999 | 251.9994 | 895.9945 | 2199.9805 | 3595.968 | 571.9973 | 135.9998 | 1587.9863 | 159.9998 | 91.9999 | 68 | 195.9996 | 56 | 95.9999 | 64 | 95.9999 | 551.9977 | 131.9998 | 79.9999 | 71.9999 | 347.9988 | 911.9943 | 1579.9867 | 191.9996 | 60 | 531.9979 | 79.9999 | 651.9966 | 79.9999 | 24 | 32 | 52 | 36 | 52 | 16 | 40 | 28 | 24 | 32 | 103.9999 | 24 | 40 | 32 | 16 | 32 | 36 | 16 | 16 | 16 | 20 | 8 | 20 | 20 | 20 | 12 | 20 | 8 | 28 | 40 | 28 | 32 | 16 | 24 | 20 | 20 | 8 | 28 | 16 | 12 | 8 | 20 | 40 | 28 | 28 | 28 | 12 | 28
20211.9277 | 48 | 20 | 8 | 36 | 28 | 255.9994 | 56 | 5363.9551 | 6203.9526 | 375.9988 | 179339.7344 | 18795.9355 | 1575.986 | 68 | 227.9995 | 456616.1562 | 771.9955 | 19803.9219 | 363.9987 | 21203.9316 | 3807.968 | 38275.9219 | 1395.9883 | 1555.9872 | 1047.9934 | 935.9942 | 44 | 36 | 48 | 607.997 | 95.9999 | 83.9999 | 115.9999 | 1259.9897 | 795.9949 | 38767.9297 | 1931.9838 | 353947.5 | 8931.9434 | 4511.9648 | 187.9996 | 1347.9888 | 36 | 48 | 40 | 60 | 79.9999 | 835.995 | 211.9996 | 159.9997 | 68 | 1131.9917 | 111.9999 | 1499.9882 | 91.9999 | 72 | 28 | 127.9998 | 32 | 119.9999 | 16 | 159.9998 | 20 | 699.9963 | 79.9999 | 447.9984 | 179.9997 | 859.9947 | 583.9971 | 2063.9824 | 215.9995 | 307.9991 | 111.9999 | 135.9998 | 135.9998 | 115.9999 | 32 | 115.9999 | 56 | 163.9997 | 79.9999 | 407.9986 | 119.9999 | 191.9996 | 931.9945 | 1999.9821 | 3655.9668 | 603.9969 | 103.9999 | 1967.9834 | 211.9995 | 56 | 64 | 187.9996 | 91.9999 | 107.9999 | 44 | 75.9999 | 647.9965 | 123.9999 | 60 | 119.9999 | 431.9984 | 1059.9929 | 1667.9851 | 259.9994 | 40 | 555.9977 | 99.9999 | 263.9993 | 56 | 48 | 20 | 71.9999 | 24 | 40 | 28 | 28 | 16 | 36 | 8 | 83.9999 | 16 | 40 | 44 | 40 | 48 | 24 | 32 | 20 | 24 | 24 | 8 | 32 | 28 | 16 | 24 | 32 | 12 | 20 | 12 | 52 | 12 | 36 | 20 | 20 | 12 | 32 | 16 | 20 | 20 | 20 | 16 | 32 | 20 | 12 | 32 | 28 | 16
20315.9277 | 28 | 16 | 20 | 40 | 40 | 283.9992 | 48 | 5711.9526 | 6423.9531 | 287.9992 | 180523.625 | 21531.916 | 1519.9883 | 131.9998 | 183.9997 | 442788.5312 | 615.9971 | 8599.9473 | 263.9994 | 21963.9238 | 2379.9775 | 15559.9395 | 851.9948 | 1719.9851 | 863.9949 | 843.9951 | 79.9999 | 24 | 91.9999 | 247.9995 | 79.9999 | 64 | 71.9999 | 871.994 | 671.9966 | 24787.8691 | 1435.9878 | 376431 | 10463.9336 | 3999.9661 | 155.9998 | 1383.9883 | 44 | 44 | 32 | 60 | 72 | 919.9944 | 207.9996 | 259.9994 | 52 | 1075.9929 | 139.9998 | 2275.9807 | 219.9995 | 87.9999 | 20 | 131.9998 | 32 | 60 | 28 | 179.9997 | 52 | 559.9976 | 60 | 507.9979 | 155.9998 | 731.9958 | 503.9981 | 2203.9824 | 207.9996 | 299.9991 | 151.9998 | 179.9996 | 115.9999 | 64 | 36 | 72 | 24 | 135.9998 | 56 | 407.9987 | 71.9999 | 159.9997 | 847.9951 | 2071.9836 | 4075.9683 | 515.998 | 103.9999 | 1799.9845 | 219.9995 | 56 | 36 | 107.9999 | 64 | 87.9999 | 71.9999 | 95.9999 | 699.9958 | 127.9999 | 52 | 91.9999 | 423.9984 | 947.9946 | 1475.9871 | 299.9991 | 56 | 627.9968 | 83.9999 | 243.9995 | 40 | 44 | 32 | 91.9999 | 28 | 32 | 16 | 40 | 28 | 56 | 28 | 71.9999 | 32 | 28 | 40 | 16 | 32 | 16 | 28 | 24 | 28 | 28 | 12 | 28 | 44 | 48 | 8 | 28 | 8 | 28 | 16 | 20 | 28 | 16 | 20 | 20 | 28 | 20 | 4 | 20 | 8 | 24 | 16 | 20 | 8 | 12 | 12 | 20 | 12
20139.9316 | 20 | 12 | 24 | 16 | 12 | 287.9992 | 52 | 5459.9531 | 6295.9497 | 343.9989 | 181143.5781 | 20567.9258 | 1447.9879 | 60 | 199.9997 | 432761.1562 | 639.9966 | 10947.9365 | 255.9995 | 19167.9375 | 2687.9751 | 16527.9414 | 779.9958 | 1663.9866 | 891.9941 | 875.9948 | 36 | 16 | 72 | 119.9999 | 56 | 68 | 56 | 867.9946 | 787.9952 | 42167.9336 | 1975.9834 | 302143.8125 | 8963.9395 | 3007.9724 | 127.9998 | 1471.9877 | 40 | 60 | 16 | 40 | 119.9999 | 1099.9927 | 287.9992 | 255.9994 | 56 | 1339.9895 | 143.9998 | 1947.9836 | 167.9997 | 111.9999 | 20 | 95.9999 | 16 | 139.9998 | 28 | 159.9997 | 16 | 587.9973 | 119.9999 | 487.998 | 151.9998 | 867.9946 | 567.9974 | 2071.9824 | 215.9996 | 243.9995 | 143.9998 | 155.9998 | 155.9998 | 71.9999 | 44 | 99.9999 | 60 | 151.9998 | 68 | 307.9991 | 83.9999 | 283.9993 | 991.9939 | 1959.9825 | 3455.9695 | 475.9982 | 155.9998 | 1855.9841 | 179.9996 | 68 | 60 | 207.9996 | 56 | 95.9999 | 56 | 87.9999 | 571.9973 | 79.9999 | 83.9999 | 103.9999 | 439.9983 | 1023.9936 | 1715.9856 | 323.9989 | 64 | 659.9969 | 119.9999 | 223.9995 | 40 | 32 | 48 | 99.9999 | 28 | 36 | 28 | 24 | 28 | 28 | 20 | 79.9999 | 12 | 40 | 36 | 16 | 32 | 20 | 16 | 16 | 16 | 40 | 12 | 36 | 40 | 8 | 36 | 16 | 32 | 4 | 16 | 24 | 12 | 12 | 12 | 16 | 20 | 24 | 24 | 20 | 12 | 12 | 20 | 32 | 20 | 24 | 8 | 28 | 16

## Concentration
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0

## Misc
m/z 21.0 | m/z 30.0 | m/z 32.0 | m/z 37.0

## Instrument
Press controller | Flow controller | USO | US | UQL | UNC | Source current | Source state | Inlet temperature | Detection pressure | SEM Voltage | FC add1 | FC add2 | Source Valve
413 | 6.4014 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0

## Reaction conditions
Udrift | pdrift | Tdrift | Switch 1 | Switch 2 | Switch 3 | Switch 4 | Switch 5 | Switch 6
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0