## Untitled (root)
Root Name | Title | Author | Date/Time | Groups | Description | End_time | Start_time
Untitled | SCAN data |  |  | 6 | PTR-MS Control 2.7 | 2021-02-23 18:30 | 2021-02-23 18:20
Group | Channels | Description
Time / Cycle | 3
Raw signal intensities | 160
Concentration | 160
Misc | 4
Instrument | 14
Reaction conditions | 9
Time / Cycle
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Cycle number | DT_LONG | cycle | 7 | 1 | 7
Absolute Time | DT_DATE | Date/Time | 7 | 2021-02-23 18:22 | 2021-02-23 18:30
Relative Time | DT_DOUBLE | s | 7 | 80.073 | 560.513
Raw signal intensities
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 7 | 19943.9297 | 21015.9297 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | cps | 7 | 16 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | cps | 7 | 4 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | cps | 7 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | cps | 7 | 24 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | cps | 7 | 5111.9561 | 5515.9487 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | cps | 7 | 5723.9546 | 6007.9551 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 31.0 | DT_DOUBLE | cps | 7 | 159.9997 | 227.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | cps | 7 | 169875.875 | 173339.7656 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 33.0 | DT_DOUBLE | cps | 7 | 2071.9832 | 2303.9795 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | cps | 7 | 1091.9928 | 1211.9907 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | cps | 7 | 4 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | cps | 7 | 139.9998 | 255.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | cps | 7 | 372499.0938 | 383462.7188 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
m/z 38.0 | DT_DOUBLE | cps | 7 | 499.9981 | 599.9974 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | cps | 7 | 1859.984 | 2087.9827 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | cps | 7 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | cps | 7 | 875.9944 | 979.9934 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | cps | 7 | 315.9991 | 355.9988 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | cps | 7 | 1099.9923 | 1227.991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | cps | 7 | 83.9999 | 147.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | cps | 7 | 763.9955 | 939.9938 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | cps | 7 | 619.9971 | 783.9954 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | cps | 7 | 735.9956 | 879.9944 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | cps | 7 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | cps | 7 | 4 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | cps | 7 | 40 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | cps | 7 | 28 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | cps | 7 | 48 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | cps | 7 | 20 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | cps | 7 | 32 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | cps | 7 | 443.9981 | 519.9979 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | cps | 7 | 215.9995 | 311.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | cps | 7 | 727.9954 | 923.9939 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | cps | 7 | 28 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | cps | 7 | 4227.9673 | 5095.9551 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | cps | 7 | 219.9995 | 267.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | cps | 7 | 519.9977 | 655.9965 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | cps | 7 | 40 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | cps | 7 | 1295.9904 | 1603.9863 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | cps | 7 | 32 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | cps | 7 | 28 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | cps | 7 | 20 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | cps | 7 | 16 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | cps | 7 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | cps | 7 | 235.9995 | 475.9981 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | cps | 7 | 32 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | cps | 7 | 95.9999 | 183.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | cps | 7 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | cps | 7 | 339.9988 | 447.9984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | cps | 7 | 28 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | cps | 7 | 75.9999 | 139.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | cps | 7 | 36 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | cps | 7 | 20 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | cps | 7 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | cps | 7 | 68 | 159.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | cps | 7 | 24 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | cps | 7 | 60 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | cps | 7 | 20 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | cps | 7 | 52 | 127.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | cps | 7 | 16 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | cps | 7 | 68 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | cps | 7 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | cps | 7 | 95.9999 | 155.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | cps | 7 | 48 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | cps | 7 | 327.9989 | 459.9983 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | cps | 7 | 491.9982 | 599.997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | cps | 7 | 1763.9847 | 1891.9832 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | cps | 7 | 135.9998 | 207.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | cps | 7 | 251.9995 | 355.9988 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | cps | 7 | 91.9999 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | cps | 7 | 79.9999 | 127.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | cps | 7 | 75.9999 | 171.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | cps | 7 | 68 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | cps | 7 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | cps | 7 | 52 | 107.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | cps | 7 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | cps | 7 | 79.9999 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | cps | 7 | 40 | 111.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | cps | 7 | 219.9995 | 331.999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | cps | 7 | 60 | 151.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | cps | 7 | 175.9997 | 335.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | cps | 7 | 827.9951 | 971.9934 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | cps | 7 | 2071.9836 | 2247.9805 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | cps | 7 | 3479.9705 | 3887.969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | cps | 7 | 455.9982 | 611.9969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | cps | 7 | 68 | 135.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | cps | 7 | 359.9988 | 803.9952 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | cps | 7 | 48 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | cps | 7 | 40 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | cps | 7 | 32 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | cps | 7 | 28 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | cps | 7 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | cps | 7 | 20 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | cps | 7 | 48 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | cps | 7 | 56 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | cps | 7 | 543.9978 | 655.9966 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | cps | 7 | 139.9998 | 191.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | cps | 7 | 48 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | cps | 7 | 60 | 123.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | cps | 7 | 359.9988 | 431.9984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | cps | 7 | 779.9951 | 883.9949 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | cps | 7 | 1303.9899 | 1495.9878 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | cps | 7 | 127.9999 | 211.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | cps | 7 | 20 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | cps | 7 | 159.9998 | 299.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | cps | 7 | 20 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | cps | 7 | 16 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | cps | 7 | 20 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | cps | 7 | 16 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | cps | 7 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | cps | 7 | 20 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | cps | 7 | 20 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | cps | 7 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | cps | 7 | 8 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | cps | 7 | 4 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | cps | 7 | 20 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | cps | 7 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | cps | 7 | 24 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | cps | 7 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | cps | 7 | 16 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | cps | 7 | 8 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | cps | 7 | 12 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | cps | 7 | 8 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | cps | 7 | 12 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | cps | 7 | 4 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | cps | 7 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | cps | 7 | 4 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | cps | 7 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | cps | 7 | 16 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | cps | 7 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | cps | 7 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | cps | 7 | 4 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | cps | 7 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | cps | 7 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | cps | 7 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | cps | 7 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | cps | 7 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | cps | 7 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | cps | 7 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | cps | 7 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Concentration
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 30
m/z 31.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 32
m/z 33.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 37
m/z 38.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Misc
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 30.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 32.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 37.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
Instrument
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Press controller | DT_DOUBLE | mbar | 7 | 413 | 413
Flow controller | DT_DOUBLE | sccm | 7 | 6.3867 | 6.3867
USO | DT_DOUBLE | V | 7 | 0 | 0
US | DT_DOUBLE | V | 7 | 0 | 0
UQL | DT_DOUBLE | V | 7 | 0 | 0
UNC | DT_DOUBLE | V | 7 | 0 | 0
Source current | DT_DOUBLE | mA | 7 | 0 | 0
Source state | DT_STRING | on/off | 7
Inlet temperature | DT_DOUBLE | °C | 7 | 0 | 0
Detection pressure | DT_DOUBLE | mbar | 7 | 1.0913e-05 | 1.1124e-05
SEM Voltage | DT_LONG | V | 7 | 2360 | 2360
FC add1 | DT_DOUBLE | sccm | 7 | 0 | 0
FC add2 | DT_DOUBLE | sccm | 7 | 0 | 0
Source Valve | DT_DOUBLE | % | 7 | 0 | 0
Reaction conditions
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Udrift | DT_DOUBLE | V | 7 | 591.0156 | 591.0156
pdrift | DT_DOUBLE | mbar | 7 | 2.15 | 2.15
Tdrift | DT_DOUBLE | °C | 7 | 60 | 60
Switch 1 | DT_SHORT | on/off | 7 | 0 | 0
Switch 2 | DT_SHORT | on/off | 7 | 0 | 0
Switch 3 | DT_SHORT | on/off | 7 | 0 | 0
Switch 4 | DT_SHORT | on/off | 7 | 0 | 0
Switch 5 | DT_SHORT | on/off | 7 | 0 | 0
Switch 6 | DT_SHORT | on/off | 7 | 0 | 0

## Time Cycle
Cycle number | Absolute Time | Relative Time
1 | 2021-02-23 18:22 | 80.073
2 | 2021-02-23 18:23 | 160.146
3 | 2021-02-23 18:24 | 240.22
4 | 2021-02-23 18:26 | 320.293
5 | 2021-02-23 18:27 | 400.366
6 | 2021-02-23 18:28 | 480.44
7 | 2021-02-23 18:30 | 560.513

## Raw signal intensities
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0
20083.9199 | 20 | 16 | 4 | 16 | 20 | 24 | 79.9999 | 5427.9546 | 5723.9546 | 159.9997 | 172095.8594 | 2287.979 | 1203.9911 | 28 | 139.9998 | 376854.8438 | 575.9974 | 2067.9827 | 28 | 911.9944 | 347.9988 | 1219.9904 | 143.9998 | 923.9946 | 619.9971 | 863.9948 | 44 | 4 | 64 | 32 | 48 | 20 | 40 | 519.9979 | 255.9994 | 791.9951 | 68 | 5095.9551 | 239.9995 | 631.9966 | 79.9999 | 1507.9867 | 32 | 52 | 36 | 16 | 28 | 475.9981 | 48 | 139.9998 | 20 | 447.9984 | 68 | 91.9999 | 36 | 24 | 24 | 95.9999 | 40 | 99.9999 | 36 | 115.9999 | 40 | 83.9999 | 52 | 99.9999 | 95.9999 | 439.9982 | 599.997 | 1887.9849 | 207.9996 | 251.9995 | 91.9999 | 127.9999 | 99.9999 | 95.9999 | 48 | 107.9999 | 40 | 87.9999 | 83.9999 | 331.9989 | 87.9999 | 335.9989 | 895.9944 | 2247.9805 | 3783.9697 | 499.998 | 135.9998 | 803.9952 | 103.9999 | 64 | 60 | 32 | 28 | 20 | 60 | 75.9999 | 543.9978 | 179.9997 | 79.9999 | 87.9999 | 359.9988 | 883.9949 | 1359.9885 | 199.9996 | 56 | 283.9992 | 48 | 40 | 20 | 20 | 16 | 40 | 24 | 44 | 24 | 24 | 28 | 20 | 32 | 87.9999 | 16 | 28 | 24 | 16 | 28 | 24 | 8 | 16 | 20 | 32 | 8 | 28 | 8 | 24 | 12 | 12 | 20 | 20 | 32 | 4 | 24 | 36 | 12 | 16 | 4 | 20 | 16 | 20 | 24 | 16 | 16 | 8 | 16 | 36 | 8 | 8 | 36
20491.9238 | 20 | 16 | 4 | 8 | 4 | 20 | 40 | 5111.9561 | 5787.9551 | 199.9996 | 170575.8125 | 2071.9832 | 1183.9917 | 4 | 215.9996 | 375366.9062 | 519.9979 | 1999.9835 | 12 | 927.9943 | 335.9989 | 1171.9919 | 91.9999 | 867.9944 | 783.9954 | 823.9952 | 44 | 12 | 75.9999 | 28 | 52 | 24 | 56 | 455.998 | 295.9992 | 923.9939 | 91.9999 | 4835.96 | 267.9994 | 519.9977 | 60 | 1427.9867 | 36 | 40 | 28 | 32 | 28 | 339.9989 | 32 | 179.9996 | 20 | 415.9985 | 83.9999 | 139.9998 | 60 | 32 | 16 | 91.9999 | 36 | 99.9999 | 28 | 127.9998 | 16 | 68 | 28 | 143.9998 | 79.9999 | 459.9983 | 551.9974 | 1871.9851 | 199.9996 | 259.9995 | 147.9998 | 79.9999 | 103.9999 | 119.9999 | 36 | 91.9999 | 28 | 115.9999 | 71.9999 | 267.9993 | 87.9999 | 251.9994 | 831.9951 | 2175.9817 | 3635.9707 | 611.9969 | 72 | 611.997 | 75.9999 | 64 | 40 | 28 | 40 | 44 | 48 | 60 | 591.9973 | 151.9998 | 60 | 123.9999 | 391.9986 | 883.9944 | 1303.9899 | 211.9996 | 48 | 299.9991 | 32 | 20 | 20 | 32 | 16 | 32 | 28 | 28 | 36 | 16 | 8 | 20 | 12 | 24 | 24 | 24 | 24 | 20 | 8 | 28 | 20 | 24 | 24 | 8 | 4 | 20 | 20 | 36 | 24 | 24 | 24 | 8 | 28 | 12 | 20 | 32 | 12 | 28 | 4 | 36 | 8 | 8 | 4 | 28 | 12 | 24 | 8 | 12 | 12 | 24 | 12
20155.9336 | 24 | 20 | 16 | 4 | 32 | 20 | 28 | 5163.9624 | 5951.9521 | 227.9995 | 169875.875 | 2099.9829 | 1091.9928 | 20 | 175.9997 | 372499.0938 | 527.9979 | 1931.9839 | 36 | 979.9934 | 315.9991 | 1211.99 | 139.9998 | 859.9945 | 727.9958 | 807.9949 | 36 | 4 | 40 | 28 | 68 | 40 | 79.9999 | 459.9983 | 251.9995 | 887.9946 | 72 | 4607.9653 | 255.9995 | 563.9977 | 44 | 1375.9891 | 48 | 28 | 32 | 32 | 12 | 327.999 | 36 | 155.9998 | 40 | 339.9988 | 28 | 139.9998 | 52 | 20 | 48 | 83.9999 | 24 | 111.9999 | 24 | 56 | 20 | 79.9999 | 24 | 95.9999 | 107.9999 | 379.9986 | 579.9974 | 1835.9841 | 159.9998 | 299.9992 | 103.9999 | 119.9999 | 171.9997 | 83.9999 | 32 | 87.9999 | 24 | 115.9999 | 111.9999 | 283.9992 | 95.9999 | 175.9997 | 891.9943 | 2071.9836 | 3479.9705 | 495.9979 | 68 | 575.9972 | 103.9999 | 60 | 56 | 48 | 12 | 48 | 56 | 83.9999 | 559.9976 | 139.9998 | 75.9999 | 71.9999 | 423.9985 | 847.9947 | 1363.9895 | 155.9998 | 32 | 259.9994 | 32 | 24 | 20 | 16 | 32 | 20 | 36 | 32 | 8 | 40 | 16 | 24 | 16 | 79.9999 | 12 | 24 | 8 | 28 | 8 | 20 | 36 | 20 | 4 | 20 | 24 | 24 | 16 | 24 | 24 | 24 | 8 | 36 | 24 | 16 | 20 | 28 | 12 | 12 | 20 | 20 | 8 | 20 | 4 | 28 | 20 | 20 | 8 | 28 | 32 | 12 | 20
20255.918 | 32 | 16 | 20 | 4 | 16 | 20 | 48 | 5515.9487 | 5851.9521 | 183.9996 | 171351.8438 | 2227.9792 | 1151.9916 | 24 | 255.9994 | 376054.8438 | 499.9981 | 1859.984 | 28 | 911.9942 | 331.999 | 1227.991 | 83.9999 | 859.9948 | 687.996 | 875.9942 | 16 | 20 | 95.9999 | 32 | 75.9999 | 44 | 36 | 443.9981 | 227.9995 | 855.9949 | 75.9999 | 4719.9609 | 231.9995 | 603.9969 | 40 | 1527.9868 | 32 | 28 | 24 | 24 | 20 | 271.9994 | 40 | 95.9999 | 52 | 375.9987 | 36 | 127.9999 | 40 | 28 | 32 | 123.9999 | 28 | 64 | 24 | 52 | 20 | 99.9999 | 12 | 155.9997 | 56 | 443.9983 | 547.9976 | 1891.9832 | 207.9996 | 299.9992 | 99.9999 | 79.9999 | 75.9999 | 83.9999 | 24 | 95.9999 | 24 | 99.9999 | 64 | 219.9995 | 60 | 183.9996 | 915.9943 | 2163.9814 | 3835.9683 | 547.9976 | 131.9998 | 519.998 | 91.9999 | 64 | 60 | 56 | 40 | 28 | 79.9999 | 56 | 567.9973 | 171.9997 | 48 | 111.9999 | 411.9985 | 835.9952 | 1495.9878 | 171.9997 | 40 | 191.9996 | 36 | 16 | 32 | 28 | 36 | 40 | 20 | 12 | 28 | 8 | 16 | 24 | 16 | 75.9999 | 32 | 32 | 24 | 12 | 28 | 20 | 16 | 28 | 24 | 28 | 8 | 40 | 24 | 16 | 12 | 20 | 24 | 12 | 20 | 44 | 12 | 20 | 12 | 16 | 12 | 20 | 4 | 32 | 8 | 8 | 24 | 16 | 8 | 16 | 16 | 16 | 8
19943.9297 | 20 | 24 | 24 | 16 | 12 | 24 | 36 | 5499.9556 | 5767.9526 | 191.9996 | 170331.8281 | 2131.9817 | 1131.9923 | 12 | 167.9997 | 377102.7812 | 519.9978 | 1895.9857 | 28 | 891.9948 | 355.9988 | 1171.9916 | 139.9998 | 831.9952 | 651.9966 | 879.9944 | 36 | 52 | 60 | 64 | 68 | 28 | 52 | 443.9983 | 311.9991 | 839.995 | 83.9999 | 4227.9673 | 223.9995 | 639.9965 | 52 | 1295.9904 | 32 | 60 | 32 | 20 | 36 | 319.999 | 32 | 183.9996 | 28 | 391.9986 | 52 | 107.9999 | 36 | 24 | 24 | 68 | 28 | 131.9998 | 20 | 95.9999 | 16 | 95.9999 | 48 | 95.9999 | 48 | 327.9989 | 491.9982 | 1763.9847 | 175.9997 | 327.9989 | 139.9998 | 91.9999 | 91.9999 | 87.9999 | 16 | 79.9999 | 16 | 99.9999 | 83.9999 | 331.999 | 75.9999 | 211.9996 | 951.9938 | 2075.9822 | 3887.969 | 535.9978 | 107.9999 | 463.9982 | 68 | 48 | 75.9999 | 28 | 28 | 48 | 68 | 87.9999 | 655.9966 | 191.9996 | 95.9999 | 103.9999 | 431.9984 | 839.9946 | 1415.988 | 127.9999 | 52 | 183.9997 | 32 | 20 | 24 | 20 | 16 | 24 | 36 | 24 | 20 | 20 | 4 | 28 | 20 | 40 | 12 | 28 | 44 | 20 | 20 | 20 | 12 | 4 | 20 | 36 | 24 | 28 | 12 | 36 | 12 | 12 | 16 | 12 | 24 | 16 | 4 | 8 | 12 | 24 | 24 | 16 | 36 | 12 | 16 | 36 | 16 | 8 | 4 | 20 | 20 | 20 | 24
21015.9297 | 20 | 16 | 20 | 20 | 24 | 8 | 24 | 5431.9551 | 5851.9512 | 203.9996 | 171239.7969 | 2299.9785 | 1167.9916 | 12 | 211.9996 | 383110.6875 | 599.9974 | 1903.983 | 20 | 875.9944 | 323.999 | 1171.9916 | 119.9999 | 763.9955 | 739.9957 | 819.9951 | 36 | 48 | 52 | 28 | 52 | 36 | 32 | 499.998 | 215.9995 | 727.9954 | 28 | 4251.9653 | 219.9995 | 639.9969 | 68 | 1603.9863 | 32 | 48 | 20 | 20 | 28 | 271.9993 | 48 | 159.9997 | 44 | 355.9989 | 72 | 135.9998 | 44 | 28 | 48 | 119.9999 | 28 | 115.9999 | 20 | 75.9999 | 24 | 115.9999 | 16 | 119.9999 | 163.9997 | 447.9982 | 507.9979 | 1819.9838 | 135.9998 | 315.9991 | 135.9998 | 111.9999 | 95.9999 | 83.9999 | 16 | 52 | 48 | 91.9999 | 83.9999 | 283.9993 | 151.9998 | 211.9995 | 827.9951 | 2195.9812 | 3659.9685 | 527.9979 | 127.9999 | 383.9986 | 68 | 71.9999 | 32 | 32 | 24 | 28 | 75.9999 | 60 | 583.9972 | 155.9998 | 68 | 60 | 363.9987 | 779.9951 | 1383.9894 | 159.9997 | 20 | 159.9998 | 20 | 16 | 20 | 24 | 32 | 40 | 20 | 32 | 16 | 28 | 24 | 28 | 20 | 40 | 20 | 16 | 44 | 20 | 28 | 28 | 32 | 8 | 12 | 4 | 28 | 12 | 24 | 20 | 8 | 8 | 8 | 12 | 12 | 4 | 8 | 16 | 32 | 32 | 8 | 8 | 36 | 12 | 24 | 12 | 20 | 12 | 20 | 8 | 16 | 4 | 20
20483.9219 | 16 | 8 | 20 | 28 | 12 | 24 | 48 | 5279.9541 | 6007.9551 | 203.9996 | 173339.7656 | 2303.9795 | 1211.9907 | 20 | 203.9996 | 383462.7188 | 543.9977 | 2087.9827 | 36 | 895.9947 | 323.999 | 1099.9923 | 147.9998 | 939.9938 | 695.996 | 735.9956 | 44 | 20 | 64 | 32 | 60 | 36 | 52 | 475.9981 | 219.9996 | 895.9946 | 64 | 4327.9629 | 227.9995 | 655.9965 | 64 | 1431.9883 | 36 | 40 | 28 | 24 | 20 | 235.9995 | 60 | 135.9998 | 44 | 371.9987 | 83.9999 | 75.9999 | 48 | 20 | 20 | 159.9998 | 28 | 60 | 24 | 99.9999 | 24 | 107.9999 | 32 | 147.9998 | 79.9999 | 395.9987 | 563.9975 | 1843.9846 | 179.9996 | 355.9988 | 155.9998 | 123.9998 | 131.9998 | 68 | 52 | 91.9999 | 32 | 79.9999 | 40 | 235.9995 | 60 | 223.9995 | 971.9934 | 2139.9812 | 3875.9688 | 455.9982 | 123.9999 | 359.9988 | 48 | 40 | 56 | 75.9999 | 32 | 20 | 56 | 91.9999 | 603.9971 | 151.9998 | 95.9999 | 115.9999 | 375.9987 | 863.9944 | 1359.9875 | 143.9998 | 48 | 187.9996 | 36 | 24 | 24 | 16 | 12 | 48 | 36 | 40 | 8 | 16 | 20 | 36 | 12 | 28 | 28 | 28 | 40 | 20 | 8 | 12 | 20 | 16 | 12 | 28 | 4 | 24 | 16 | 20 | 32 | 24 | 20 | 8 | 20 | 16 | 16 | 8 | 16 | 16 | 16 | 20 | 4 | 16 | 12 | 20 | 8 | 8 | 24 | 12 | 8 | 8 | 24

## Concentration
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0

## Misc
m/z 21.0 | m/z 30.0 | m/z 32.0 | m/z 37.0

## Instrument
Press controller | Flow controller | USO | US | UQL | UNC | Source current | Source state | Inlet temperature | Detection pressure | SEM Voltage | FC add1 | FC add2 | Source Valve
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.1124e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0

## Reaction conditions
Udrift | pdrift | Tdrift | Switch 1 | Switch 2 | Switch 3 | Switch 4 | Switch 5 | Switch 6
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0