## Untitled (root)
Root Name | Title | Author | Date/Time | Groups | Description | End_time | Start_time
Untitled | SCAN data |  |  | 6 | PTR-MS Control 2.7 | 2021-02-23 15:27 | 2021-02-23 15:11
Group | Channels | Description
Time / Cycle | 3
Raw signal intensities | 160
Concentration | 160
Misc | 4
Instrument | 14
Reaction conditions | 9
Time / Cycle
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Cycle number | DT_LONG | cycle | 12 | 1 | 12
Absolute Time | DT_DATE | Date/Time | 12 | 2021-02-23 15:12 | 2021-02-23 15:27
Relative Time | DT_DOUBLE | s | 12 | 80.073 | 960.883
Raw signal intensities
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 12 | 21595.9141 | 22315.9043 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | cps | 12 | 4 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | cps | 12 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | cps | 12 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | cps | 12 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | cps | 12 | 16 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | cps | 12 | 32 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | cps | 12 | 48 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | cps | 12 | 5847.9526 | 7511.9575 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | cps | 12 | 6175.9556 | 7107.9448 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 31.0 | DT_DOUBLE | cps | 12 | 171.9997 | 471.9982 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | cps | 12 | 210758.6875 | 226654.0938 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 33.0 | DT_DOUBLE | cps | 12 | 4567.9634 | 13831.9258 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | cps | 12 | 1359.9891 | 1655.9852 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | cps | 12 | 20 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | cps | 12 | 199.9996 | 307.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | cps | 12 | 510440.625 | 559171.4375 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
m/z 38.0 | DT_DOUBLE | cps | 12 | 759.9957 | 923.9942 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | cps | 12 | 9183.9502 | 36203.9062 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | cps | 12 | 215.9996 | 1327.989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | cps | 12 | 15671.9346 | 104471.3281 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | cps | 12 | 975.9939 | 4211.9658 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | cps | 12 | 4471.9624 | 21027.9375 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | cps | 12 | 239.9995 | 859.9947 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | cps | 12 | 5571.958 | 34931.9023 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | cps | 12 | 1055.9928 | 2191.9814 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | cps | 12 | 2403.9768 | 7215.9512 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | cps | 12 | 75.9999 | 179.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | cps | 12 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | cps | 12 | 64 | 147.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | cps | 12 | 40 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | cps | 12 | 48 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | cps | 12 | 79.9999 | 223.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | cps | 12 | 24 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | cps | 12 | 1711.9851 | 4279.9663 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | cps | 12 | 599.9971 | 1323.9899 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | cps | 12 | 58503.6367 | 192943.1562 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | cps | 12 | 2891.9702 | 9807.9453 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | cps | 12 | 22183.918 | 166891.8594 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | cps | 12 | 1011.9933 | 5983.9517 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | cps | 12 | 1035.9933 | 2271.9802 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | cps | 12 | 75.9999 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | cps | 12 | 1599.9861 | 1887.9829 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | cps | 12 | 36 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | cps | 12 | 79.9999 | 139.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | cps | 12 | 36 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | cps | 12 | 28 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | cps | 12 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | cps | 12 | 267.9994 | 1007.9941 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | cps | 12 | 20 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | cps | 12 | 475.9981 | 1159.9915 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | cps | 12 | 48 | 123.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | cps | 12 | 707.9959 | 3963.9661 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | cps | 12 | 75.9999 | 223.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | cps | 12 | 179.9996 | 431.9984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | cps | 12 | 28 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | cps | 12 | 32 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | cps | 12 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | cps | 12 | 103.9999 | 251.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | cps | 12 | 36 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | cps | 12 | 79.9999 | 147.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | cps | 12 | 12 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | cps | 12 | 435.9983 | 1351.9888 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | cps | 12 | 48 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | cps | 12 | 1067.9932 | 3659.9695 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | cps | 12 | 91.9999 | 283.9992 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | cps | 12 | 171.9997 | 435.9982 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | cps | 12 | 79.9999 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | cps | 12 | 419.9985 | 1131.9918 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | cps | 12 | 351.9988 | 491.998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | cps | 12 | 1475.9886 | 1791.9847 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | cps | 12 | 127.9999 | 227.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | cps | 12 | 211.9996 | 351.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | cps | 12 | 91.9999 | 239.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | cps | 12 | 107.9999 | 159.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | cps | 12 | 151.9998 | 271.9993 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | cps | 12 | 79.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | cps | 12 | 40 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | cps | 12 | 127.9998 | 339.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | cps | 12 | 20 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | cps | 12 | 199.9996 | 591.9973 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | cps | 12 | 48 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | cps | 12 | 239.9994 | 391.9986 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | cps | 12 | 64 | 151.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | cps | 12 | 239.9995 | 395.9986 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | cps | 12 | 835.9951 | 1067.993 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | cps | 12 | 2139.9807 | 2427.9771 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | cps | 12 | 3403.97 | 3895.9683 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | cps | 12 | 467.9981 | 675.9966 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | cps | 12 | 75.9999 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | cps | 12 | 87.9999 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | cps | 12 | 44 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | cps | 12 | 75.9999 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | cps | 12 | 48 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | cps | 12 | 40 | 191.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | cps | 12 | 20 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | cps | 12 | 36 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | cps | 12 | 32 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | cps | 12 | 64 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | cps | 12 | 411.9983 | 595.9969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | cps | 12 | 99.9999 | 183.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | cps | 12 | 52 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | cps | 12 | 103.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | cps | 12 | 443.9985 | 671.9964 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | cps | 12 | 935.994 | 1191.9913 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | cps | 12 | 1583.9866 | 1911.984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | cps | 12 | 99.9999 | 247.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | cps | 12 | 28 | 95.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | cps | 12 | 48 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | cps | 12 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | cps | 12 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | cps | 12 | 8 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | cps | 12 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | cps | 12 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | cps | 12 | 36 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | cps | 12 | 8 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | cps | 12 | 4 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | cps | 12 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | cps | 12 | 20 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | cps | 12 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | cps | 12 | 16 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | cps | 12 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | cps | 12 | 40 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | cps | 12 | 20 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | cps | 12 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | cps | 12 | 32 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | cps | 12 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | cps | 12 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | cps | 12 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | cps | 12 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | cps | 12 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | cps | 12 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | cps | 12 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | cps | 12 | 8 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | cps | 12 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | cps | 12 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | cps | 12 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | cps | 12 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | cps | 12 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | cps | 12 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | cps | 12 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | cps | 12 | 8 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | cps | 12 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | cps | 12 | 20 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | cps | 12 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | cps | 12 | 8 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | cps | 12 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | cps | 12 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | cps | 12 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | cps | 12 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | cps | 12 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | cps | 12 | 4 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | cps | 12 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | cps | 12 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | cps | 12 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | cps | 12 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | cps | 12 | 0 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | cps | 12 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | cps | 12 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | cps | 12 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Concentration
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 30
m/z 31.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 32
m/z 33.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 37
m/z 38.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Misc
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 30.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 32.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 37.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
Instrument
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Press controller | DT_DOUBLE | mbar | 12 | 412 | 413
Flow controller | DT_DOUBLE | sccm | 12 | 6.3721 | 6.3867
USO | DT_DOUBLE | V | 12 | 0 | 0
US | DT_DOUBLE | V | 12 | 0 | 0
UQL | DT_DOUBLE | V | 12 | 0 | 0
UNC | DT_DOUBLE | V | 12 | 0 | 0
Source current | DT_DOUBLE | mA | 12 | 0 | 0
Source state | DT_STRING | on/off | 12
Inlet temperature | DT_DOUBLE | °C | 12 | 0 | 0
Detection pressure | DT_DOUBLE | mbar | 12 | 1.0913e-05 | 1.0913e-05
SEM Voltage | DT_LONG | V | 12 | 2360 | 2360
FC add1 | DT_DOUBLE | sccm | 12 | 0 | 0
FC add2 | DT_DOUBLE | sccm | 12 | 0 | 0
Source Valve | DT_DOUBLE | % | 12 | 0 | 0
Reaction conditions
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Udrift | DT_DOUBLE | V | 12 | 590.625 | 591.0156
pdrift | DT_DOUBLE | mbar | 12 | 2.1562 | 2.1625
Tdrift | DT_DOUBLE | °C | 12 | 60 | 60
Switch 1 | DT_SHORT | on/off | 12 | 0 | 0
Switch 2 | DT_SHORT | on/off | 12 | 0 | 0
Switch 3 | DT_SHORT | on/off | 12 | 0 | 0
Switch 4 | DT_SHORT | on/off | 12 | 0 | 0
Switch 5 | DT_SHORT | on/off | 12 | 0 | 0
Switch 6 | DT_SHORT | on/off | 12 | 0 | 0

## Time Cycle
Cycle number | Absolute Time | Relative Time
1 | 2021-02-23 15:12 | 80.073
2 | 2021-02-23 15:14 | 160.146
3 | 2021-02-23 15:15 | 240.219
4 | 2021-02-23 15:16 | 320.293
5 | 2021-02-23 15:18 | 400.366
6 | 2021-02-23 15:19 | 480.442
7 | 2021-02-23 15:20 | 560.515
8 | 2021-02-23 15:22 | 640.589
9 | 2021-02-23 15:23 | 720.663
10 | 2021-02-23 15:24 | 800.736
11 | 2021-02-23 15:26 | 880.809
12 | 2021-02-23 15:27 | 960.883

## Raw signal intensities
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0
22095.9102 | 12 | 8 | 24 | 28 | 20 | 131.9998 | 68 | 7511.9575 | 6531.9517 | 471.9982 | 223490.375 | 13831.9258 | 1519.9874 | 36 | 271.9993 | 559171.4375 | 847.9949 | 36203.9062 | 1327.989 | 104471.3281 | 4211.9658 | 21027.9375 | 859.9947 | 34931.9023 | 2191.9814 | 7215.9512 | 163.9997 | 40 | 64 | 111.9999 | 103.9999 | 203.9996 | 83.9999 | 4279.9663 | 1323.9899 | 192943.1562 | 9807.9453 | 166891.8594 | 5983.9517 | 2271.9802 | 119.9999 | 1623.9851 | 36 | 111.9999 | 48 | 95.9999 | 32 | 1007.9941 | 95.9999 | 1159.9915 | 64 | 3963.9661 | 223.9995 | 431.9984 | 64 | 87.9999 | 20 | 251.9994 | 52 | 111.9999 | 36 | 1351.9888 | 167.9997 | 3659.9695 | 283.9992 | 435.9982 | 79.9999 | 1131.9918 | 351.9988 | 1659.986 | 127.9999 | 267.9993 | 91.9999 | 143.9998 | 203.9996 | 167.9997 | 83.9999 | 299.9991 | 52 | 591.9973 | 87.9999 | 391.9986 | 143.9998 | 395.9986 | 935.9939 | 2359.979 | 3463.9705 | 539.9977 | 95.9999 | 127.9998 | 48 | 195.9996 | 87.9999 | 191.9996 | 24 | 83.9999 | 64 | 83.9999 | 587.997 | 147.9998 | 119.9999 | 167.9997 | 599.997 | 1083.9927 | 1615.9862 | 247.9995 | 95.9999 | 95.9999 | 28 | 32 | 40 | 36 | 28 | 68 | 48 | 32 | 24 | 24 | 28 | 20 | 12 | 119.9999 | 28 | 28 | 64 | 40 | 36 | 44 | 16 | 20 | 20 | 28 | 44 | 28 | 24 | 24 | 24 | 32 | 20 | 20 | 28 | 48 | 28 | 12 | 28 | 20 | 24 | 40 | 12 | 24 | 8 | 20 | 36 | 40 | 12 | 28 | 40 | 12 | 20
22131.9141 | 44 | 20 | 24 | 4 | 40 | 155.9998 | 95.9999 | 6907.9546 | 6691.9551 | 403.9984 | 226654.0938 | 9727.9355 | 1551.986 | 56 | 259.9994 | 540110.875 | 847.9944 | 22231.9121 | 887.995 | 61999.6758 | 3171.9692 | 15103.9336 | 587.9972 | 21235.9219 | 1775.9845 | 6087.9546 | 179.9996 | 32 | 95.9999 | 115.9999 | 83.9999 | 223.9995 | 75.9999 | 3899.968 | 1243.9899 | 164155.9375 | 7931.9546 | 127335.2734 | 4119.9668 | 1767.9846 | 99.9999 | 1795.9841 | 52 | 87.9999 | 68 | 115.9999 | 52 | 571.9975 | 56 | 763.9954 | 123.9999 | 2111.9819 | 195.9996 | 327.999 | 32 | 60 | 44 | 155.9997 | 40 | 119.9999 | 32 | 1115.9923 | 147.9998 | 3399.9712 | 215.9995 | 407.9984 | 131.9998 | 1059.9932 | 455.9983 | 1523.9871 | 183.9997 | 351.9989 | 139.9998 | 147.9998 | 271.9993 | 107.9999 | 103.9999 | 339.9989 | 60 | 511.9977 | 115.9999 | 335.999 | 119.9999 | 319.9991 | 871.9946 | 2231.9802 | 3403.97 | 571.9974 | 95.9999 | 135.9998 | 56 | 179.9996 | 115.9999 | 131.9998 | 32 | 68 | 44 | 79.9999 | 535.9977 | 135.9998 | 99.9999 | 103.9999 | 567.9976 | 1055.993 | 1619.9862 | 195.9996 | 72 | 95.9999 | 16 | 28 | 56 | 48 | 32 | 72 | 36 | 12 | 28 | 36 | 44 | 40 | 28 | 68 | 20 | 28 | 56 | 36 | 36 | 52 | 28 | 24 | 28 | 28 | 12 | 48 | 32 | 28 | 24 | 28 | 48 | 36 | 16 | 40 | 36 | 32 | 12 | 28 | 32 | 28 | 8 | 4 | 32 | 24 | 32 | 32 | 24 | 36 | 28 | 20 | 32
22315.9043 | 44 | 24 | 4 | 20 | 64 | 75.9999 | 72 | 6807.9492 | 6175.9556 | 315.9991 | 223794.125 | 8227.9561 | 1415.9889 | 44 | 283.9993 | 530570.4375 | 795.9951 | 22503.9199 | 699.996 | 47151.8594 | 2363.9792 | 13171.9268 | 531.9978 | 18143.9355 | 1555.9871 | 4663.9619 | 163.9997 | 20 | 147.9998 | 75.9999 | 103.9999 | 107.9999 | 56 | 3875.967 | 1279.9905 | 185511.4844 | 8663.9473 | 99911.5391 | 3411.9695 | 1427.9874 | 79.9999 | 1739.9852 | 68 | 139.9998 | 44 | 44 | 36 | 439.9982 | 75.9999 | 631.9968 | 52 | 1787.986 | 171.9997 | 287.9991 | 52 | 68 | 20 | 163.9997 | 48 | 135.9998 | 72 | 867.9945 | 95.9999 | 2403.9785 | 199.9996 | 267.9993 | 115.9999 | 663.9963 | 391.9986 | 1475.9886 | 139.9998 | 243.9994 | 163.9998 | 127.9999 | 195.9996 | 147.9998 | 71.9999 | 303.9991 | 32 | 419.9984 | 99.9999 | 243.9994 | 119.9999 | 315.999 | 835.9951 | 2415.9768 | 3711.9695 | 571.9975 | 111.9999 | 103.9999 | 64 | 159.9997 | 91.9999 | 131.9998 | 36 | 48 | 83.9999 | 75.9999 | 547.9976 | 159.9997 | 83.9999 | 115.9999 | 543.9975 | 1143.9917 | 1583.9866 | 203.9996 | 56 | 75.9999 | 16 | 28 | 44 | 32 | 28 | 64 | 20 | 24 | 32 | 60 | 16 | 40 | 24 | 71.9999 | 28 | 32 | 52 | 40 | 16 | 12 | 12 | 32 | 20 | 28 | 16 | 20 | 16 | 32 | 20 | 8 | 36 | 20 | 20 | 28 | 24 | 24 | 28 | 16 | 24 | 24 | 12 | 12 | 12 | 20 | 20 | 20 | 36 | 16 | 20 | 32 | 16
21983.9277 | 40 | 48 | 16 | 16 | 24 | 91.9999 | 119.9999 | 6579.9492 | 6843.9541 | 291.9992 | 223862.1719 | 8107.9507 | 1531.9873 | 52 | 287.9992 | 558359.5 | 899.9943 | 24939.8906 | 599.9968 | 37071.9258 | 1827.9844 | 10287.9453 | 519.9979 | 15515.9297 | 1511.9867 | 4743.959 | 151.9998 | 20 | 75.9999 | 91.9999 | 87.9999 | 127.9999 | 24 | 2495.9778 | 907.9943 | 121919.2578 | 5759.9561 | 62067.6367 | 2111.9812 | 1367.9882 | 87.9999 | 1691.9857 | 56 | 87.9999 | 75.9999 | 48 | 28 | 515.998 | 20 | 739.9957 | 75.9999 | 1847.984 | 167.9997 | 311.9991 | 60 | 68 | 32 | 159.9998 | 36 | 83.9999 | 20 | 815.9947 | 95.9999 | 2295.9797 | 163.9997 | 307.9991 | 99.9999 | 495.9981 | 399.9986 | 1543.9862 | 175.9996 | 235.9995 | 183.9996 | 123.9999 | 255.9994 | 131.9998 | 48 | 259.9994 | 40 | 431.9982 | 83.9999 | 319.999 | 135.9998 | 283.9992 | 943.9942 | 2143.9822 | 3619.9666 | 467.9981 | 115.9999 | 115.9999 | 72 | 135.9998 | 72 | 99.9999 | 36 | 48 | 52 | 111.9999 | 515.9979 | 147.9998 | 87.9999 | 147.9998 | 575.9974 | 1031.9933 | 1651.9865 | 183.9996 | 36 | 75.9999 | 28 | 28 | 48 | 16 | 32 | 71.9999 | 8 | 20 | 28 | 40 | 24 | 16 | 24 | 56 | 36 | 32 | 44 | 20 | 24 | 16 | 20 | 16 | 32 | 48 | 40 | 28 | 24 | 28 | 20 | 8 | 24 | 4 | 28 | 28 | 32 | 20 | 20 | 28 | 24 | 16 | 20 | 20 | 32 | 40 | 4 | 24 | 20 | 16 | 32 | 8 | 8
22067.916 | 32 | 16 | 40 | 16 | 44 | 79.9999 | 83.9999 | 6479.9512 | 6719.9512 | 307.9991 | 221358.2188 | 6663.9526 | 1431.9882 | 40 | 295.9992 | 521933.5938 | 759.9957 | 18851.918 | 531.9978 | 34807.8984 | 1631.9852 | 7275.9492 | 383.9987 | 9463.9482 | 1375.9885 | 4283.9634 | 159.9998 | 28 | 87.9999 | 119.9999 | 79.9999 | 119.9999 | 79.9999 | 2627.9744 | 955.9943 | 139847.7188 | 7915.9551 | 90103.7969 | 2715.9734 | 1403.9882 | 83.9999 | 1627.9862 | 79.9999 | 107.9999 | 36 | 75.9999 | 44 | 491.9982 | 68 | 539.9978 | 60 | 1063.9926 | 103.9999 | 255.9994 | 36 | 40 | 32 | 171.9997 | 76 | 131.9998 | 20 | 667.9965 | 75.9999 | 1775.9861 | 143.9998 | 279.9993 | 95.9999 | 455.9982 | 415.9985 | 1679.9855 | 207.9996 | 215.9995 | 107.9999 | 139.9998 | 151.9998 | 79.9999 | 52 | 187.9997 | 32 | 331.9989 | 103.9999 | 275.9993 | 131.9998 | 311.9992 | 1067.993 | 2139.9807 | 3611.97 | 499.998 | 99.9999 | 115.9999 | 64 | 159.9998 | 68 | 107.9999 | 24 | 56 | 32 | 75.9999 | 587.9971 | 159.9997 | 60 | 155.9998 | 571.9975 | 1111.9918 | 1663.9856 | 191.9996 | 68 | 52 | 40 | 48 | 8 | 32 | 24 | 48 | 40 | 52 | 28 | 24 | 12 | 28 | 16 | 48 | 40 | 20 | 71.9999 | 20 | 36 | 24 | 20 | 24 | 28 | 48 | 8 | 28 | 20 | 52 | 24 | 32 | 8 | 12 | 24 | 28 | 28 | 28 | 28 | 32 | 36 | 28 | 20 | 20 | 20 | 12 | 24 | 20 | 20 | 16 | 20 | 4 | 40
21827.9238 | 12 | 28 | 16 | 12 | 36 | 115.9999 | 71.9999 | 6783.9541 | 6783.9507 | 275.9992 | 217410.4844 | 9555.9395 | 1579.9862 | 48 | 307.9991 | 547715 | 871.9947 | 16691.9434 | 483.9981 | 31411.8867 | 1679.9856 | 7051.9604 | 407.9985 | 11291.9365 | 1427.9885 | 4299.9678 | 179.9997 | 32 | 111.9999 | 79.9999 | 64 | 111.9999 | 52 | 3091.9731 | 1111.9924 | 147907.8281 | 6175.9507 | 62855.7148 | 2123.9829 | 1343.989 | 87.9999 | 1599.9861 | 36 | 79.9999 | 40 | 56 | 24 | 395.9985 | 87.9999 | 575.9973 | 71.9999 | 1167.9923 | 103.9999 | 243.9994 | 28 | 56 | 52 | 135.9998 | 44 | 143.9998 | 12 | 655.9967 | 68 | 1867.9851 | 191.9996 | 219.9995 | 87.9999 | 583.9973 | 435.9984 | 1579.9874 | 215.9995 | 275.9992 | 135.9998 | 147.9998 | 183.9996 | 123.9999 | 83.9999 | 131.9999 | 40 | 255.9995 | 60 | 239.9994 | 95.9999 | 279.9993 | 895.9942 | 2331.9795 | 3735.969 | 571.9976 | 107.9999 | 119.9999 | 68 | 143.9998 | 64 | 87.9999 | 20 | 44 | 64 | 131.9998 | 411.9983 | 147.9998 | 75.9999 | 163.9997 | 547.9976 | 1059.993 | 1823.9841 | 159.9998 | 44 | 103.9999 | 44 | 52 | 36 | 36 | 36 | 79.9999 | 20 | 24 | 20 | 56 | 36 | 32 | 28 | 56 | 28 | 44 | 44 | 32 | 44 | 20 | 16 | 36 | 24 | 16 | 44 | 36 | 16 | 48 | 28 | 20 | 16 | 20 | 20 | 36 | 36 | 36 | 20 | 36 | 24 | 28 | 36 | 36 | 52 | 12 | 28 | 24 | 24 | 12 | 4 | 20 | 20
22023.9297 | 32 | 20 | 24 | 40 | 32 | 99.9999 | 68 | 6347.9473 | 6831.9448 | 259.9995 | 220094.2969 | 6175.9517 | 1655.9852 | 56 | 299.9991 | 521905.5938 | 867.9945 | 16183.9424 | 527.9977 | 39291.9062 | 1979.9836 | 11279.9424 | 463.9981 | 10167.9453 | 1283.9895 | 3343.9702 | 159.9998 | 32 | 111.9999 | 75.9999 | 71.9999 | 127.9998 | 48 | 2127.9819 | 791.9953 | 99659.5859 | 4427.9614 | 36931.9219 | 1311.9893 | 1079.9927 | 79.9999 | 1819.9838 | 68 | 103.9999 | 48 | 40 | 16 | 423.9984 | 68 | 615.9969 | 83.9999 | 1491.9875 | 131.9998 | 279.9992 | 36 | 60 | 16 | 163.9997 | 48 | 119.9999 | 40 | 479.9981 | 103.9999 | 1375.9882 | 119.9999 | 299.9992 | 119.9999 | 615.9968 | 491.998 | 1743.985 | 227.9995 | 219.9995 | 131.9998 | 155.9998 | 191.9996 | 103.9999 | 83.9999 | 143.9998 | 32 | 251.9994 | 79.9999 | 251.9994 | 99.9999 | 251.9995 | 927.9942 | 2395.9768 | 3795.9683 | 587.9972 | 75.9999 | 103.9999 | 56 | 139.9998 | 103.9999 | 95.9999 | 60 | 36 | 56 | 95.9999 | 571.9972 | 159.9997 | 64 | 159.9997 | 587.9973 | 935.994 | 1911.984 | 155.9997 | 52 | 68 | 16 | 48 | 24 | 28 | 32 | 79.9999 | 48 | 24 | 44 | 40 | 16 | 28 | 24 | 75.9999 | 24 | 28 | 32 | 16 | 24 | 24 | 16 | 28 | 20 | 32 | 20 | 48 | 28 | 16 | 32 | 12 | 20 | 12 | 28 | 28 | 36 | 16 | 16 | 24 | 16 | 40 | 8 | 24 | 20 | 28 | 20 | 4 | 12 | 8 | 12 | 16 | 20
22191.918 | 24 | 28 | 32 | 24 | 28 | 44 | 71.9999 | 6135.9517 | 6591.9497 | 171.9997 | 216374.4219 | 5283.9585 | 1371.9883 | 28 | 271.9994 | 514993 | 867.9941 | 12539.9238 | 347.9987 | 30239.8672 | 1595.9874 | 8451.9473 | 415.9985 | 9139.9502 | 1343.9894 | 3571.9688 | 111.9999 | 44 | 95.9999 | 60 | 95.9999 | 79.9999 | 64 | 2031.9819 | 675.9965 | 98631.5156 | 4299.9644 | 39039.9414 | 1479.9868 | 1251.99 | 83.9999 | 1887.9829 | 87.9999 | 107.9999 | 40 | 28 | 12 | 367.9988 | 52 | 579.9971 | 64 | 1223.9902 | 83.9999 | 247.9995 | 52 | 52 | 24 | 127.9998 | 56 | 79.9999 | 52 | 463.9983 | 79.9999 | 1479.9872 | 119.9999 | 207.9996 | 83.9999 | 523.998 | 471.9981 | 1791.9847 | 187.9996 | 211.9996 | 159.9997 | 123.9999 | 163.9997 | 107.9999 | 52 | 175.9997 | 48 | 243.9995 | 48 | 307.9991 | 151.9998 | 287.9993 | 899.9941 | 2183.981 | 3743.9702 | 575.9974 | 107.9999 | 143.9998 | 44 | 143.9998 | 83.9999 | 103.9999 | 28 | 68 | 64 | 119.9999 | 591.9971 | 167.9997 | 52 | 115.9999 | 559.9974 | 1171.9915 | 1751.9852 | 139.9998 | 28 | 95.9999 | 16 | 20 | 40 | 32 | 32 | 48 | 20 | 32 | 32 | 20 | 24 | 28 | 52 | 60 | 48 | 36 | 40 | 32 | 40 | 28 | 32 | 12 | 20 | 24 | 12 | 24 | 20 | 16 | 12 | 36 | 8 | 36 | 16 | 28 | 28 | 24 | 28 | 28 | 20 | 28 | 48 | 32 | 20 | 16 | 24 | 28 | 28 | 20 | 16 | 24 | 48
21863.9238 | 28 | 16 | 12 | 28 | 28 | 32 | 71.9999 | 6203.9517 | 7107.9448 | 199.9996 | 215238.5781 | 5363.9575 | 1611.9868 | 20 | 295.9992 | 528977.875 | 811.9951 | 12639.9336 | 371.9988 | 22603.9082 | 1143.9916 | 6007.9517 | 331.999 | 7771.9424 | 1171.991 | 3115.9731 | 119.9999 | 20 | 103.9999 | 91.9999 | 83.9999 | 143.9998 | 40 | 2103.9819 | 703.9958 | 84375.9297 | 3675.9692 | 28543.8496 | 1243.9907 | 1187.9908 | 79.9999 | 1847.9836 | 52 | 79.9999 | 64 | 68 | 20 | 407.9984 | 56 | 587.9969 | 56 | 931.994 | 75.9999 | 207.9995 | 40 | 60 | 28 | 103.9999 | 79.9999 | 99.9999 | 44 | 535.9977 | 48 | 1395.9893 | 131.9998 | 207.9995 | 83.9999 | 515.998 | 483.998 | 1775.9845 | 131.9998 | 291.9991 | 219.9995 | 159.9997 | 171.9997 | 87.9999 | 44 | 163.9997 | 20 | 199.9996 | 107.9999 | 287.9993 | 95.9999 | 259.9994 | 947.9945 | 2303.9785 | 3839.9688 | 627.9966 | 99.9999 | 95.9999 | 60 | 111.9999 | 68 | 87.9999 | 48 | 72 | 36 | 83.9999 | 591.9971 | 179.9997 | 107.9999 | 139.9998 | 443.9985 | 1119.9924 | 1735.985 | 115.9999 | 56 | 87.9999 | 32 | 32 | 24 | 32 | 32 | 103.9999 | 28 | 24 | 20 | 20 | 12 | 28 | 24 | 44 | 24 | 12 | 44 | 20 | 40 | 28 | 24 | 20 | 16 | 32 | 36 | 28 | 24 | 24 | 24 | 8 | 36 | 12 | 56 | 52 | 20 | 24 | 28 | 8 | 36 | 44 | 20 | 28 | 12 | 20 | 20 | 12 | 20 | 28 | 12 | 40 | 12
21767.9102 | 40 | 16 | 20 | 20 | 20 | 60 | 48 | 5847.9526 | 6207.9541 | 311.9991 | 215006.5781 | 4567.9634 | 1359.9891 | 24 | 283.9993 | 510440.625 | 775.9954 | 9183.9502 | 259.9994 | 16187.9404 | 975.9939 | 4471.9624 | 239.9995 | 5571.958 | 1055.9928 | 2403.9768 | 131.9998 | 12 | 91.9999 | 71.9999 | 79.9999 | 83.9999 | 44 | 1711.9851 | 599.9971 | 58503.6367 | 2955.9707 | 27107.8555 | 1107.9929 | 1035.9933 | 75.9999 | 1771.9845 | 56 | 107.9999 | 44 | 52 | 40 | 455.9982 | 68 | 627.9967 | 68 | 959.9936 | 79.9999 | 287.9992 | 36 | 48 | 28 | 155.9998 | 36 | 87.9999 | 20 | 511.9979 | 56 | 1431.9884 | 135.9998 | 171.9997 | 91.9999 | 471.9982 | 483.9979 | 1599.9861 | 143.9998 | 251.9994 | 239.9994 | 155.9998 | 191.9996 | 131.9998 | 56 | 127.9998 | 20 | 235.9995 | 64 | 303.9991 | 147.9998 | 239.9995 | 871.9947 | 2143.9822 | 3655.9688 | 675.9966 | 99.9999 | 163.9997 | 48 | 107.9999 | 68 | 87.9999 | 36 | 48 | 68 | 68 | 579.9974 | 147.9998 | 56 | 103.9999 | 471.9981 | 1131.9918 | 1763.9849 | 119.9999 | 83.9999 | 75.9999 | 32 | 20 | 28 | 28 | 28 | 36 | 32 | 24 | 28 | 36 | 28 | 20 | 28 | 48 | 20 | 12 | 32 | 12 | 28 | 36 | 8 | 8 | 24 | 24 | 8 | 16 | 8 | 28 | 16 | 32 | 8 | 32 | 8 | 52 | 32 | 32 | 16 | 12 | 12 | 16 | 16 | 36 | 16 | 32 | 28 | 28 | 24 | 24 | 16 | 12 | 20
21595.9141 | 44 | 24 | 24 | 24 | 16 | 52 | 68 | 6351.9546 | 6719.9526 | 207.9996 | 211558.6562 | 5683.9551 | 1383.9882 | 40 | 207.9996 | 516293.25 | 803.9954 | 9299.9443 | 215.9996 | 15671.9346 | 999.9935 | 4495.9619 | 259.9994 | 6215.9541 | 1299.99 | 2991.9719 | 103.9999 | 24 | 95.9999 | 71.9999 | 71.9999 | 83.9999 | 68 | 1863.9841 | 619.997 | 66159.7578 | 2891.9702 | 22183.918 | 1011.9933 | 1163.9912 | 91.9999 | 1655.9871 | 48 | 79.9999 | 40 | 60 | 20 | 379.9987 | 60 | 579.9973 | 79.9999 | 899.9945 | 95.9999 | 255.9994 | 36 | 32 | 40 | 171.9997 | 72 | 91.9999 | 32 | 435.9983 | 52 | 1067.9932 | 91.9999 | 211.9995 | 127.9998 | 503.9979 | 431.9983 | 1671.9862 | 175.9997 | 263.9994 | 143.9998 | 107.9999 | 235.9994 | 103.9999 | 48 | 187.9996 | 24 | 315.999 | 115.9999 | 243.9995 | 64 | 259.9994 | 871.9941 | 2175.981 | 3847.967 | 583.9974 | 119.9999 | 119.9999 | 60 | 83.9999 | 48 | 87.9999 | 36 | 52 | 52 | 103.9999 | 595.9969 | 99.9999 | 99.9999 | 143.9998 | 519.9981 | 1191.9913 | 1695.9845 | 135.9998 | 52 | 83.9999 | 36 | 24 | 60 | 20 | 28 | 71.9999 | 32 | 20 | 16 | 56 | 16 | 28 | 28 | 52 | 44 | 32 | 48 | 44 | 16 | 28 | 32 | 16 | 24 | 20 | 12 | 36 | 28 | 32 | 44 | 8 | 24 | 20 | 16 | 12 | 32 | 8 | 16 | 16 | 8 | 40 | 32 | 28 | 4 | 16 | 12 | 16 | 16 | 0 | 20 | 4 | 36
21931.918 | 4 | 16 | 20 | 12 | 24 | 75.9999 | 60 | 6271.9497 | 6523.9507 | 235.9995 | 210758.6875 | 6263.9541 | 1487.9877 | 52 | 199.9996 | 557723.5 | 923.9942 | 15539.9336 | 427.9984 | 26231.8633 | 1495.9875 | 7131.9438 | 379.9987 | 7747.9497 | 1271.9897 | 3175.9688 | 75.9999 | 44 | 147.9998 | 40 | 48 | 123.9998 | 40 | 1863.9829 | 655.9964 | 85015.8906 | 4027.9688 | 31851.8711 | 1207.9911 | 1227.9901 | 75.9999 | 1727.9855 | 48 | 79.9999 | 48 | 32 | 40 | 267.9994 | 71.9999 | 475.9981 | 48 | 707.9959 | 99.9999 | 179.9996 | 40 | 40 | 52 | 139.9998 | 56 | 147.9998 | 20 | 519.998 | 68 | 1307.9893 | 159.9997 | 219.9995 | 99.9999 | 419.9985 | 379.9988 | 1747.985 | 131.9998 | 243.9994 | 179.9996 | 127.9999 | 179.9996 | 99.9999 | 40 | 183.9997 | 40 | 259.9994 | 95.9999 | 327.999 | 111.9999 | 279.9992 | 931.994 | 2427.9771 | 3895.9683 | 623.9969 | 115.9999 | 87.9999 | 48 | 75.9999 | 64 | 40 | 52 | 36 | 48 | 64 | 591.9972 | 183.9997 | 95.9999 | 135.9998 | 671.9964 | 1039.9928 | 1707.9847 | 99.9999 | 60 | 48 | 16 | 20 | 36 | 36 | 8 | 48 | 52 | 4 | 28 | 36 | 20 | 28 | 36 | 40 | 36 | 44 | 48 | 44 | 16 | 32 | 28 | 32 | 44 | 24 | 20 | 36 | 12 | 36 | 32 | 8 | 24 | 12 | 16 | 16 | 20 | 24 | 8 | 20 | 16 | 24 | 20 | 12 | 28 | 20 | 32 | 12 | 4 | 28 | 28 | 24 | 24

## Concentration
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0

## Misc
m/z 21.0 | m/z 30.0 | m/z 32.0 | m/z 37.0

## Instrument
Press controller | Flow controller | USO | US | UQL | UNC | Source current | Source state | Inlet temperature | Detection pressure | SEM Voltage | FC add1 | FC add2 | Source Valve
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3721 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3721 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0

## Reaction conditions
Udrift | pdrift | Tdrift | Switch 1 | Switch 2 | Switch 3 | Switch 4 | Switch 5 | Switch 6
591.0156 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1562 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0