## Untitled (root)
Root Name | Title | Author | Date/Time | Groups | Description | End_time | Start_time
Untitled | SCAN data |  |  | 6 | PTR-MS Control 2.7 | 2021-02-23 15:07 | 2021-02-23 14:53
Group | Channels | Description
Time / Cycle | 3
Raw signal intensities | 160
Concentration | 160
Misc | 4
Instrument | 14
Reaction conditions | 9
Time / Cycle
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Cycle number | DT_LONG | cycle | 11 | 1 | 11
Absolute Time | DT_DATE | Date/Time | 11 | 2021-02-23 14:54 | 2021-02-23 15:07
Relative Time | DT_DOUBLE | s | 11 | 80.073 | 880.806
Raw signal intensities
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 11 | 22899.8926 | 24843.8691 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | cps | 11 | 24 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | cps | 11 | 20 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | cps | 11 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | cps | 11 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | cps | 11 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | cps | 11 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | cps | 11 | 40 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | cps | 11 | 5887.9541 | 6419.9502 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | cps | 11 | 6439.957 | 7283.9517 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 31.0 | DT_DOUBLE | cps | 11 | 143.9998 | 227.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | cps | 11 | 246106.2031 | 301743.9062 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 33.0 | DT_DOUBLE | cps | 11 | 2067.9824 | 2447.9783 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | cps | 11 | 1483.9878 | 1931.9843 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | cps | 11 | 16 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | cps | 11 | 251.9994 | 435.9984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | cps | 11 | 456700.25 | 496387.9375 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
m/z 38.0 | DT_DOUBLE | cps | 11 | 647.9966 | 859.9947 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | cps | 11 | 2019.9832 | 2415.9775 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | cps | 11 | 20 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | cps | 11 | 383.9987 | 515.9979 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | cps | 11 | 323.999 | 519.9978 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | cps | 11 | 627.9968 | 915.994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | cps | 11 | 155.9998 | 239.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | cps | 11 | 739.9957 | 967.994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | cps | 11 | 951.9942 | 1259.9896 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | cps | 11 | 843.9944 | 1159.9918 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | cps | 11 | 36 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | cps | 11 | 24 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | cps | 11 | 79.9999 | 179.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | cps | 11 | 28 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | cps | 11 | 60 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | cps | 11 | 4 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | cps | 11 | 28 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | cps | 11 | 443.9984 | 663.9965 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | cps | 11 | 159.9997 | 331.9989 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | cps | 11 | 511.998 | 755.9956 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | cps | 11 | 16 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | cps | 11 | 1931.9846 | 2419.9768 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | cps | 11 | 119.9999 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | cps | 11 | 527.9977 | 855.9946 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | cps | 11 | 64 | 111.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | cps | 11 | 1779.9854 | 2195.9805 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | cps | 11 | 56 | 107.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | cps | 11 | 44 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | cps | 11 | 20 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | cps | 11 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | cps | 11 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | cps | 11 | 68 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | cps | 11 | 24 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | cps | 11 | 115.9999 | 223.9995 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | cps | 11 | 12 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | cps | 11 | 167.9997 | 311.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | cps | 11 | 52 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | cps | 11 | 83.9999 | 127.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | cps | 11 | 20 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | cps | 11 | 16 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | cps | 11 | 20 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | cps | 11 | 91.9999 | 151.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | cps | 11 | 32 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | cps | 11 | 64 | 123.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | cps | 11 | 16 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | cps | 11 | 40 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | cps | 11 | 24 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | cps | 11 | 91.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | cps | 11 | 16 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | cps | 11 | 91.9999 | 155.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | cps | 11 | 71.9999 | 107.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | cps | 11 | 143.9998 | 263.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | cps | 11 | 291.9992 | 467.9982 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | cps | 11 | 1219.99 | 1467.9878 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | cps | 11 | 103.9999 | 191.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | cps | 11 | 131.9998 | 207.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | cps | 11 | 48 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | cps | 11 | 68 | 123.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | cps | 11 | 203.9996 | 275.9993 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | cps | 11 | 56 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | cps | 11 | 28 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | cps | 11 | 68 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | cps | 11 | 36 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | cps | 11 | 68 | 143.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | cps | 11 | 40 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | cps | 11 | 179.9997 | 307.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | cps | 11 | 71.9999 | 143.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | cps | 11 | 175.9997 | 247.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | cps | 11 | 819.9951 | 1023.9932 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | cps | 11 | 1743.9854 | 2111.9822 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | cps | 11 | 2779.9736 | 3611.9685 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | cps | 11 | 363.9988 | 447.9983 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | cps | 11 | 64 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | cps | 11 | 40 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | cps | 11 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | cps | 11 | 24 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | cps | 11 | 52 | 139.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | cps | 11 | 24 | 72 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | cps | 11 | 16 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | cps | 11 | 28 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | cps | 11 | 40 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | cps | 11 | 71.9999 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | cps | 11 | 331.9989 | 479.998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | cps | 11 | 83.9999 | 151.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | cps | 11 | 40 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | cps | 11 | 71.9999 | 139.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | cps | 11 | 391.9985 | 551.9976 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | cps | 11 | 715.9957 | 979.9937 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | cps | 11 | 1095.9928 | 1391.9888 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | cps | 11 | 56 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | cps | 11 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | cps | 11 | 20 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | cps | 11 | 4 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | cps | 11 | 20 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | cps | 11 | 24 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | cps | 11 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | cps | 11 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | cps | 11 | 36 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | cps | 11 | 20 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | cps | 11 | 16 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | cps | 11 | 16 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | cps | 11 | 20 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | cps | 11 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | cps | 11 | 24 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | cps | 11 | 8 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | cps | 11 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | cps | 11 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | cps | 11 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | cps | 11 | 40 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | cps | 11 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | cps | 11 | 20 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | cps | 11 | 20 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | cps | 11 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | cps | 11 | 16 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | cps | 11 | 8 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | cps | 11 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | cps | 11 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | cps | 11 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | cps | 11 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | cps | 11 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | cps | 11 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | cps | 11 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | cps | 11 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | cps | 11 | 16 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | cps | 11 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | cps | 11 | 16 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | cps | 11 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | cps | 11 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | cps | 11 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | cps | 11 | 20 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | cps | 11 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | cps | 11 | 20 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | cps | 11 | 20 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | cps | 11 | 24 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | cps | 11 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | cps | 11 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | cps | 11 | 12 | 71.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | cps | 11 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | cps | 11 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | cps | 11 | 16 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | cps | 11 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | cps | 11 | 16 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | cps | 11 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Concentration
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 30
m/z 31.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 32
m/z 33.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 37
m/z 38.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Misc
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 30.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 32.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 37.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
Instrument
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Press controller | DT_DOUBLE | mbar | 11 | 412 | 413
Flow controller | DT_DOUBLE | sccm | 11 | 6.3721 | 6.3867
USO | DT_DOUBLE | V | 11 | 0 | 0
US | DT_DOUBLE | V | 11 | 0 | 0
UQL | DT_DOUBLE | V | 11 | 0 | 0
UNC | DT_DOUBLE | V | 11 | 0 | 0
Source current | DT_DOUBLE | mA | 11 | 0 | 0
Source state | DT_STRING | on/off | 11
Inlet temperature | DT_DOUBLE | °C | 11 | 0 | 0
Detection pressure | DT_DOUBLE | mbar | 11 | 1.0913e-05 | 1.0913e-05
SEM Voltage | DT_LONG | V | 11 | 2360 | 2360
FC add1 | DT_DOUBLE | sccm | 11 | 0 | 0
FC add2 | DT_DOUBLE | sccm | 11 | 0 | 0
Source Valve | DT_DOUBLE | % | 11 | 0 | 0
Reaction conditions
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Udrift | DT_DOUBLE | V | 11 | 590.625 | 591.0156
pdrift | DT_DOUBLE | mbar | 11 | 2.1625 | 2.1688
Tdrift | DT_DOUBLE | °C | 11 | 60 | 60
Switch 1 | DT_SHORT | on/off | 11 | 0 | 0
Switch 2 | DT_SHORT | on/off | 11 | 0 | 0
Switch 3 | DT_SHORT | on/off | 11 | 0 | 0
Switch 4 | DT_SHORT | on/off | 11 | 0 | 0
Switch 5 | DT_SHORT | on/off | 11 | 0 | 0
Switch 6 | DT_SHORT | on/off | 11 | 0 | 0

## Time Cycle
Cycle number | Absolute Time | Relative Time
1 | 2021-02-23 14:54 | 80.073
2 | 2021-02-23 14:55 | 160.146
3 | 2021-02-23 14:57 | 240.22
4 | 2021-02-23 14:58 | 320.293
5 | 2021-02-23 14:59 | 400.366
6 | 2021-02-23 15:01 | 480.308
7 | 2021-02-23 15:02 | 560.513
8 | 2021-02-23 15:03 | 640.586
9 | 2021-02-23 15:05 | 720.66
10 | 2021-02-23 15:06 | 800.733
11 | 2021-02-23 15:07 | 880.806

## Raw signal intensities
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0
24843.8691 | 32 | 24 | 40 | 12 | 24 | 40 | 56 | 6099.9497 | 7283.9517 | 223.9996 | 301743.9062 | 2067.9824 | 1815.9846 | 40 | 423.9985 | 496387.9375 | 711.996 | 2399.9775 | 44 | 431.9984 | 519.9978 | 855.9948 | 191.9996 | 967.994 | 1231.9906 | 1159.9918 | 52 | 44 | 111.9999 | 40 | 72 | 40 | 44 | 663.9965 | 239.9995 | 755.9956 | 52 | 2079.9827 | 139.9998 | 855.9946 | 107.9999 | 2195.9805 | 79.9999 | 56 | 99.9999 | 52 | 36 | 99.9999 | 56 | 223.9995 | 44 | 311.9991 | 75.9999 | 119.9999 | 20 | 52 | 40 | 151.9998 | 48 | 107.9999 | 20 | 87.9999 | 72 | 167.9997 | 60 | 155.9998 | 83.9999 | 215.9996 | 371.9987 | 1251.9907 | 103.9999 | 163.9997 | 87.9999 | 99.9999 | 203.9996 | 95.9999 | 28 | 111.9999 | 64 | 143.9998 | 71.9999 | 243.9995 | 91.9999 | 219.9995 | 1015.9932 | 1743.9854 | 3079.9707 | 387.9985 | 91.9999 | 68 | 36 | 79.9999 | 139.9998 | 64 | 16 | 28 | 48 | 91.9999 | 399.9986 | 131.9998 | 95.9999 | 123.9999 | 551.9976 | 795.9953 | 1227.9912 | 79.9999 | 48 | 40 | 48 | 40 | 44 | 32 | 52 | 56 | 52 | 16 | 16 | 20 | 20 | 32 | 32 | 52 | 24 | 40 | 52 | 44 | 32 | 36 | 32 | 20 | 36 | 32 | 48 | 24 | 32 | 52 | 28 | 28 | 32 | 40 | 44 | 36 | 28 | 28 | 16 | 20 | 20 | 32 | 28 | 28 | 24 | 28 | 28 | 16 | 32 | 44 | 16 | 16 | 32
24655.8633 | 44 | 20 | 24 | 44 | 36 | 28 | 40 | 6019.9517 | 7183.9492 | 227.9995 | 291647.8438 | 2419.9783 | 1699.9851 | 24 | 435.9984 | 486819.8125 | 691.996 | 2279.9797 | 28 | 511.998 | 427.9983 | 915.994 | 171.9997 | 823.9949 | 1107.9918 | 1155.9918 | 60 | 24 | 107.9999 | 40 | 60 | 56 | 52 | 571.9975 | 223.9995 | 719.9959 | 75.9999 | 2023.9845 | 147.9998 | 775.9954 | 111.9999 | 1875.984 | 91.9999 | 60 | 64 | 40 | 28 | 99.9999 | 36 | 183.9996 | 36 | 275.9993 | 52 | 95.9999 | 56 | 60 | 32 | 107.9999 | 52 | 123.9999 | 36 | 40 | 64 | 143.9998 | 64 | 135.9998 | 99.9999 | 207.9996 | 387.9987 | 1279.9895 | 127.9999 | 167.9997 | 95.9999 | 83.9999 | 259.9994 | 83.9999 | 56 | 163.9997 | 56 | 103.9999 | 44 | 239.9995 | 119.9999 | 231.9995 | 1023.9932 | 1787.9861 | 2983.9746 | 403.9986 | 103.9999 | 60 | 32 | 64 | 103.9999 | 72 | 28 | 40 | 44 | 91.9999 | 399.9986 | 123.9999 | 60 | 99.9999 | 519.9979 | 751.9957 | 1227.9917 | 83.9999 | 32 | 68 | 40 | 28 | 32 | 32 | 52 | 68 | 32 | 24 | 28 | 48 | 20 | 52 | 32 | 48 | 44 | 48 | 56 | 36 | 56 | 36 | 44 | 16 | 44 | 20 | 40 | 44 | 28 | 32 | 36 | 28 | 40 | 32 | 36 | 24 | 36 | 36 | 24 | 32 | 24 | 40 | 32 | 32 | 20 | 32 | 52 | 40 | 32 | 28 | 28 | 28 | 32
24371.8828 | 60 | 32 | 20 | 24 | 20 | 36 | 48 | 6335.9531 | 6783.9526 | 207.9996 | 284111.75 | 2379.9778 | 1931.9843 | 24 | 419.9985 | 480559.8438 | 663.9966 | 2147.981 | 28 | 407.9985 | 387.9987 | 767.9955 | 179.9997 | 799.9951 | 1259.9896 | 1055.9933 | 64 | 44 | 179.9996 | 48 | 83.9999 | 36 | 56 | 563.9976 | 235.9995 | 675.9965 | 71.9999 | 2015.9839 | 155.9998 | 751.9954 | 99.9999 | 2003.9844 | 107.9999 | 56 | 56 | 44 | 24 | 115.9999 | 24 | 159.9997 | 44 | 227.9995 | 75.9999 | 103.9999 | 44 | 16 | 20 | 111.9999 | 36 | 91.9999 | 16 | 64 | 40 | 139.9998 | 36 | 135.9998 | 91.9999 | 191.9996 | 435.9984 | 1235.9902 | 107.9999 | 207.9996 | 48 | 83.9999 | 235.9995 | 99.9999 | 28 | 79.9999 | 56 | 131.9998 | 52 | 255.9994 | 107.9999 | 179.9997 | 867.9943 | 1867.9841 | 3019.9717 | 363.9988 | 111.9999 | 79.9999 | 28 | 68 | 99.9999 | 40 | 36 | 52 | 44 | 72 | 459.9984 | 87.9999 | 99.9999 | 99.9999 | 527.9979 | 715.9957 | 1095.9928 | 99.9999 | 32 | 36 | 20 | 36 | 28 | 36 | 32 | 64 | 40 | 28 | 56 | 36 | 24 | 56 | 20 | 44 | 24 | 40 | 83.9999 | 44 | 44 | 36 | 24 | 32 | 28 | 28 | 36 | 36 | 24 | 20 | 24 | 16 | 52 | 32 | 24 | 56 | 36 | 36 | 40 | 40 | 52 | 24 | 48 | 44 | 32 | 32 | 24 | 36 | 20 | 16 | 24 | 36 | 24
24127.8828 | 48 | 24 | 20 | 28 | 28 | 32 | 75.9999 | 6419.9502 | 6823.9438 | 187.9996 | 278307.5938 | 2447.9783 | 1535.9875 | 52 | 379.9987 | 476483.7812 | 747.9956 | 2167.9807 | 20 | 511.9979 | 419.9983 | 863.9946 | 163.9997 | 823.9949 | 1231.9904 | 999.9933 | 64 | 32 | 151.9998 | 64 | 68 | 40 | 75.9999 | 611.9971 | 199.9996 | 595.9971 | 99.9999 | 2283.9797 | 119.9999 | 619.9971 | 103.9999 | 2003.9824 | 64 | 60 | 99.9999 | 28 | 28 | 68 | 44 | 159.9997 | 52 | 167.9997 | 87.9999 | 99.9999 | 68 | 36 | 32 | 123.9999 | 48 | 79.9999 | 44 | 60 | 32 | 131.9998 | 32 | 131.9998 | 99.9999 | 183.9996 | 291.9992 | 1339.9899 | 155.9998 | 151.9998 | 91.9999 | 103.9999 | 223.9995 | 71.9999 | 79.9999 | 91.9999 | 40 | 103.9999 | 56 | 179.9997 | 107.9999 | 179.9996 | 819.9951 | 1859.9847 | 2927.9714 | 379.9986 | 99.9999 | 40 | 52 | 48 | 119.9999 | 52 | 36 | 28 | 44 | 71.9999 | 331.9989 | 99.9999 | 60 | 119.9999 | 547.9975 | 871.9946 | 1207.9907 | 71.9999 | 68 | 52 | 24 | 20 | 36 | 36 | 32 | 52 | 64 | 44 | 28 | 32 | 36 | 40 | 24 | 16 | 24 | 44 | 64 | 28 | 32 | 40 | 24 | 32 | 36 | 28 | 28 | 20 | 44 | 16 | 52 | 40 | 40 | 32 | 32 | 20 | 16 | 12 | 32 | 24 | 24 | 36 | 24 | 36 | 36 | 36 | 24 | 20 | 36 | 24 | 16 | 16 | 40
23295.8965 | 60 | 40 | 16 | 36 | 24 | 24 | 52 | 6243.9536 | 6831.9482 | 163.9997 | 274611.5312 | 2335.978 | 1799.9845 | 60 | 359.9988 | 480723.9375 | 859.9947 | 2183.9802 | 40 | 515.9979 | 463.9981 | 799.995 | 167.9997 | 847.9949 | 1099.9926 | 891.9943 | 60 | 24 | 143.9998 | 68 | 91.9999 | 32 | 56 | 515.998 | 207.9996 | 599.9971 | 64 | 2123.9819 | 131.9998 | 647.9966 | 83.9999 | 1815.9847 | 91.9999 | 52 | 20 | 24 | 32 | 115.9999 | 32 | 175.9997 | 68 | 231.9995 | 60 | 83.9999 | 32 | 36 | 20 | 111.9999 | 71.9999 | 83.9999 | 32 | 68 | 44 | 135.9998 | 48 | 151.9998 | 71.9999 | 231.9995 | 395.9985 | 1219.99 | 147.9998 | 183.9996 | 71.9999 | 79.9999 | 275.9993 | 71.9999 | 48 | 75.9999 | 36 | 99.9999 | 56 | 255.9994 | 99.9999 | 175.9997 | 939.9942 | 2019.9839 | 3147.9707 | 363.9988 | 99.9999 | 56 | 28 | 60 | 71.9999 | 68 | 44 | 36 | 44 | 99.9999 | 451.9983 | 151.9998 | 40 | 139.9998 | 419.9984 | 887.9944 | 1255.9896 | 68 | 44 | 48 | 44 | 32 | 44 | 44 | 20 | 60 | 20 | 48 | 44 | 36 | 32 | 36 | 32 | 52 | 24 | 36 | 75.9999 | 12 | 20 | 56 | 16 | 16 | 40 | 32 | 44 | 40 | 24 | 48 | 44 | 24 | 12 | 32 | 20 | 28 | 44 | 8 | 20 | 28 | 48 | 28 | 36 | 32 | 24 | 16 | 71.9999 | 44 | 16 | 40 | 28 | 36 | 52
23771.8809 | 36 | 36 | 28 | 28 | 24 | 36 | 83.9999 | 6155.9521 | 6611.9531 | 227.9995 | 268839.125 | 2307.9792 | 1667.9858 | 44 | 303.9992 | 473559.75 | 783.9952 | 2415.9775 | 20 | 475.9983 | 399.9986 | 767.9952 | 155.9998 | 803.9952 | 1083.9927 | 895.9942 | 99.9999 | 48 | 115.9999 | 28 | 75.9999 | 4 | 60 | 551.9977 | 239.9995 | 571.9974 | 16 | 2127.9817 | 147.9998 | 659.9968 | 87.9999 | 2071.9819 | 56 | 68 | 48 | 40 | 52 | 95.9999 | 48 | 159.9997 | 60 | 243.9995 | 64 | 127.9998 | 64 | 64 | 56 | 119.9999 | 48 | 64 | 36 | 68 | 28 | 99.9999 | 60 | 127.9999 | 107.9999 | 143.9998 | 379.9987 | 1363.9882 | 167.9997 | 131.9998 | 68 | 68 | 263.9994 | 87.9999 | 60 | 115.9999 | 48 | 99.9999 | 40 | 203.9996 | 111.9999 | 211.9996 | 999.994 | 1787.9845 | 3295.9709 | 379.9986 | 64 | 64 | 32 | 52 | 83.9999 | 36 | 64 | 40 | 75.9999 | 75.9999 | 439.9984 | 95.9999 | 79.9999 | 71.9999 | 399.9987 | 851.9949 | 1391.9885 | 68 | 56 | 56 | 44 | 20 | 32 | 20 | 16 | 36 | 20 | 40 | 24 | 24 | 44 | 32 | 20 | 40 | 16 | 36 | 40 | 36 | 36 | 28 | 16 | 24 | 36 | 8 | 28 | 52 | 32 | 24 | 24 | 48 | 32 | 16 | 36 | 32 | 36 | 32 | 12 | 20 | 28 | 28 | 32 | 32 | 36 | 48 | 12 | 36 | 20 | 36 | 32 | 20 | 28
23435.918 | 24 | 20 | 12 | 24 | 32 | 12 | 68 | 5967.9561 | 6715.9507 | 195.9996 | 263606.875 | 2271.9788 | 1651.9865 | 32 | 379.9986 | 465980 | 727.9955 | 2119.9812 | 28 | 491.9982 | 423.9984 | 799.9952 | 191.9996 | 747.9955 | 983.9938 | 963.9942 | 44 | 32 | 103.9999 | 52 | 71.9999 | 12 | 28 | 623.9968 | 203.9996 | 595.997 | 52 | 2259.9805 | 191.9996 | 659.9964 | 103.9999 | 1879.9834 | 71.9999 | 48 | 56 | 28 | 20 | 83.9999 | 56 | 131.9998 | 60 | 235.9995 | 64 | 107.9999 | 32 | 48 | 32 | 107.9999 | 32 | 111.9999 | 32 | 79.9999 | 28 | 135.9998 | 40 | 119.9999 | 91.9999 | 187.9996 | 383.9986 | 1275.9896 | 151.9998 | 199.9996 | 52 | 83.9999 | 239.9995 | 87.9999 | 44 | 103.9999 | 44 | 107.9999 | 83.9999 | 259.9994 | 143.9998 | 175.9997 | 999.9935 | 1975.9821 | 3307.9709 | 447.9983 | 103.9999 | 56 | 20 | 52 | 83.9999 | 24 | 32 | 32 | 44 | 72 | 439.9984 | 119.9999 | 64 | 119.9999 | 503.998 | 923.9941 | 1287.9899 | 72 | 44 | 48 | 28 | 36 | 28 | 36 | 12 | 75.9999 | 24 | 56 | 32 | 24 | 12 | 28 | 8 | 24 | 44 | 16 | 91.9999 | 12 | 20 | 44 | 12 | 40 | 32 | 32 | 32 | 24 | 36 | 32 | 32 | 28 | 16 | 20 | 32 | 16 | 40 | 8 | 24 | 28 | 32 | 52 | 20 | 24 | 12 | 24 | 20 | 20 | 24 | 36 | 28 | 24 | 12
23747.8965 | 40 | 24 | 24 | 32 | 32 | 12 | 44 | 6071.9526 | 6675.9546 | 211.9996 | 258946.6875 | 2287.9788 | 1711.985 | 16 | 295.9991 | 457564.2812 | 687.996 | 2019.9832 | 28 | 399.9985 | 391.9987 | 739.9957 | 175.9997 | 767.9949 | 1127.9924 | 1031.9935 | 79.9999 | 44 | 135.9998 | 32 | 99.9999 | 40 | 83.9999 | 563.9973 | 207.9996 | 631.9966 | 79.9999 | 2383.9792 | 155.9998 | 623.9967 | 64 | 1779.9854 | 68 | 75.9999 | 48 | 20 | 40 | 91.9999 | 40 | 159.9997 | 44 | 311.999 | 56 | 99.9999 | 20 | 20 | 40 | 103.9999 | 40 | 87.9999 | 40 | 52 | 24 | 103.9999 | 16 | 91.9999 | 91.9999 | 263.9994 | 467.9982 | 1391.9888 | 131.9998 | 143.9998 | 103.9999 | 79.9999 | 211.9995 | 72 | 36 | 87.9999 | 56 | 83.9999 | 99.9999 | 243.9995 | 111.9999 | 247.9994 | 871.995 | 1943.9839 | 3131.9717 | 367.9989 | 107.9999 | 52 | 40 | 36 | 79.9999 | 28 | 28 | 52 | 60 | 71.9999 | 363.9987 | 119.9999 | 64 | 119.9999 | 531.9977 | 803.9951 | 1119.9924 | 75.9999 | 44 | 64 | 24 | 44 | 60 | 40 | 20 | 75.9999 | 24 | 32 | 32 | 32 | 16 | 44 | 20 | 32 | 52 | 20 | 75.9999 | 20 | 20 | 40 | 48 | 40 | 24 | 32 | 28 | 32 | 12 | 28 | 32 | 28 | 32 | 32 | 36 | 20 | 24 | 28 | 32 | 36 | 20 | 28 | 32 | 28 | 24 | 40 | 28 | 24 | 24 | 24 | 40 | 24 | 12
23187.9062 | 48 | 28 | 32 | 32 | 32 | 44 | 44 | 5915.9546 | 6727.9482 | 143.9998 | 256314.4844 | 2159.9814 | 1483.9878 | 40 | 423.9983 | 463360.25 | 647.9966 | 2059.9834 | 32 | 443.9983 | 407.9984 | 747.996 | 239.9995 | 847.9947 | 971.9932 | 895.9941 | 68 | 44 | 79.9999 | 48 | 103.9999 | 36 | 40 | 443.9984 | 159.9997 | 547.9977 | 44 | 1931.9846 | 123.9999 | 563.9975 | 87.9999 | 1839.9843 | 64 | 44 | 56 | 20 | 32 | 87.9999 | 32 | 115.9999 | 60 | 275.9993 | 64 | 99.9999 | 48 | 20 | 32 | 99.9999 | 52 | 72 | 64 | 68 | 36 | 91.9999 | 16 | 107.9999 | 79.9999 | 163.9997 | 399.9986 | 1391.9889 | 151.9998 | 167.9997 | 56 | 83.9999 | 207.9996 | 56 | 56 | 68 | 44 | 95.9999 | 44 | 231.9995 | 71.9999 | 179.9997 | 851.9948 | 1823.9857 | 2779.9736 | 371.9987 | 79.9999 | 68 | 52 | 24 | 75.9999 | 71.9999 | 32 | 48 | 60 | 71.9999 | 479.998 | 83.9999 | 52 | 79.9999 | 503.9981 | 951.9944 | 1311.9891 | 56 | 44 | 40 | 28 | 28 | 36 | 24 | 28 | 75.9999 | 44 | 24 | 36 | 44 | 20 | 28 | 12 | 20 | 24 | 52 | 56 | 44 | 36 | 20 | 28 | 28 | 8 | 28 | 24 | 20 | 20 | 36 | 20 | 12 | 24 | 20 | 20 | 40 | 28 | 24 | 52 | 36 | 12 | 44 | 24 | 24 | 12 | 24 | 24 | 12 | 24 | 16 | 24 | 36 | 28
22899.8926 | 48 | 28 | 48 | 44 | 16 | 24 | 68 | 5887.9541 | 6439.957 | 199.9996 | 249406.1406 | 2303.9807 | 1547.9867 | 28 | 303.9991 | 456700.25 | 659.9963 | 2167.9814 | 36 | 383.9987 | 323.999 | 751.9955 | 167.9997 | 827.9948 | 951.9942 | 931.994 | 83.9999 | 28 | 143.9998 | 52 | 91.9999 | 28 | 28 | 587.9971 | 331.9989 | 639.9969 | 79.9999 | 2419.9768 | 135.9998 | 595.9968 | 99.9999 | 1855.9834 | 64 | 56 | 48 | 24 | 44 | 79.9999 | 24 | 135.9998 | 12 | 255.9995 | 56 | 107.9999 | 28 | 48 | 20 | 107.9999 | 44 | 95.9999 | 16 | 83.9999 | 56 | 123.9999 | 64 | 111.9999 | 99.9999 | 191.9996 | 443.9984 | 1435.9884 | 167.9997 | 207.9995 | 95.9999 | 87.9999 | 231.9995 | 99.9999 | 32 | 91.9999 | 40 | 68 | 87.9999 | 307.9991 | 143.9998 | 211.9996 | 963.994 | 2003.9823 | 3611.9685 | 447.9981 | 131.9998 | 44 | 52 | 60 | 52 | 44 | 16 | 32 | 40 | 75.9999 | 467.9983 | 119.9999 | 83.9999 | 99.9999 | 411.9985 | 951.9941 | 1391.9888 | 72 | 40 | 20 | 24 | 32 | 24 | 20 | 12 | 52 | 24 | 36 | 28 | 36 | 24 | 24 | 40 | 12 | 36 | 24 | 64 | 36 | 44 | 24 | 28 | 40 | 20 | 36 | 20 | 24 | 32 | 24 | 32 | 16 | 24 | 36 | 16 | 24 | 48 | 24 | 24 | 36 | 32 | 28 | 28 | 60 | 24 | 16 | 12 | 20 | 8 | 20 | 12 | 28 | 40
22903.9219 | 44 | 36 | 16 | 20 | 12 | 24 | 48 | 6047.9585 | 6675.9541 | 199.9996 | 246106.2031 | 2375.9773 | 1615.9868 | 28 | 251.9994 | 459340.1562 | 795.995 | 2063.9832 | 24 | 467.9982 | 411.9984 | 627.9968 | 203.9996 | 739.9957 | 955.994 | 843.9944 | 36 | 40 | 143.9998 | 56 | 83.9999 | 20 | 48 | 515.9978 | 215.9996 | 511.998 | 87.9999 | 2047.9821 | 195.9996 | 527.9977 | 99.9999 | 1787.9852 | 79.9999 | 60 | 64 | 44 | 32 | 103.9999 | 52 | 123.9999 | 36 | 255.9994 | 75.9999 | 103.9999 | 40 | 40 | 32 | 91.9999 | 44 | 79.9999 | 32 | 56 | 36 | 99.9999 | 36 | 139.9998 | 91.9999 | 207.9996 | 411.9985 | 1467.9878 | 191.9996 | 195.9996 | 91.9999 | 123.9998 | 251.9994 | 103.9999 | 52 | 107.9999 | 40 | 123.9999 | 60 | 219.9996 | 83.9999 | 191.9996 | 1007.9938 | 2111.9822 | 3367.9695 | 415.9985 | 103.9999 | 87.9999 | 28 | 68 | 95.9999 | 28 | 24 | 40 | 44 | 71.9999 | 451.9982 | 127.9998 | 64 | 115.9999 | 391.9985 | 979.9937 | 1339.9896 | 75.9999 | 48 | 60 | 4 | 28 | 40 | 16 | 16 | 79.9999 | 32 | 24 | 28 | 28 | 36 | 36 | 16 | 52 | 36 | 24 | 60 | 16 | 32 | 36 | 44 | 28 | 16 | 32 | 16 | 20 | 44 | 52 | 40 | 40 | 24 | 24 | 48 | 20 | 24 | 24 | 40 | 44 | 24 | 20 | 36 | 40 | 28 | 20 | 24 | 44 | 32 | 24 | 12 | 16 | 28

## Concentration
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0

## Misc
m/z 21.0 | m/z 30.0 | m/z 32.0 | m/z 37.0

## Instrument
Press controller | Flow controller | USO | US | UQL | UNC | Source current | Source state | Inlet temperature | Detection pressure | SEM Voltage | FC add1 | FC add2 | Source Valve
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
412 | 6.3721 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0

## Reaction conditions
Udrift | pdrift | Tdrift | Switch 1 | Switch 2 | Switch 3 | Switch 4 | Switch 5 | Switch 6
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1687 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.1625 | 60 | 0 | 0 | 0 | 0 | 0 | 0