## Untitled (root)
Root Name | Title | Author | Date/Time | Groups | Description | End_time | Start_time
Untitled | SCAN data |  |  | 6 | PTR-MS Control 2.7 | 2021-02-23 17:45 | 2021-02-23 17:32
Group | Channels | Description
Time / Cycle | 3
Raw signal intensities | 160
Concentration | 160
Misc | 4
Instrument | 14
Reaction conditions | 9
Time / Cycle
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Cycle number | DT_LONG | cycle | 10 | 1 | 10
Absolute Time | DT_DATE | Date/Time | 10 | 2021-02-23 17:33 | 2021-02-23 17:45
Relative Time | DT_DOUBLE | s | 10 | 80.204 | 800.864
Raw signal intensities
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 10 | 16631.9297 | 20223.916 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | cps | 10 | 4 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | cps | 10 | 8 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | cps | 10 | 4 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | cps | 10 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | cps | 10 | 0 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | cps | 10 | 60 | 203.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | cps | 10 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | cps | 10 | 4951.9561 | 5671.9526 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | cps | 10 | 5959.9546 | 6351.9497 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 31.0 | DT_DOUBLE | cps | 10 | 411.9984 | 1155.9916 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | cps | 10 | 145811.8125 | 167911.8594 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 33.0 | DT_DOUBLE | cps | 10 | 114843.1719 | 341523.75 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | cps | 10 | 2447.9773 | 5411.9546 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | cps | 10 | 231.9995 | 699.9959 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | cps | 10 | 211.9995 | 259.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | cps | 10 | 417713.5 | 451504.4375 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
m/z 38.0 | DT_DOUBLE | cps | 10 | 555.9974 | 739.996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | cps | 10 | 7363.9551 | 27023.8574 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | cps | 10 | 183.9996 | 631.9968 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | cps | 10 | 14367.9268 | 35923.9023 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | cps | 10 | 1495.9878 | 3395.9697 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | cps | 10 | 11419.9297 | 35795.9102 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | cps | 10 | 455.9981 | 1115.9921 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | cps | 10 | 1339.9886 | 2471.9788 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | cps | 10 | 855.9944 | 1167.9913 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | cps | 10 | 859.9943 | 1475.9871 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | cps | 10 | 20 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | cps | 10 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | cps | 10 | 40 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | cps | 10 | 843.9948 | 2983.9705 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | cps | 10 | 60 | 143.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | cps | 10 | 48 | 123.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | cps | 10 | 36 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | cps | 10 | 967.9941 | 2779.9756 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | cps | 10 | 359.9987 | 639.9968 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | cps | 10 | 21655.9375 | 65583.7578 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | cps | 10 | 1031.9937 | 3923.9697 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | cps | 10 | 167483.8906 | 1878991.625 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | cps | 10 | 4875.9604 | 58259.6445 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | cps | 10 | 1291.9896 | 5947.9561 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | cps | 10 | 79.9999 | 163.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | cps | 10 | 1127.9913 | 1483.9879 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | cps | 10 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | cps | 10 | 36 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | cps | 10 | 28 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | cps | 10 | 16 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | cps | 10 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | cps | 10 | 343.9988 | 831.9947 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | cps | 10 | 28 | 99.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | cps | 10 | 5115.9541 | 17139.9375 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | cps | 10 | 279.9993 | 1287.9899 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | cps | 10 | 2251.9792 | 21959.9219 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | cps | 10 | 191.9996 | 1091.9928 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | cps | 10 | 1343.9884 | 5415.9546 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | cps | 10 | 83.9999 | 371.9987 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | cps | 10 | 79.9999 | 199.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | cps | 10 | 20 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | cps | 10 | 115.9999 | 191.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | cps | 10 | 24 | 64 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | cps | 10 | 71.9999 | 151.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | cps | 10 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | cps | 10 | 99.9999 | 155.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | cps | 10 | 12 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | cps | 10 | 487.998 | 835.9949 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | cps | 10 | 60 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | cps | 10 | 1491.9873 | 10307.9355 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | cps | 10 | 199.9996 | 691.996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | cps | 10 | 319.999 | 575.9974 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | cps | 10 | 499.9979 | 671.9966 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | cps | 10 | 1703.9844 | 1883.984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | cps | 10 | 147.9998 | 195.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | cps | 10 | 255.9994 | 399.9985 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | cps | 10 | 91.9999 | 131.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | cps | 10 | 99.9999 | 159.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | cps | 10 | 103.9999 | 167.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | cps | 10 | 64 | 139.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | cps | 10 | 20 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | cps | 10 | 68 | 155.9997 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | cps | 10 | 20 | 79.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | cps | 10 | 95.9999 | 267.9994 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | cps | 10 | 75.9999 | 127.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | cps | 10 | 255.9994 | 419.9984 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | cps | 10 | 56 | 135.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | cps | 10 | 219.9995 | 311.9991 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | cps | 10 | 759.9957 | 939.9938 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | cps | 10 | 2167.9822 | 2811.9719 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | cps | 10 | 3351.9668 | 3807.969 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | cps | 10 | 455.9983 | 627.9966 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | cps | 10 | 56 | 123.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | cps | 10 | 135.9998 | 211.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | cps | 10 | 24 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | cps | 10 | 28 | 91.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | cps | 10 | 36 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | cps | 10 | 147.9998 | 471.9983 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | cps | 10 | 52 | 115.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | cps | 10 | 56 | 207.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | cps | 10 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | cps | 10 | 60 | 119.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | cps | 10 | 491.998 | 639.9966 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | cps | 10 | 119.9999 | 191.9996 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | cps | 10 | 36 | 103.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | cps | 10 | 79.9999 | 159.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | cps | 10 | 383.9987 | 523.9979 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | cps | 10 | 831.9949 | 1011.9934 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | cps | 10 | 1299.9894 | 1591.9863 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | cps | 10 | 91.9999 | 135.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | cps | 10 | 44 | 83.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | cps | 10 | 72 | 291.9992 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | cps | 10 | 16 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | cps | 10 | 263.9994 | 1163.9917 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | cps | 10 | 36 | 123.9998 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | cps | 10 | 12 | 56 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | cps | 10 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | cps | 10 | 32 | 68 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | cps | 10 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | cps | 10 | 20 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | cps | 10 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | cps | 10 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | cps | 10 | 40 | 87.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | cps | 10 | 16 | 52 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | cps | 10 | 20 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | cps | 10 | 20 | 75.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | cps | 10 | 24 | 107.9999 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | cps | 10 | 12 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | cps | 10 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | cps | 10 | 8 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | cps | 10 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | cps | 10 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | cps | 10 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | cps | 10 | 12 | 44 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | cps | 10 | 16 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | cps | 10 | 0 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | cps | 10 | 8 | 60 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | cps | 10 | 0 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | cps | 10 | 8 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | cps | 10 | 8 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | cps | 10 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | cps | 10 | 12 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | cps | 10 | 8 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | cps | 10 | 8 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | cps | 10 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | cps | 10 | 4 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | cps | 10 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | cps | 10 | 0 | 28 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | cps | 10 | 12 | 40 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | cps | 10 | 4 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | cps | 10 | 4 | 48 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | cps | 10 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | cps | 10 | 4 | 32 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | cps | 10 | 12 | 36 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | cps | 10 | 4 | 24 |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Concentration
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 22.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 22 | 1 | 0.1 | 2e-09 | 25 | 0.29027
m/z 23.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 23 | 1 | 0.1 | 2e-09 | 25 | 0.28992
m/z 24.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 24 | 1 | 0.1 | 2e-09 | 25 | 0.28938
m/z 25.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 25 | 1 | 0.1 | 2e-09 | 25 | 0.28871
m/z 26.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 26 | 1 | 0.1 | 2e-09 | 25 | 0.28796
m/z 27.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 27 | 1 | 0.1 | 2e-09 | 25 | 0.28715
m/z 28.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 28 | 1 | 0.1 | 2e-09 | 25 | 0.28635
m/z 29.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 29 | 1 | 0.1 | 2e-09 | 25 | 0.28558
m/z 30.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 30
m/z 31.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 31 | 1 | 0.1 | 2e-09 | 25 | 0.28438
m/z 32.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 32
m/z 33.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 33 | 1 | 0.1 | 2e-09 | 25 | 0.2839
m/z 34.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 34 | 1 | 0.1 | 2e-09 | 25 | 0.29794
m/z 35.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 35 | 1 | 0.1 | 2e-09 | 25 | 0.33597
m/z 36.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 36 | 1 | 0.1 | 2e-09 | 25 | 0.3919
m/z 37.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 37
m/z 38.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 38 | 1 | 0.1 | 2e-09 | 25 | 0.533
m/z 39.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 39 | 1 | 0.1 | 2e-09 | 25 | 0.60596
m/z 40.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 40 | 1 | 0.1 | 2e-09 | 25 | 0.67239
m/z 41.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 41 | 1 | 0.1 | 2e-09 | 25 | 0.72617
m/z 42.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 42 | 1 | 0.1 | 2e-09 | 25 | 0.7612
m/z 43.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 43 | 1 | 0.1 | 2e-09 | 25 | 0.7845
m/z 44.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 44 | 1 | 0.1 | 2e-09 | 25 | 0.80712
m/z 45.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 45 | 1 | 0.1 | 2e-09 | 25 | 0.82894
m/z 46.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 46 | 1 | 0.1 | 2e-09 | 25 | 0.84989
m/z 47.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 47 | 1 | 0.1 | 2e-09 | 25 | 0.86986
m/z 48.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 48 | 1 | 0.1 | 2e-09 | 25 | 0.88878
m/z 49.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 49 | 1 | 0.1 | 2e-09 | 25 | 0.90653
m/z 50.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 50 | 1 | 0.1 | 2e-09 | 25 | 0.92304
m/z 51.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 51 | 1 | 0.1 | 2e-09 | 25 | 0.9382
m/z 52.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 52 | 1 | 0.1 | 2e-09 | 25 | 0.95192
m/z 53.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 53 | 1 | 0.1 | 2e-09 | 25 | 0.96412
m/z 54.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 54 | 1 | 0.1 | 2e-09 | 25 | 0.9747
m/z 55.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 55 | 1 | 0.1 | 2e-09 | 25 | 0.98356
m/z 56.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 56 | 1 | 0.1 | 2e-09 | 25 | 0.99061
m/z 57.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 57 | 1 | 0.1 | 2e-09 | 25 | 0.99577
m/z 58.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 58 | 1 | 0.1 | 2e-09 | 25 | 0.99893
m/z 59.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 59 | 1 | 0.1 | 2e-09 | 25 | 1
m/z 60.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 60 | 1 | 0.1 | 2e-09 | 25 | 0.9997
m/z 61.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 61 | 1 | 0.1 | 2e-09 | 25 | 0.99877
m/z 62.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 62 | 1 | 0.1 | 2e-09 | 25 | 0.99722
m/z 63.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 63 | 1 | 0.1 | 2e-09 | 25 | 0.99501
m/z 64.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 64 | 1 | 0.1 | 2e-09 | 25 | 0.99214
m/z 65.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 65 | 1 | 0.1 | 2e-09 | 25 | 0.98858
m/z 66.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 66 | 1 | 0.1 | 2e-09 | 25 | 0.98432
m/z 67.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 67 | 1 | 0.1 | 2e-09 | 25 | 0.97934
m/z 68.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 68 | 1 | 0.1 | 2e-09 | 25 | 0.97363
m/z 69.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 69 | 1 | 0.1 | 2e-09 | 25 | 0.96717
m/z 70.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 70 | 1 | 0.1 | 2e-09 | 25 | 0.95994
m/z 71.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 71 | 1 | 0.1 | 2e-09 | 25 | 0.95193
m/z 72.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 72 | 1 | 0.1 | 2e-09 | 25 | 0.94312
m/z 73.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 73 | 1 | 0.1 | 2e-09 | 25 | 0.9335
m/z 74.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 74 | 1 | 0.1 | 2e-09 | 25 | 0.89651
m/z 75.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 75 | 1 | 0.1 | 2e-09 | 25 | 0.81952
m/z 76.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 76 | 1 | 0.1 | 2e-09 | 25 | 0.72337
m/z 77.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 77 | 1 | 0.1 | 2e-09 | 25 | 0.62889
m/z 78.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 78 | 1 | 0.1 | 2e-09 | 25 | 0.55692
m/z 79.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 79 | 1 | 0.1 | 2e-09 | 25 | 0.5283
m/z 80.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 80 | 1 | 0.1 | 2e-09 | 25 | 0.52831
m/z 81.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 81 | 1 | 0.1 | 2e-09 | 25 | 0.52836
m/z 82.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 82 | 1 | 0.1 | 2e-09 | 25 | 0.52849
m/z 83.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 83 | 1 | 0.1 | 2e-09 | 25 | 0.52875
m/z 84.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 84 | 1 | 0.1 | 2e-09 | 25 | 0.52919
m/z 85.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 85 | 1 | 0.1 | 2e-09 | 25 | 0.52983
m/z 86.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 86 | 1 | 0.1 | 2e-09 | 25 | 0.53074
m/z 87.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 87 | 1 | 0.1 | 2e-09 | 25 | 0.53194
m/z 88.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 88 | 1 | 0.1 | 2e-09 | 25 | 0.53348
m/z 89.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 89 | 1 | 0.1 | 2e-09 | 25 | 0.53541
m/z 90.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 90 | 1 | 0.1 | 2e-09 | 25 | 0.53776
m/z 91.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 91 | 1 | 0.1 | 2e-09 | 25 | 0.54058
m/z 92.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 92 | 1 | 0.1 | 2e-09 | 25 | 0.54391
m/z 93.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 93 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 94.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 94 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 95.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 95 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 96.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 96 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 97.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 97 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 98.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 98 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 99.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 99 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 100.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 100 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 101.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 101 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 102.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 102 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 103.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 103 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 104.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 104 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 105.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 105 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 106.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 106 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 107.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 107 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 108.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 108 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 109.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 109 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 110.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 110 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 111.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 111 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 112.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 112 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 113.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 113 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 114.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 114 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 115.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 115 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 116.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 116 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 117.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 117 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 118.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 118 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 119.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 119 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 120.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 120 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 121.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 121 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 122.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 122 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 123.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 123 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 124.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 124 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 125.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 125 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 126.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 126 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 127.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 127 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 128.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 128 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 129.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 129 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 130.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 130 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 131.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 131 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 132.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 132 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 133.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 133 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 134.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 134 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 135.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 135 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 136.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 136 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 137.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 137 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 138.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 138 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 139.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 139 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 140.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 140 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 141.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 141 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 142.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 142 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 143.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 143 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 144.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 144 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 145.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 145 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 146.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 146 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 147.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 147 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 148.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 148 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 149.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 149 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 150.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 150 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 151.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 151 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 152.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 152 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 153.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 153 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 154.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 154 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 155.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 155 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 156.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 156 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 157.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 157 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 158.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 158 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 159.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 159 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 160.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 160 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 161.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 161 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 162.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 162 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 163.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 163 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 164.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 164 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 165.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 165 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 166.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 166 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 167.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 167 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 168.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 168 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 169.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 169 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 170.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 170 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 171.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 171 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 172.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 172 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 173.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 173 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 174.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 174 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 175.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 175 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 176.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 176 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 177.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 177 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 178.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 178 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 179.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 179 | 1 | 0.1 | 2e-09 | 25 | 0.5478
m/z 180.0 | DT_DOUBLE | ppb | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 180 | 1 | 0.1 | 2e-09 | 25 | 0.5478
Misc
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | AmpMode | AmpRange_L | Ch_number | Detector | Dwelltime_ms | Mass_amu | Multiplier | Pause_Calibration | Reaction_Rate | Resolution | Transmission | Start Index
m/z 21.0 | DT_DOUBLE | cps | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 21 | 1 | 0.1 | 2e-09 | 25 | 0.2904
m/z 30.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 30 | 1 | 0.1 | 2e-09 | 25 | 0.28492
m/z 32.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 32 | 1 | 0.1 | 2e-09 | 25 | 0.28403
m/z 37.0 | DT_DOUBLE | % | 0 |  |  |  | AUTO-D | -10 | 0 | SEM (Ioncount) | 500 | 37 | 1 | 0.1 | 2e-09 | 25 | 0.45961
Instrument
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Press controller | DT_DOUBLE | mbar | 10 | 413 | 413
Flow controller | DT_DOUBLE | sccm | 10 | 6.3867 | 6.4014
USO | DT_DOUBLE | V | 10 | 0 | 0
US | DT_DOUBLE | V | 10 | 0 | 0
UQL | DT_DOUBLE | V | 10 | 0 | 0
UNC | DT_DOUBLE | V | 10 | 0 | 0
Source current | DT_DOUBLE | mA | 10 | 0 | 0
Source state | DT_STRING | on/off | 10
Inlet temperature | DT_DOUBLE | °C | 10 | 0 | 0
Detection pressure | DT_DOUBLE | mbar | 10 | 1.0913e-05 | 1.0913e-05
SEM Voltage | DT_LONG | V | 10 | 2360 | 2360
FC add1 | DT_DOUBLE | sccm | 10 | 0 | 0
FC add2 | DT_DOUBLE | sccm | 10 | 0 | 0
Source Valve | DT_DOUBLE | % | 10 | 0 | 0
Reaction conditions
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Udrift | DT_DOUBLE | V | 10 | 590.625 | 591.0156
pdrift | DT_DOUBLE | mbar | 10 | 2.15 | 2.15
Tdrift | DT_DOUBLE | °C | 10 | 60 | 60
Switch 1 | DT_SHORT | on/off | 10 | 0 | 0
Switch 2 | DT_SHORT | on/off | 10 | 0 | 0
Switch 3 | DT_SHORT | on/off | 10 | 0 | 0
Switch 4 | DT_SHORT | on/off | 10 | 0 | 0
Switch 5 | DT_SHORT | on/off | 10 | 0 | 0
Switch 6 | DT_SHORT | on/off | 10 | 0 | 0

## Time Cycle
Cycle number | Absolute Time | Relative Time
1 | 2021-02-23 17:33 | 80.204
2 | 2021-02-23 17:34 | 160.277
3 | 2021-02-23 17:36 | 240.35
4 | 2021-02-23 17:37 | 320.424
5 | 2021-02-23 17:38 | 400.497
6 | 2021-02-23 17:40 | 480.57
7 | 2021-02-23 17:41 | 560.644
8 | 2021-02-23 17:42 | 640.717
9 | 2021-02-23 17:44 | 720.791
10 | 2021-02-23 17:45 | 800.864

## Raw signal intensities
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0
16631.9297 | 4 | 24 | 8 | 16 | 28 | 203.9996 | 68 | 4991.957 | 6351.9497 | 1155.9916 | 145811.8125 | 256582.2344 | 4699.9663 | 663.9966 | 247.9994 | 417713.5 | 615.9967 | 27023.8574 | 631.9968 | 31255.8574 | 3311.9719 | 35795.9102 | 1115.9921 | 2471.9788 | 1167.9913 | 955.9939 | 75.9999 | 32 | 40 | 1939.9825 | 143.9998 | 123.9998 | 48 | 2779.9756 | 639.9968 | 65583.7578 | 3923.9697 | 1878991.625 | 58259.6445 | 5947.9561 | 163.9997 | 1127.9913 | 32 | 68 | 32 | 83.9999 | 8 | 671.9962 | 68 | 16791.9414 | 1287.9899 | 21959.9219 | 1091.9928 | 5415.9546 | 319.9991 | 183.9996 | 32 | 147.9998 | 64 | 71.9999 | 20 | 155.9997 | 36 | 835.9949 | 91.9999 | 5131.9575 | 583.9971 | 555.9974 | 611.9969 | 1767.9852 | 171.9997 | 339.9989 | 103.9999 | 159.9998 | 139.9998 | 83.9999 | 36 | 123.9999 | 44 | 231.9995 | 79.9999 | 419.9984 | 111.9999 | 219.9995 | 759.9957 | 2415.978 | 3651.9688 | 559.9974 | 79.9999 | 195.9996 | 48 | 72 | 75.9999 | 383.9987 | 115.9999 | 207.9996 | 64 | 103.9999 | 491.998 | 127.9998 | 83.9999 | 159.9998 | 447.9983 | 883.9944 | 1351.9894 | 123.9999 | 72 | 291.9992 | 60 | 1163.9917 | 119.9999 | 52 | 32 | 68 | 44 | 36 | 24 | 40 | 40 | 40 | 12 | 87.9999 | 8 | 36 | 36 | 71.9999 | 87.9999 | 24 | 24 | 32 | 12 | 28 | 24 | 12 | 16 | 28 | 32 | 44 | 40 | 36 | 24 | 8 | 16 | 28 | 32 | 28 | 16 | 24 | 4 | 32 | 4 | 8 | 16 | 32 | 4 | 20 | 28 | 20 | 16
18387.9336 | 8 | 24 | 16 | 16 | 24 | 159.9998 | 40 | 5223.9575 | 5959.9546 | 807.9955 | 157699.9062 | 341523.75 | 5411.9546 | 575.9973 | 215.9995 | 430136.9375 | 555.9974 | 16187.9463 | 399.9986 | 24459.9121 | 2575.9749 | 16591.9355 | 539.9976 | 2327.9802 | 1095.9933 | 1103.9924 | 20 | 12 | 79.9999 | 2983.9705 | 107.9999 | 115.9999 | 52 | 1779.9841 | 563.9974 | 53707.7031 | 2999.9709 | 712421.9375 | 23051.9043 | 3143.9705 | 123.9999 | 1319.9893 | 36 | 83.9999 | 64 | 44 | 24 | 831.9947 | 75.9999 | 15603.9463 | 1135.9926 | 18999.9336 | 831.9947 | 5155.96 | 371.9987 | 199.9996 | 28 | 191.9996 | 32 | 95.9999 | 12 | 151.9998 | 24 | 755.9955 | 95.9999 | 10307.9355 | 691.996 | 575.9974 | 583.9973 | 1803.985 | 183.9996 | 323.9991 | 127.9999 | 123.9999 | 167.9997 | 107.9999 | 20 | 103.9999 | 40 | 167.9997 | 91.9999 | 299.9992 | 95.9999 | 247.9994 | 899.9945 | 2711.9741 | 3351.9668 | 495.998 | 60 | 195.9996 | 60 | 60 | 107.9999 | 471.9983 | 111.9999 | 75.9999 | 52 | 60 | 579.9973 | 155.9998 | 95.9999 | 95.9999 | 407.9985 | 923.9941 | 1359.9894 | 123.9999 | 48 | 147.9998 | 40 | 727.9958 | 79.9999 | 16 | 28 | 52 | 48 | 28 | 16 | 32 | 24 | 12 | 32 | 83.9999 | 28 | 36 | 28 | 48 | 107.9999 | 48 | 32 | 24 | 20 | 32 | 28 | 20 | 44 | 20 | 4 | 48 | 24 | 24 | 12 | 28 | 24 | 16 | 24 | 24 | 24 | 16 | 8 | 36 | 24 | 28 | 12 | 8 | 12 | 16 | 20 | 16 | 20
17475.9434 | 12 | 20 | 24 | 32 | 20 | 107.9999 | 64 | 4951.9561 | 6147.9492 | 879.9948 | 157207.9531 | 259858.7812 | 4971.9604 | 699.9959 | 251.9995 | 429633.1875 | 707.9959 | 14059.9365 | 339.9989 | 34031.9297 | 3379.9663 | 21467.9062 | 747.9956 | 1951.9845 | 931.9941 | 1111.9921 | 40 | 28 | 44 | 1331.989 | 75.9999 | 91.9999 | 48 | 1535.9861 | 407.9985 | 39759.9453 | 1767.9843 | 344347.6875 | 10471.9307 | 1719.9847 | 135.9998 | 1295.9896 | 48 | 64 | 28 | 16 | 12 | 511.9978 | 99.9999 | 17139.9375 | 947.9939 | 6603.9521 | 647.9966 | 3899.9673 | 211.9995 | 167.9997 | 32 | 175.9997 | 24 | 119.9999 | 12 | 115.9999 | 24 | 695.9962 | 83.9999 | 4199.9673 | 411.9984 | 543.9976 | 671.9966 | 1703.9844 | 147.9998 | 399.9985 | 119.9999 | 111.9999 | 115.9999 | 115.9999 | 24 | 139.9998 | 36 | 267.9994 | 103.9999 | 371.9986 | 131.9998 | 231.9995 | 803.995 | 2811.9719 | 3551.97 | 511.998 | 79.9999 | 211.9996 | 52 | 68 | 119.9999 | 427.9985 | 83.9999 | 83.9999 | 68 | 60 | 639.9966 | 131.9998 | 36 | 87.9999 | 435.9983 | 939.9939 | 1591.9863 | 111.9999 | 60 | 171.9997 | 36 | 731.9962 | 123.9998 | 40 | 28 | 60 | 12 | 36 | 4 | 44 | 32 | 24 | 16 | 60 | 36 | 20 | 32 | 40 | 95.9999 | 16 | 20 | 20 | 12 | 20 | 20 | 4 | 16 | 24 | 8 | 36 | 20 | 24 | 24 | 28 | 20 | 32 | 28 | 24 | 32 | 8 | 20 | 36 | 24 | 0 | 12 | 16 | 12 | 16 | 12 | 36 | 8
18899.9375 | 24 | 12 | 12 | 16 | 0 | 71.9999 | 48 | 5499.9526 | 6207.9517 | 923.994 | 157327.9375 | 223178.3906 | 2691.9736 | 231.9995 | 247.9994 | 420445.375 | 607.9971 | 9959.9316 | 323.999 | 18791.9277 | 1987.9836 | 16383.9414 | 607.9971 | 1423.9885 | 855.9944 | 859.9943 | 52 | 8 | 68 | 1099.9921 | 91.9999 | 87.9999 | 75.9999 | 1683.9851 | 383.9987 | 45247.8711 | 2427.9768 | 488951.8438 | 15499.9404 | 2531.9775 | 127.9998 | 1363.9883 | 32 | 40 | 48 | 36 | 24 | 435.9983 | 40 | 10119.9443 | 679.9964 | 5987.9546 | 303.9991 | 2271.981 | 127.9998 | 103.9999 | 28 | 155.9998 | 60 | 151.9998 | 24 | 131.9998 | 36 | 691.9963 | 83.9999 | 3711.9658 | 419.9984 | 451.9981 | 499.9979 | 1755.985 | 171.9997 | 303.9991 | 119.9999 | 151.9998 | 127.9998 | 123.9999 | 28 | 155.9997 | 20 | 203.9996 | 123.9999 | 399.9986 | 115.9999 | 231.9995 | 815.9949 | 2675.9753 | 3659.9695 | 455.9983 | 87.9999 | 203.9996 | 52 | 36 | 36 | 295.9991 | 71.9999 | 87.9999 | 40 | 79.9999 | 587.9972 | 119.9999 | 75.9999 | 119.9999 | 447.9983 | 983.9942 | 1407.9879 | 135.9998 | 75.9999 | 127.9998 | 32 | 467.9981 | 75.9999 | 24 | 20 | 68 | 28 | 28 | 24 | 12 | 4 | 32 | 36 | 44 | 28 | 36 | 40 | 36 | 36 | 20 | 24 | 40 | 28 | 32 | 32 | 20 | 28 | 44 | 8 | 60 | 16 | 12 | 16 | 32 | 20 | 48 | 32 | 12 | 12 | 36 | 16 | 40 | 20 | 20 | 20 | 24 | 24 | 24 | 20 | 28 | 12
19459.9297 | 20 | 8 | 16 | 24 | 8 | 115.9999 | 36 | 5375.957 | 6075.9521 | 567.9973 | 165359.9062 | 139995.7188 | 3419.9673 | 631.9966 | 259.9994 | 437392.8438 | 579.9972 | 12235.9268 | 419.9984 | 26363.8652 | 3395.9697 | 21899.9395 | 807.9956 | 1851.9846 | 1087.9928 | 1207.9911 | 56 | 20 | 64 | 1187.9915 | 79.9999 | 123.9999 | 40 | 1291.9894 | 463.9981 | 34919.9102 | 2019.9819 | 433749.3125 | 11775.9316 | 2343.9788 | 99.9999 | 1483.9879 | 32 | 60 | 52 | 32 | 20 | 423.9983 | 48 | 13999.9326 | 879.9948 | 6811.9512 | 375.9986 | 3419.9692 | 139.9998 | 147.9998 | 20 | 187.9996 | 32 | 139.9998 | 24 | 103.9999 | 48 | 775.9955 | 95.9999 | 3539.967 | 287.9992 | 487.9982 | 591.9971 | 1759.9836 | 195.9996 | 295.9992 | 131.9998 | 107.9999 | 103.9999 | 91.9999 | 32 | 115.9999 | 44 | 135.9998 | 75.9999 | 255.9994 | 135.9998 | 227.9995 | 883.9944 | 2491.9761 | 3639.97 | 591.9974 | 123.9999 | 211.9995 | 48 | 71.9999 | 64 | 311.9991 | 71.9999 | 131.9998 | 44 | 103.9999 | 535.9977 | 159.9997 | 68 | 87.9999 | 411.9985 | 891.9943 | 1299.9894 | 91.9999 | 48 | 147.9998 | 28 | 339.9988 | 83.9999 | 56 | 48 | 32 | 16 | 20 | 28 | 20 | 8 | 20 | 8 | 40 | 36 | 32 | 20 | 60 | 44 | 16 | 16 | 24 | 12 | 24 | 8 | 24 | 32 | 36 | 8 | 28 | 36 | 32 | 20 | 36 | 8 | 28 | 24 | 20 | 32 | 20 | 8 | 12 | 12 | 16 | 40 | 8 | 16 | 8 | 4 | 20 | 12
19687.9316 | 28 | 28 | 28 | 16 | 12 | 159.9997 | 40 | 5671.9526 | 6239.9526 | 755.9953 | 161267.9375 | 236966.0469 | 4143.9692 | 359.9989 | 243.9995 | 451504.4375 | 739.996 | 14859.9326 | 443.9983 | 35923.9023 | 2759.9727 | 23475.8965 | 751.9953 | 1875.9845 | 991.9936 | 1219.9905 | 52 | 20 | 64 | 1347.9888 | 91.9999 | 52 | 36 | 967.9941 | 487.998 | 30991.8535 | 1051.9933 | 303099.875 | 11371.9316 | 1479.9866 | 79.9999 | 1407.988 | 68 | 68 | 60 | 36 | 20 | 443.9982 | 56 | 7567.9438 | 483.9981 | 4067.9678 | 379.9986 | 2443.9768 | 163.9997 | 99.9999 | 28 | 147.9998 | 52 | 139.9998 | 32 | 123.9999 | 28 | 627.9965 | 115.9999 | 2427.9778 | 307.9991 | 507.998 | 587.9971 | 1811.9854 | 171.9997 | 263.9994 | 99.9999 | 115.9999 | 123.9999 | 107.9999 | 32 | 119.9999 | 44 | 203.9996 | 99.9999 | 315.999 | 87.9999 | 263.9994 | 783.9955 | 2167.9822 | 3415.9688 | 591.9973 | 79.9999 | 147.9998 | 44 | 87.9999 | 83.9999 | 407.9985 | 52 | 119.9999 | 52 | 71.9999 | 551.9976 | 139.9998 | 95.9999 | 107.9999 | 455.9982 | 831.9949 | 1467.9874 | 119.9999 | 56 | 127.9998 | 40 | 391.9986 | 95.9999 | 12 | 16 | 32 | 20 | 44 | 20 | 44 | 16 | 28 | 12 | 75.9999 | 28 | 52 | 24 | 75.9999 | 48 | 44 | 28 | 32 | 24 | 36 | 12 | 24 | 12 | 20 | 8 | 20 | 20 | 20 | 8 | 24 | 8 | 16 | 28 | 20 | 28 | 32 | 24 | 4 | 24 | 20 | 32 | 16 | 12 | 4 | 20 | 20 | 4
19355.9277 | 20 | 16 | 8 | 12 | 8 | 79.9999 | 52 | 5499.9561 | 6147.9507 | 975.9937 | 161295.9531 | 224354.3125 | 3259.9697 | 331.999 | 231.9995 | 441588.5625 | 683.9963 | 9863.9434 | 271.9993 | 16399.9414 | 1659.9858 | 17519.9375 | 639.9966 | 1563.9866 | 1015.9933 | 975.9941 | 44 | 48 | 40 | 2467.9758 | 103.9999 | 68 | 52 | 1123.9916 | 371.9987 | 36883.9062 | 2155.9824 | 569839.1875 | 17155.9316 | 2135.9814 | 95.9999 | 1331.9882 | 40 | 48 | 28 | 52 | 8 | 391.9986 | 68 | 10559.9414 | 631.9969 | 4359.9644 | 271.9993 | 2027.9832 | 167.9997 | 99.9999 | 20 | 187.9996 | 24 | 135.9998 | 40 | 111.9999 | 12 | 687.9962 | 75.9999 | 2019.9835 | 215.9995 | 423.9984 | 511.9979 | 1883.984 | 163.9997 | 255.9994 | 115.9999 | 99.9999 | 143.9998 | 103.9999 | 36 | 119.9999 | 20 | 131.9998 | 99.9999 | 335.9989 | 56 | 311.9991 | 867.9949 | 2627.9756 | 3587.969 | 507.9978 | 107.9999 | 139.9998 | 24 | 91.9999 | 56 | 239.9995 | 60 | 83.9999 | 32 | 111.9999 | 535.9978 | 163.9997 | 95.9999 | 123.9998 | 423.9984 | 995.993 | 1399.9885 | 91.9999 | 44 | 195.9996 | 44 | 607.9969 | 79.9999 | 28 | 12 | 56 | 12 | 20 | 12 | 28 | 28 | 32 | 24 | 75.9999 | 16 | 40 | 32 | 32 | 60 | 20 | 12 | 16 | 12 | 12 | 20 | 36 | 12 | 48 | 8 | 32 | 24 | 24 | 12 | 12 | 16 | 12 | 24 | 32 | 8 | 24 | 32 | 24 | 8 | 12 | 32 | 4 | 8 | 20 | 16 | 28 | 8
20223.916 | 52 | 12 | 16 | 16 | 32 | 83.9999 | 32 | 5283.958 | 6123.9502 | 487.9979 | 166867.8906 | 122691.1953 | 2447.9773 | 351.9988 | 231.9995 | 442232.625 | 687.9962 | 10263.9385 | 183.9996 | 14367.9268 | 1495.9878 | 12223.9365 | 499.998 | 1523.9866 | 987.994 | 1115.9921 | 48 | 28 | 72 | 1407.9875 | 60 | 56 | 44 | 1187.9915 | 359.9987 | 21655.9375 | 1187.9906 | 208802.6719 | 8447.9521 | 2019.9839 | 115.9999 | 1391.9883 | 44 | 36 | 28 | 40 | 8 | 503.9979 | 44 | 15783.9336 | 943.9942 | 5667.9536 | 299.9991 | 2291.979 | 151.9998 | 91.9999 | 32 | 135.9998 | 64 | 131.9998 | 16 | 147.9998 | 52 | 555.9976 | 87.9999 | 1791.9855 | 259.9994 | 435.9983 | 527.9976 | 1867.9824 | 159.9998 | 303.9991 | 127.9998 | 123.9999 | 147.9998 | 127.9998 | 40 | 103.9999 | 79.9999 | 95.9999 | 127.9998 | 315.9991 | 111.9999 | 247.9995 | 911.9945 | 2307.9775 | 3807.969 | 627.9966 | 75.9999 | 139.9998 | 40 | 79.9999 | 56 | 147.9998 | 56 | 60 | 68 | 119.9999 | 555.9975 | 191.9996 | 68 | 79.9999 | 523.9979 | 995.9936 | 1463.9874 | 131.9998 | 83.9999 | 95.9999 | 28 | 507.998 | 68 | 32 | 32 | 44 | 16 | 24 | 28 | 20 | 12 | 24 | 16 | 71.9999 | 12 | 52 | 20 | 36 | 44 | 12 | 4 | 12 | 8 | 28 | 12 | 28 | 20 | 44 | 12 | 8 | 16 | 24 | 12 | 12 | 12 | 20 | 12 | 12 | 28 | 20 | 8 | 8 | 12 | 20 | 24 | 36 | 20 | 20 | 8 | 20 | 24
20135.9316 | 12 | 16 | 12 | 16 | 16 | 60 | 36 | 5635.9565 | 6251.9556 | 499.998 | 167911.8594 | 114843.1719 | 3007.9727 | 299.9991 | 243.9995 | 448652.5 | 615.9969 | 7363.9551 | 187.9996 | 15903.9404 | 2019.9833 | 16299.9414 | 619.9969 | 1715.985 | 1059.9928 | 1475.9871 | 52 | 12 | 52 | 1475.9883 | 75.9999 | 79.9999 | 36 | 1495.9877 | 467.9983 | 27015.8418 | 1031.9937 | 167483.8906 | 4875.9604 | 1291.9896 | 99.9999 | 1351.989 | 48 | 40 | 36 | 52 | 16 | 343.9988 | 28 | 5115.9541 | 279.9993 | 2251.9792 | 191.9996 | 1343.9884 | 83.9999 | 95.9999 | 40 | 127.9999 | 32 | 111.9999 | 28 | 123.9999 | 24 | 683.9959 | 68 | 1683.9852 | 239.9995 | 319.999 | 551.9977 | 1803.9852 | 179.9996 | 303.9991 | 115.9999 | 143.9998 | 123.9999 | 139.9998 | 32 | 111.9999 | 48 | 175.9997 | 115.9999 | 283.9993 | 87.9999 | 235.9995 | 939.9938 | 2367.9773 | 3551.9675 | 615.9971 | 91.9999 | 147.9998 | 60 | 75.9999 | 79.9999 | 179.9996 | 87.9999 | 64 | 44 | 115.9999 | 567.9973 | 155.9998 | 103.9999 | 95.9999 | 427.9985 | 915.9946 | 1591.9861 | 123.9998 | 48 | 72 | 28 | 263.9994 | 40 | 36 | 12 | 32 | 12 | 40 | 40 | 16 | 8 | 12 | 28 | 40 | 20 | 16 | 20 | 20 | 24 | 28 | 12 | 8 | 12 | 16 | 24 | 20 | 28 | 16 | 16 | 20 | 8 | 24 | 16 | 20 | 12 | 12 | 16 | 32 | 16 | 24 | 24 | 12 | 16 | 16 | 24 | 12 | 48 | 4 | 32 | 12 | 8
19423.9492 | 24 | 12 | 4 | 28 | 8 | 143.9998 | 60 | 5439.9556 | 6103.9541 | 411.9984 | 167683.8281 | 118539.1016 | 2727.9751 | 283.9992 | 211.9995 | 451220.4062 | 643.9967 | 8035.9502 | 211.9996 | 18631.9395 | 1711.9838 | 11419.9297 | 455.9981 | 1339.9886 | 1023.9932 | 1043.9932 | 60 | 16 | 91.9999 | 843.9948 | 72 | 48 | 60 | 1095.9928 | 451.9982 | 39359.9219 | 1583.9857 | 210766.625 | 7187.9526 | 1607.9858 | 91.9999 | 1399.9885 | 48 | 68 | 32 | 24 | 20 | 403.9985 | 40 | 7755.9531 | 499.998 | 3303.969 | 219.9995 | 1471.9877 | 131.9998 | 79.9999 | 32 | 115.9999 | 24 | 139.9998 | 12 | 99.9999 | 24 | 487.998 | 60 | 1491.9873 | 199.9996 | 351.9988 | 559.9974 | 1795.9857 | 171.9997 | 307.9991 | 91.9999 | 115.9999 | 123.9999 | 64 | 40 | 68 | 52 | 107.9999 | 91.9999 | 315.9991 | 91.9999 | 251.9994 | 839.9948 | 2343.9771 | 3527.9668 | 531.9977 | 56 | 135.9998 | 44 | 28 | 79.9999 | 235.9995 | 75.9999 | 56 | 48 | 111.9999 | 579.9973 | 127.9998 | 60 | 127.9998 | 383.9987 | 1011.9934 | 1471.9873 | 107.9999 | 44 | 147.9998 | 16 | 279.9993 | 36 | 12 | 32 | 60 | 32 | 24 | 28 | 32 | 28 | 44 | 8 | 60 | 28 | 32 | 32 | 36 | 36 | 24 | 28 | 20 | 32 | 28 | 4 | 36 | 24 | 28 | 0 | 44 | 4 | 20 | 0 | 12 | 16 | 8 | 16 | 16 | 12 | 16 | 20 | 28 | 12 | 4 | 20 | 20 | 16 | 12 | 8 | 12 | 20

## Concentration
m/z 21.0 | m/z 22.0 | m/z 23.0 | m/z 24.0 | m/z 25.0 | m/z 26.0 | m/z 27.0 | m/z 28.0 | m/z 29.0 | m/z 30.0 | m/z 31.0 | m/z 32.0 | m/z 33.0 | m/z 34.0 | m/z 35.0 | m/z 36.0 | m/z 37.0 | m/z 38.0 | m/z 39.0 | m/z 40.0 | m/z 41.0 | m/z 42.0 | m/z 43.0 | m/z 44.0 | m/z 45.0 | m/z 46.0 | m/z 47.0 | m/z 48.0 | m/z 49.0 | m/z 50.0 | m/z 51.0 | m/z 52.0 | m/z 53.0 | m/z 54.0 | m/z 55.0 | m/z 56.0 | m/z 57.0 | m/z 58.0 | m/z 59.0 | m/z 60.0 | m/z 61.0 | m/z 62.0 | m/z 63.0 | m/z 64.0 | m/z 65.0 | m/z 66.0 | m/z 67.0 | m/z 68.0 | m/z 69.0 | m/z 70.0 | m/z 71.0 | m/z 72.0 | m/z 73.0 | m/z 74.0 | m/z 75.0 | m/z 76.0 | m/z 77.0 | m/z 78.0 | m/z 79.0 | m/z 80.0 | m/z 81.0 | m/z 82.0 | m/z 83.0 | m/z 84.0 | m/z 85.0 | m/z 86.0 | m/z 87.0 | m/z 88.0 | m/z 89.0 | m/z 90.0 | m/z 91.0 | m/z 92.0 | m/z 93.0 | m/z 94.0 | m/z 95.0 | m/z 96.0 | m/z 97.0 | m/z 98.0 | m/z 99.0 | m/z 100.0 | m/z 101.0 | m/z 102.0 | m/z 103.0 | m/z 104.0 | m/z 105.0 | m/z 106.0 | m/z 107.0 | m/z 108.0 | m/z 109.0 | m/z 110.0 | m/z 111.0 | m/z 112.0 | m/z 113.0 | m/z 114.0 | m/z 115.0 | m/z 116.0 | m/z 117.0 | m/z 118.0 | m/z 119.0 | m/z 120.0 | m/z 121.0 | m/z 122.0 | m/z 123.0 | m/z 124.0 | m/z 125.0 | m/z 126.0 | m/z 127.0 | m/z 128.0 | m/z 129.0 | m/z 130.0 | m/z 131.0 | m/z 132.0 | m/z 133.0 | m/z 134.0 | m/z 135.0 | m/z 136.0 | m/z 137.0 | m/z 138.0 | m/z 139.0 | m/z 140.0 | m/z 141.0 | m/z 142.0 | m/z 143.0 | m/z 144.0 | m/z 145.0 | m/z 146.0 | m/z 147.0 | m/z 148.0 | m/z 149.0 | m/z 150.0 | m/z 151.0 | m/z 152.0 | m/z 153.0 | m/z 154.0 | m/z 155.0 | m/z 156.0 | m/z 157.0 | m/z 158.0 | m/z 159.0 | m/z 160.0 | m/z 161.0 | m/z 162.0 | m/z 163.0 | m/z 164.0 | m/z 165.0 | m/z 166.0 | m/z 167.0 | m/z 168.0 | m/z 169.0 | m/z 170.0 | m/z 171.0 | m/z 172.0 | m/z 173.0 | m/z 174.0 | m/z 175.0 | m/z 176.0 | m/z 177.0 | m/z 178.0 | m/z 179.0 | m/z 180.0

## Misc
m/z 21.0 | m/z 30.0 | m/z 32.0 | m/z 37.0

## Instrument
Press controller | Flow controller | USO | US | UQL | UNC | Source current | Source state | Inlet temperature | Detection pressure | SEM Voltage | FC add1 | FC add2 | Source Valve
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.4014 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0
413 | 6.3867 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.0913e-05 | 2360 | 0 | 0 | 0

## Reaction conditions
Udrift | pdrift | Tdrift | Switch 1 | Switch 2 | Switch 3 | Switch 4 | Switch 5 | Switch 6
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
590.625 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0
591.0156 | 2.15 | 60 | 0 | 0 | 0 | 0 | 0 | 0